|  | Iowa Department of Natural Resources Underground Storage Tank Section 502 East 9th Street Des Moines, IA 50319-0034 |
| --- | --- |

UST Monthly Electronic Interstitial Monitoring

This form may be used to document electronic interstitial monitoring of secondarily contained UST systems. Interstitial monitoring is required on all secondarily contained UST systems installed after November 28, 2007. You must maintain a monthly written record that electronic interstitial monitoring has been conducted by using this form or printouts from your Automatic Tank Gauging (ATG) system or other monitoring system.

| UST Registration |  | LUST (if applicable) |  |
| --- | --- | --- | --- |
| UST Site Name: |
| Site Address: | City: | Zip: |
| Contact Person: | Phone: |

| Person Conducting Monitoring (if different from above) |
| --- |
| Name: | Company: |
| Street: | Email: |
| City: | State: | Zip: | Phone: |
| Person’s Signature: | Date: |

Electronic Interstitial Monitoring

UST System Components Electronically Monitored (check all that apply) Double-walled Tank Double-walled Pipe STP Sump Dispenser Sump Transition Sump

Interstitial Space: Atmospheric (dry) Hydrostatically Monitored (Brine Filled) Vacuum Monitored Pressure Monitored

Type of Electronic Device Float Switch Optical Electrical Resistivity Other (specify):

IOWA DNR ELECTRONIC INTERSTITIAL MONITORING PROCEDURE In order to document compliance with the Electronic Interstitial Monitoring requirements, you must document all three of the following: Sensors are connected to console and functional. If your monitoring system is capable of producing a ”Sensor Status” report, retain a copy for your monthly record. You may also attach the copy of the report to this form. Alarms that have occurred have been documented. If your monitoring system is capable of producing an “Alarm History” report, print the reports and retain a copy for your records. You many also attach the copy of the report to this form. Alarms have been satisfactorily reconciled. If your monitoring system is capable of producing an “Alarm Reconciliation” report, print the reports and retain a copy for your records. You may also attach a copy of the report to this form. If your monitoring system is capable of producing records of items 1-3 above, this form is not required. However, you may still want to use it to help you document secondary containment monthly monitoring. Monitoring records must be kept on site or readily available.

| Monitoring Results* for the Month of Year *Monitoring results for Tank and Dispenser are separate |
| --- |
| Tank Number |  |  |  |  |  |  |
| Product Stored (use key below) |  |  |  |  |  |  |
| Component monitored: Tank/Pipe/Sump | Tank Pipe STP Sump Transition Sump UDC | Tank Pipe STP Sump Transition Sump UDC | Tank Pipe STP Sump Transition Sump UDC | Tank Pipe STP Sump Transition Sump UDC | Tank Pipe STP Sump Transition Sump UDC | Tank Pipe STP Sump Transition Sump UDC |
| Sensors connected to control panel and functional | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| Have there been any alarms for this month? If “Yes,” complete alarm log below. | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| Dispenser Number |  |  |  |  |  |  |
| Sensors connected to control panel and functional | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| Have there been any alarms for this month? If “Yes,” complete alarm log below. | Yes No | Yes No | Yes No | Yes No | Yes No | Yes No |
| KEY: G – Gasoline D – Diesel K – Kerosene E10 E15 E85 B – Biodiesel MO – Motor Oil H – Hazardous Substance J – Jet Fuel A-Av Gas |
| Alarm Log |
| Date of Alarm | Cause of Alarm | How was Alarm Reconciled? | Release reported to DNR? |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |
|  |  |  | Yes No |

If a release needs to be reported to the Iowa DNR, please call 515-725-8694.