|  | Iowa Department of Natural Resources Wastewater Section Construction Permit Application SCHEDULE M, Fixed Film Reactor- Stationary Media | DNR USE ONLY |
| --- | --- | --- |
|  |  | Project No. |
|  |  | Permit No. |
| Date Prepared | Project Identity |
| Date Revised |  |
| 1. Design Loadings: (waste entering reactor unit operations) | ADW |  | AWW |  | MWW |  | PHWW |  |
| Flow, MGD |  |  |  |  |  |  |  |  |
| Design Temp: |  | °F | BOD5, mg/l |  |  |  |  |  |  |  |  |
| TSS, mg/l |  |  |  |  |  |  |  |  |
| NH3-N, mg/l |  |  |  |  |  |  |  |  |
| 2. Reactor unit operation follows: |  | and preceeds: |  |  |
| 3. Design data: First stage: |  | Second stage: |  |  |
|  |  | Unit 1 | Unit 2 | Unit 3 |  |
|  | Specify whether new or existing |  |  |  |  |
|  | Classification |  |  |  |  |
|  | Dimensions |  |  |  |  |
|  | Surface Area (ft2) |  |  |  |  |
|  | Media Depth (ft) |  |  |  |  |
|  | Media Volume (1,000 ft3) |  |  |  |  |
|  | Media | A. Type |  |  |  |  |
|  |  | B. Size |  |  |  |  |
|  |  | C. Grading |  |  |  |  |
|  | Type of Distributor |  |  |  |  |
|  | Activated by |  |  |  |  |
|  | BOD Loading (#/D/1,000 ft3) |  |  |  |  |
|  | Hydraulic Loading (gpm/ft2) |  |  |  |  |
|  | Underdrainage | A. Type |  |  |  |  |
|  |  | B. Slope |  |  |  |  |
|  |  | C. Min Channel Velocity |  |  |  |  |
|  | Recirculation Ratio |  |  |  |  |
| 4. Method of reactor flooding: |  |  |
| 5. Ventilation provisions: |  |  |
| 6. Type of cover provided: |  |  |
| 7. Is service bypass provided? | Yes No | Discharge to: |  |  |
| 8. | Recirculation Pumps |  |
|  | Pump No. | Location | Type | Capacity (GPM) | TDH (ft) | Discharged To |  |
|  |  |  |  |  | Rated | Computed |  |  |
|  | 1 |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |  |