|  | Iowa Department of Natural Resources Wastewater Section Construction Permit Application SCHEDULE N, Rotating Biological Contactor | DNR USE ONLY |
| --- | --- | --- |
|  |  | Project No. |
|  |  | Permit No. |
| Date Prepared | Project Identity |
| Date Revised |  |
| 1. Design Loadings: (waste entering RBC unit operations) | ADW |  | AWW |  | MWW |  | PHWW |  |
| Flow, MGD |  |  |  |  |  |  |  |  |
| Design Temp: |  | °F | BOD5, mg/l |  |  |  |  |  |  |  |  |
| TSS, mg/l |  |  |  |  |  |  |  |  |
| NH3-N, mg/l |  |  |  |  |  |  |  |  |
|  | Is the ratio of the peak hourly wet weather flow to the average wet weather flow greater than 2.5? | Yes No |  |
|  | Is the industrial BOD5 load less than 10% of the total BOD5? | Yes No |  |
| 2. RBC unit operation follows: |  | and precedes: |  |  |
| 3. Design Calculations- based on which manufacturer’s guidelines: |  |  |
|  | For Carbonaceous Removal | ADW |  | AWW |  | MWW |  |
|  | Influent soluble BOD, mg/l |  |  |  |  |  |  |
|  | Soluble BOD when nitrif. Begins, mg/l |  |  |  |  |  |  |
|  | Hydraulic loading rate, gpd/ft2 |  |  |  |  |  |  |
|  | Temperature correction factor |  |  |  |  |  |  |
|  | Adjusted hydraulic loading rate, gpd/ft2 |  |  |  |  |  |  |
|  | Required surface area, ft2 |  |  |  |  |  |  |
|  | For N3-N Conversion |  |  |  |  |  |  |
|  | Influent NH3-N, mg/l |  |  |  |  |  |  |
|  | Effluent NH3-N, mg/l |  |  |  |  |  |  |
|  | Hydraulic loading rate, gpd/ft2 |  |  |  |  |  |  |
|  | Temperature correction factor |  |  |  |  |  |  |
|  | Adjusted hydraulic loading rate, gpd/ft2 |  |  |  |  |  |  |
|  | Required surface area, ft2 |  |  |  |  |  |  |
|  | Effluent BOD5, mg/l |  |  |  |  |  |  |
| 4. Media arrangement- | Conventional Media |  | High Density Media |  | Total |  |
|  |  | Surface area, ft2 |  |  |  |  |  |  |
|  |  | Number of stages/shaft |  |  |  |  |  |  |
|  |  | Number of shafts/row |  |  |  |  |  |  |
|  |  | Number of rows |  |  |  |  |  |  |
| 5. General Information: |  |  |
|  | Wastewater flow proceeds: Parallel or Perpendicular to the shaft? |  |
|  | Measures taken to prevent solids deposition on tank bottom: |  |  |
|  | Type of shaft driving device: |  | Shaft speed: |  | RPM |  |
|  | Type of enclosure provided: |  |  |
|  | Condensation and corrosion protection provided: |  |  |
|  | Method of ventilation: |  |  |
|  | Method of shaft removal: |  |  |
|  | Method of bearing replacement: |  |  |
|  | Are unit drains provided? | Yes No | Discharge to: |  |  |
|  | Is service bypass provided? | Yes No | Discharge to: |  |  |