|  | Iowa Department of Natural Resources Wastewater Section Construction Permit Application SCHEDULE K1, Controlled Discharge Pond | DNR USE ONLY |
| --- | --- | --- |
|  |  | Project No. |
|  |  | Permit No. |
| Date Prepared | Project Identity |
| Date Revised |  |
| 1. Design Basis | AWW-180 |  | PHWW |  |  |
|  | Flow, MGD |  |  |  |  |  |
|  | BOD5, #/day |  |  |  |  |  |
| 2. Number of soil borings taken |  | Data included in the |  |  |
|  | High groundwater elevation (MSL) |  |  |  |  |  |  |
| 3. Top of dike elevation (MSL) |  | ft. 100 year flood elevation (MSL) |  | ft. |  |  |
| 4. | Pond Data | Cell No. 1 |  | Cell No. 2 |  | Cell No. 3 |  | Cell No. 4 |  | Total |  |
|  | Surface area at maximum depth (A) |  |  |  |  |  |  |  |  |  |  |
|  | Loading (#BOD5/acre/day) |  |  |  |  |  |  |  |  |  |  |
|  | Maximum operation depth (ft) |  |  |  |  |  |  |  |  |  |  |
|  | Minimum operation depth (ft) |  |  |  |  |  |  |  |  |  |  |
|  | Effective storage volume (MG) |  |  |  |  |  |  |  |  |  |  |
|  | Effective detention time (days) |  |  |  |  |  |  |  |  |  |  |
|  | Freeboard at maximum depth (ft) |  |  |  |  |  |  |  |  |  |  |
|  | Top width of dike (ft) |  |  |  |  |  |  |  |  |  |  |
|  | Inner embankment slope (H/V) |  |  |  |  |  |  |  |  |  |  |
|  | Outer embankment slope (H/V) |  |  |  |  |  |  |  |  |  |  |
|  | Inlet depression diameter (ft) |  |  |  |  |  |  |  |  |  |  |
|  | Middle drawoff level (ft) |  |  |  |  |  |  |  |  |  |  |
|  | Bottom drawoff level (ft) |  |  |  |  |  |  |  |  |  |  |
| 5. Method of raw flow diversion to cells |  |  |
|  | Are the locations of piping and structures given on Schedule H1? | Yes No |  |
| 6. Method of interconnection of cells |  |  |
| 7. Provision to prevent drawoff of floating solids |  |  |
| 8. Method of sampling |  |  |
| 9. Type of flow measurement | Influent |  | Effluent |  |  |
| 10. Fence height |  | Number of strands of barbed wire | Top |  | Bottom |  |  |  |
| 11. Number of warning signs |  | Location |  |  |
| 12. Will pond be pre-filled to two-ft. level? | Yes No |  |
| 13. Maximum allowable leakage rate |  | in/day |  |
|  | Method of testing leakage rate |  |  |
| 14. Are specifications included for: | a. Seeding | Yes No |  |
|  | b. Soil sterilization | Yes No |  |
|  | c. Pond bottom uniformity | Yes No |  |
|  | d. Pond sealing | Yes No |  |
|  | e. Erosion protection | Yes No |  |
| 15. Is service bypass provided? Yes No | Discharge to |  |  |