|  | Iowa Department of Natural Resources Wastewater Section Construction Permit Application SCHEDULE L, Settling Tanks | DNR USE ONLY |
| --- | --- | --- |
|  |  | Project No. |
|  |  | Permit No. |
| Date Prepared | Project Identity |
| Date Revised |  |
| 1. Design Basis | Primary Tank | Intermediate Tank | Final Tank |  |
|  |  | New | Existing | New | Existing | New | Existing |  |
|  | Number of Units |  |  |  |  |  |  |  |
|  | Dimensions (ft.) |  |  |  |  |  |  |  |
|  | SWD (ft.) |  |  |  |  |  |  |  |
|  | Freeboard (in.) |  |  |  |  |  |  |  |
|  | Effective Capacity (gal) |  |  |  |  |  |  |  |
|  | Surface Area (ft2) |  |  |  |  |  |  |  |
|  | Weir Length (ft.) |  |  |  |  |  |  |  |
|  | Type of Weir |  |  |  |  |  |  |  |
|  | Are Weirs Adjustable? |  |  |  |  |  |  |  |
|  | Sludge | Removal Method |  |  |  |  |  |  |  |
|  |  | Location of Discharge |  |  |  |  |  |  |  |
|  | Scum | Removal Method |  |  |  |  |  |  |  |
|  |  | Location of Discharge |  |  |  |  |  |  |  |
|  | Service Bypass | Provided |  |  |  |  |  |  |  |
|  |  | Discharge |  |  |  |  |  |  |  |
| 2. Hydraulic and Solids Loadings | Primary Tank | Intermediate Tank | Final Tank |  |
|  |  | AWW | PHWW | AWW | PHWW | AWW | PHWW |  |
|  | Total Flow (MGD) |  |  |  |  |  |  |  |
|  | Detention Time (hr.) |  |  |  |  |  |  |  |
|  | SSR (gal/day/ft2) |  |  |  |  |  |  |  |
|  | WOR (gal/day/ft) |  |  |  |  |  |  |  |
|  | Max. Solids Loading Rate including full RAS capacity (lbs/day/ft2) |  |  |  |  |  |  |  |
| 3. Do inlets have provisions for adequate flow distribution? | Yes No |  |  |  |  |
| 4. Are unit drains provided? | Yes No | Discharge to |  |  |
| 5. Sludge Pumps |  |
|  | Pump No. | Location | Sludge Volume (GDP) | Capacity (GPM) | TDH (ft.) | Force Main Diameter |  |
|  |  |  |  |  | Rated | Computed |  |  |
|  | 1 |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |  |