# Iowa DNR: NPDES Form 4 for Industrial Facilities
New Facilities that Discharge Process Wastewater

| Permit Number |  | Facility Name |  |
| --- | --- | --- | --- |

- Sources of Pollution

For each outfall, provide descriptions of:

- The route of flow to the first named stream.

- All operations contributing wastewater to the discharge including process wastewater, cooling water, stormwater, etc.

- The monthly average and daily maximum flow contributed by each operation.

- The frequency and duration of the discharge from each operation except stormwater.

| Outfall No. |  | Route of Flow: |  |
| --- | --- | --- | --- |
| Latitude: | Degrees |  | Minutes |  | Seconds |  |
| Longitude: | Degrees |  | Minutes |  | Seconds |  |
| Operation | Flow (MGD) | Frequency | Duration (in days) |
|  | Avg. | Max. | Days/week | Months/year |  |

| Outfall No. |  | Route of Flow: |  |
| --- | --- | --- | --- |
| Latitude: | Degrees |  | Minutes |  | Seconds |  |
| Longitude: | Degrees |  | Minutes |  | Seconds |  |
| Operation | Flow (MGD) | Frequency | Duration (in days) |
|  | Avg. | Max. | Days/week | Months/year |  |

| Outfall No. |  | Route of Flow: |  |
| --- | --- | --- | --- |
|  | Latitude: | Degrees |  | Minutes |  | Seconds |  |
|  | Longitude: | Degrees |  | Minutes |  | Seconds |  |
| Operation | Flow (MGD) | Frequency | Duration (in days) |
|  | Avg. | Max. | Days/week | Months/year |  |

- Production

- Is this facility subject to a federal effluent guideline in 40 CFR Subchapter N? (see Table 1 of instructions)

| Yes | No | Unknown | If yes, list 40 CFR part number, if known |  |
| --- | --- | --- | --- | --- |

- If you answered “yes” to 2.A., are the applicable effluent guidelines expressed in terms of production? (See Table 1 of instructions).

| Yes | No | Not applicable |
| --- | --- | --- |

- If you answered “yes” to 2.B, list the quantity or quantities that represent your actual production. Attach additional sheets if necessary.

| Operational Process | Quantity per Day | Units |
| --- | --- | --- |

- Treatment System

Briefly describe any wastewater treatment system(s) planned to be used to treat process wastewater. If there is any technical evaluation concerning your proposed wastewater treatment, including pilot plant studies, list the title and date of the report and state whether a copy has been submitted for review.

- Other Facilities

Provide the name and location of any existing plant(s) which, to the best of your knowledge, resemble this production facility with respect to production processes, wastewater constituents, or wastewater treatment system. The facilities need not be in Iowa.

| Name | Location |
| --- | --- |

- Chemical Additives

If you add any chemicals that may be present in the discharge, complete the following table. Additives may include boiler water treatments, cooling tower treatments, water treatment products, etc. You must include a copy of the safety data sheet (SDS).

| Manufacturer | Product Name | Estimated Discharge Concentration | LC50* | SDS Included? |
| --- | --- | --- | --- | --- |

* This is the LC50 for the most sensitive warm-water fish or plankton.

Attach additional sheets if necessary.

| Outfall Number: |  |
| --- | --- |

- Effluent Characteristics

Complete Part 6 for each process wastewater outfall.

Part A.

All applicants must provide estimates or data for every pollutant in Part A. Use the codes in the table at the bottom of the page to describe the source of your estimate.

| Pollutant | Concentration | Mass | Source of Estimate (Code) |
| --- | --- | --- | --- |
|  | Average | Maximum | Units | Average | Maximum | Units |  |
| a. Biochemical Oxygen Demand (BOD) |  |  |  |  |  |  |  |
| b. Chemical Oxygen Demand (COD) |  |  |  |  |  |  |  |
| c. Total Organic Carbon (TOC) |  |  |  |  |  |  |  |
| d. Total Suspended Solids (TSS) |  |  |  |  |  |  |  |
| e. Ammonia (as N) |  |  |  |  |  |  |  |

| Parameter | Maximum Daily Value | Average Daily Value | Minimum Daily Value | Source of Estimate (Code) | Units |
| --- | --- | --- | --- | --- | --- |
| f. Flow |  |  |  |  | million gallons per day |
| g. Temperature (October - March) |  |  |  |  | degrees Fahrenheit |
| h. Temperature (April – September) |  |  |  |  | degrees Fahrenheit |
| i. pH |  |  |  |  | Standard Units |

Codes for Source of Estimate

| Source of Estimate | Code | Source of Estimate | Code |
| --- | --- | --- | --- |
| Engineering study | 1 | Data from other similar plant(s) | 4 |
| Actual data from pilot plant(s) | 2 | Best professional estimates | 5 |
| Estimates from other engineering studies | 3 | Other | Specify on form |

| Outfall Number: |  |
| --- | --- |

Part B.

Refer to Table 2 of the instructions. If you know or have reason to believe any of the pollutants in Table 2 will be present, or if any of the pollutants are limited by an effluent limitation guideline or new source performance standard, list the pollutant, estimated values, and source of information in the table. Attach additional copies of this sheet if needed. Use the codes in the table in Part A to describe the source of your estimate.

| Pollutant | Concentration | Mass | Source of Estimate (Code) |
| --- | --- | --- | --- |
|  | Average | Maximum | Units | Average | Maximum | Units |  |

| Outfall Number: |  |
| --- | --- |

Part C.

Refer to Table 3 of the Instructions. If you believe any of the pollutants in Table 3 will be present in the discharge, list them below. Attach additional copies of this sheet if needed. Use the codes in the table in Part A to describe the source of your estimate.

| Pollutant | Quantitative Estimate (if available) | Source of Estimate (Code) |
| --- | --- | --- |
|  | Concentration | Conc. Units | Mass | Mass Units |  |

# Form 4 Instructions

DO NOT SUBMIT – FOR APPLICANT USE ONLY

- Sources of Pollution

- List all sources of wastewater discharged through each outfall.

- Operations may be described in general terms (for example, “dye-making reactor” or “distillation tower”).

- You may estimate the flow contributed by each source if no data are available.

- Production

- Industries with effluent guidelines are shown in Table 1 of these instructions. A guideline applies to your facility if your industry is listed in the table and you have process wastewater.

- An effluent guideline is expressed in terms of production if the limitation is expressed as mass of pollutant per operational parameter. For example, “pounds BOD per cubic foot of logs from which bark is removed.” Industries with production-based limits are indicated in Table 1.

- Complete this item only if you checked “yes” for Item 2.B. Report quantities in the units of measurement used in the applicable effluent guideline. Production figures must be based on actual daily production and not on design capacity or future operation. More information on ELGs can be found at https://www.epa.gov/eg/industrial-effluent-guidelines.

- Treatment System

- For each outfall, briefly describe any planned treatment of wastewaters prior to discharge or provide a reference to a previously submitted engineering report.

- Describe the ultimate disposal of any solid or liquid wastes not discharged.

- Other Facilities

- Report the name and location of any existing plant(s) which (to the best of your knowledge) resembles your planned operation with respect to items produced, production process, wastewater constituents, or wastewater treatment.

- No studies need to be conducted to respond to this item. Only data which are already available need be submitted.

- Chemical Additives

- If you add any chemicals, complete the table.

- Additives may include boiler water treatments, cooling tower treatments, water treatment products, etc.

- Values for LC50 can usually be found in the “Ecological Information” section of an SDS.

- You must include a copy of the safety data sheet (SDS).

- Effluent Characteristics

- You must complete Parts A – C for each outfall that discharges processes wastewater. For outfalls that discharge non-processes wastewater, complete Form 2. For outfalls that discharge stormwater, complete Form 2F.

- Each part of this item requires you to provide an estimated maximum daily and average daily value for each pollutant or parameter listed. The source of each estimate is also required.

- For Parts A through C, base your determination of whether a pollutant will be present in your discharge on your knowledge of the proposed facility’s raw materials, maintenance chemicals, intermediate and final products, byproducts, and any analyses of your effluent or of any similar effluent. You may also provide the determination and the estimates based on available in-house or contractor’s engineering reports or any other studies performed on the proposed facility (see Item 4 of the form). If you expect a pollutant to be present solely as a result of its presence in your intake water, please state this information on the form.

- All estimated pollutant or parameter levels must be reported as concentration and total mass, except for discharge flow, temperature, and pH. Total mass is the total weight of pollutants or parameters discharged over a day.

- Mass Calculation: The formula for mass of a pollutant discharged is: Concentration * Flow * 8.34 = Mass. (Concentration in mg/L, flow in MGD, mass in lb/day)

- When providing the estimates, use the codes in the following table to indicate the source of such information in the “Source of Estimate (Code)” column in 6.A, 6.B, and 6.C.

| Source of Estimate | Code | Source of Estimate | Code |
| --- | --- | --- | --- |
| Engineering study | 1 | Data from other similar plant(s) | 4 |
| Actual data from pilot plant(s) | 2 | Best professional estimates | 5 |
| Estimates from other engineering studies | 3 | Other | Specify on form |

6.A.

- All applicants must provide estimates for all pollutants in this table.

6.B.

- Review Table 2 of the instructions for a list of pollutants.

- List every pollutant from Table 2 that you expect to be in your effluent.

- Provide concentration and mass estimates for each pollutant you list, along with the source of the estimate.

- You must report estimates for all pollutants that are limited by an effluent limitation guideline or new source performance standard. For more information on ELGs, see http://water.epa.gov/scitech/wastetech/guide/industry.cfm.

- You must report that 2,3,7,8-tetrachlorodibenzo-p-dioxin (TCDD) may be discharged if you know or have reason to believe that TCCD may be present, or if you will use or manufacture any of the following compounds:

  - 2,4,5-trichlorophenoxy acetic acid (2,4,5-T) (CAS # 93-765);

  - 2-(2,4,5-trichlorophenoxy) propanoic acid (Silvex, 2,4,5TP) (CAS # 93-72-1);

  - 2-(2,4,5-trichlorophenoxy) ethyl 2,2-dichloropropionate (Erbon) (CAS # 136-25-4);

  - 0,0-dimethyl 0-(2,4,5-trichlorophenyl) phosphorothioate (Ronnell) (CAS # 299-84-3);

  - 2,4,5-trichlorophenol (TCP) (CAS #95-95-5;

  - Hexachlorophene (HCP) (CAS # 70-30-4).

6.C.

- List any pollutants in Table 3 of these instructions that you believe will be present in any outfalls Attach a separate page briefly explaining why you believe they will be present.

- Provide estimates based on any existing quantitative data.

- Estimates of pollutant quantities are not required if data do not exist.

TABLE 1: EFFLUENT LIMITATION GUIDELINES INDUSTRIES AND REQUIRED TESTING

(All industries in this table are subject to an effluent limitation guideline)

| 4O CFR Part Number | Industry Category | Production Based Guideline |
| --- | --- | --- |
| 456 | Adhesives and sealants |  |
| 467 | Aluminum forming | Yes |
| 444 | Auto and other laundries |  |
| 461 | Battery manufacturing | Yes |
| 465 | Coil coating |  |
| 468 | Copper forming |  |
| 469 | Electrical and electronic components |  |
| 413 | Electroplating |  |
| 457 | Explosives manufacturing |  |
| 433 | Metal finishing |  |
| 464 | Metal molding and casting | Yes |
| 454 | Gum and wood chemical manufacturing (Except subparts D and F) |  |
|  | Subpart D - tall oil rosin |  |
|  | Subpart F - rosin-based derivatives |  |
| 415 | Inorganic chemicals manufacturing |  |
| 420 | Iron and steel manufacturing | Yes |
| 425 | Leather tanning and finishing | Yes |
| 471 | Nonferrous metals forming |  |
| 440 | Ore mining and dressing |  |
| 414 | Organic chemicals, plastics and synthetic fibers |  |
| 447 | Paint formulating |  |
| 446 | Ink formulating |  |
| 455 | Pesticide chemicals | Yes |
| 419 | Petroleum refining |  |
| 439 | Pharmaceutical preparations |  |
| 459 | Photographic equipment and supplies |  |
| 463 | Plastics molding and forming |  |
| 448 | Printing and publishing |  |
| 430 | Pulp, paper and paperboard |  |
| 428 | Rubber processing |  |
| 417 | Soap and detergent manufacturing |  |
| 423 | Steam electric power plants | Yes |
| 410 | Textile mills (except Subpart C) |  |
| 429 | Timber products processing |  |

TABLE 2: POLLUTANT LIST FOR PART B

| Volatiles |
| --- |
| Acrolein | Acrylonitrile | Benzene | Bromoform |
| Carbon tetrachloride | Chlorobenzene | Chlorodibromomethane | Chloroethane |
| 2-cloroethylvinyl ether | Chloroform | Dichlorobromomethane | 1,1-dichloroethane |
| 1,2-dichloroethane | 1,1-dichloroethylene | 1,2-dichloropropane | 1,3-dichloropropylene |
| Ethylbenzene | Methyl bromide | Methyl chloride | Methylene chloride |
| 1,1,2,2-tetrachloroethane | Tetrachloroethylene | Toluene | 1,2-trans-dichloroethylene |
| 1,1,1-trichloroethane | 1,1,2-trichloroethane | Trichloroethylene | Vinyl chloride |
| Base/Neutral |
| Acenaphthene | bis(2-ethylhexyl)phthalate | Dimethyl phthalate | Hexachloroethane |
| Acenaphthylene | 4-bromophenyl phenyl ether | di-n-butyl phthalate | Indeno(1,2,3-cd)pyrene |
| Anthracene | Butylbenzyl phthalate | 2,4-dinitrotoluene | Isophorone |
| Benzidine | 2-chloronaphthalene | 2,6-dinitrotoluene | Naphthalene |
| Benzo(a)anthracene | 4-chlorophenyl phenyl ether | di-n-octyl phthalate | Nitrobenzene |
| Benzo(a)pyrene | Chrysene | 1,2-diphenylhydrazine (as asobenzene) | N-nitrosodimethylamine |
| 3,4-benzofluoranthene | Dibenzo(a,h)anthracene | fluoroanthene | N-nitrosodi-n-propylamine |
| Benzo(ghi)perylene | 1,2-dichlorobenzene | fluorene | N-nitrosodiphenylamine |
| Benzo(k)fluoranthene | 1,3-dichlorobenzene | hexachlorobenzene | Phenanthrene |
| bis(2-chloroethoxy)methane | 1,4-dichlorobenzene | hexachlorobutadiene | Pyrene |
| bis(2-chloroethyl)ether | 3,3’-dichlorobenzidine | hexachlorocyclopentadiene | 1,2,4-trichlorobenzene |
| bis(2-chloroisopropyl)ether | Diethyl phthalate |  |  |
| Metals, Cyanide, and Total Phenols |
| Antimony, total | Chromium, total | Nickel, total | Zinc, total |
| Arsenic, total | Copper, total | Selenium, total | Cyanide, total |
| Beryllium, total | Lead, total | Silver, total | Phenols, total |
| cadmium, total | Mercury, total | Thallium, total |  |
| Acids |
| 2-chlorophenol | 4,6-dinitro-o-cresol | 4-nitrophenol | Phenol |
| 2,4-dichlorophenol | 2,4-dinitrophenol | p-chloro-m-cresol | 2,4,6-trichlorophenol |
| 2,4-dimethylphenol | 2-nitrophenol | Pentachlorophenol |  |
| Pesticides |
| Aldrin | 4,4’-DDE | Endrin | PCB-1221 |
| alpha-BHC | 4,4’-DDD | Endrin aldehyde | PCB-1232 |
| beta-BHC | Dieldrin | Heptachlor | PCB-1248 |
| gamma-BHC | alpha-endosulfan | Heptachlor epoxide | PCB-1260 |
| delta-BHC | beta-endosulfan | PCB-1242 | PCB-1016 |
| Chlordane | Endosulfan sulfate | PCB-1254 | Toxaphene |
| 4,4’-DDT |  |  |  |

TABLE 3 - HAZARDOUS SUBSTANCES

(Pollutant list for Part C)

- Acetaldehyde

- Allyl alcohol

- Allyl chloride

- Amyl acetate

- Aniline

- Asbestos

- Benzonitrile

- Benzoyl chloride

- Butylacetate

- Butylamine

- Captan

- Carbaryl

- Carbofuran

- Carbon disulfide

- Chlorpyrifos

- Coumaphos

- Cresol

- Crotonaldehyde

- Cyclohexane

- 2,4-D acid (2,4-Dichlorophenoxyacetic acid)

- Diazanon

- Dicamba

- Dichlobenil

- Dichlone

- 2,2-Dichloropropionic acid

- Dichlorvos

- Diethylamine

- Dimethylamine

- Dinitrobenzene

- Diquat

- Disulfoton

- Diuron

- Epichlorohydrin

- Ethion

- Ethylenediamine

- Ethylene dibromide

- Formaldehyde

- Furfural

- Guthion

- Isoprene

- Isopropanolamine dodecylbenzenesulfonate

- Kelthane

- Kepone

- Malathion

- Mercaptodimethur

- Methoxychlor

- Methyl mercaptan

- Methyl methacrylate

- Methyl parathion

- Mevinphos

- Mexacarbate

- Monoethylamine

- Monomethylamine

- Naled

- Napthenic acid

- Nitrotoluene

- Parathion

- Phenolsulfate

- Phosgene

- Propargite

- Propylene oxide

- Pyrethrins

- Quinoline

- Resorcinol

- Strontium

- Strychnine

- Styrene

- 2,4,5-T acid (2,4,5-Trichlorophenoxyacetic acid)

- 2,4,5-TP acid (2,4,5-Trichlorophenoxy propanoic acid)

- TDE (Tetrachlorodiphenyl ethane)

- Trichlorofan

- Triethanolamine dodecylbenzenesulfonate

- Triethylamine

- Trimethylamine

- Uranium

- Vanadium

- Vinyl acetate

- Xylene

- Xylenol

Zirconium