|  | IOWA DEPARTMENT OF NATURAL RESOURCES WATER SUPPLY ENGINEERING SECTION CONSTRUCTION PERMIT APPLICATION SCHEDULE-13b, Dry Chemical Addition |
| --- | --- |
| Date Prepared | Project Name/Description |
| Date Revised |  |
| 1. | What provisions have been made for control of dust from dry chemicals? |  |
|  | Spec. Page No. |  |  |  |
| 2. | What provisions have been made to prevent bridging of dry chemicals in storage tanks and feeders? |  |
|  | Spec. Page No. |  |  |  |
| 3. | What provisions have been made to insure that the proper chemical is unloaded into the appropriate storage bin? |  |
|  | Spec. Page No. |  |  |  |
| 4. | Describe the method of determining the volume of chemicals in the bulk storage tank: |  |
|  | Spec. Page No. |  |  |  |
| 5. | What provisions have been made for the cleaning of chemical feed lines? |  |
|  | Spec. Page No. |  |  |  |
| 6. | For lime feed equipment: | N/A |  |
|  | a. | Is lime being fed in open channel gravity flow lines from the solution tank? | Yes No |  |
|  | b. | Is unslaked bulk lime storage provided? | Yes No |  |
|  |  | If yes, what provisions have been made for grit removal to prevent clogging of feeders? |  |