|  | IOWA DEPARTMENT OF NATURAL RESOURCES WATER SUPPLY ENGINEERING SECTION CONSTRUCTION PERMIT APPLICATION SCHEDULE-11, Ion Exchange |
| --- | --- |
| Date Prepared | Project Name/Description |
| Date Revised |  |
| 1. | Design Data: |  |
|  | Softener: |  | Pressure: |  | Downflow: |  |  |
|  | Unit Number | Unit # | Unit # | Unit # |  |
|  | Capacity (gpm) |  |  |  |  |
|  | Dimensions (inches) |  |  |  |  |
|  | Operating Pressure (psi) |  |  |  |  |
|  | Softening Rate (gpm/ft2) |  |  |  |  |
|  | Backwash Rate (gpm/ft2) |  |  |  |  |
|  | Duration of backwash (minutes) |  |  |  |  |
|  | Resin |  |  |
|  | Technical Name |  |  |  |  |
|  | Exchange Capacity |  |  |  |  |
|  | Salt Regeneration (lb. NaCl/ft3) |  |  |  |  |
|  | Volume of Resin (ft3) |  |  |  |  |
|  | Depth of Resin (ft) |  |  |  |  |
| 2. | Provide the following salt storage information: |  |
|  | a. Capacity: |  | lbs; |  | days |  |
|  | b. Above or below ground: |  | Wet or dry: |  |  |  |
|  | c. Type of structure: |  |  |
| 3. | For the following, reference the page of the plans or specifications where the description can be found. |  |
|  | Materials and Construction Details | Plan or Specification Page Number |  |
|  | Brine Distribution |  |  |
|  | Cross Connection Control |  |  |
|  | Bypass |  |  |
|  | Sampling Taps |  |  |
|  | Brine and Salt Storage |  |  |
|  | Salt Storage Housing |  |  |
| 4. | How large an air gap is provided between the backwash water outlet & the receiving sump? |  | inches |  |
|  | Spec. Page No. |  |  |  |
| 5. | Are automatic regeneration controls provided? | Yes No | Spec. Page No. |  |  |
|  | Describe the regeneration procedure: |  |
| 6. | Can all automatically controlled switches and valves be manually operated? | Yes | No |  |
| 7. | Is salinity testing equipment provided? | Yes No | Spec. Page No. |  |  |
| 8. | Are valve operators located within five feet of the operating floor? | Yes No | Spec. Page No. |  |  |
| 9. | Are drains provided for each salt storage structure and brine tank? | Yes No |  |
|  | How large an air gap is provided between the drain outlet and the receiving sump? |  | inches |  |
| 10. | Are all gauges placed so as to be easily read from the normal operating floor? | Yes No |  |
|  |  |  | Spec. Page No. |  |  |