|  | IOWA DEPARTMENT OF NATURAL RESOURCES WATER SUPPLY ENGINEERING SECTION CONSTRUCTION PERMIT APPLICATION SCHEDULE-12, Filters |
| --- | --- |
| Date Prepared | Project Name/Description |
| Date Revised |  |
| 1. | Design Data: |  |
|  | Filter Type: |  |  |  |  |  |  |
|  | Unit: | Unit # | Unit # | Unit # | Unit # |  |
|  | Filter Area (sq. ft) |  |  |  |  |  |
|  | Filtration Rate (gpm/ft2) |  |  |  |  |  |
|  | Backwash Rate (gpm/ft2) |  |  |  |  |  |
|  | Backwash Duration (minutes) |  |  |  |  |  |
|  | Media: | Layer 1 | Layer 2 | Layer 3 | Layer 4 | Layer 5 |  |
|  |  | Type (material) |  |  |  |  |  |  |
|  |  | Depth (inches) |  |  |  |  |  |  |
|  |  | Effective Size (mm) |  |  |  |  |  |  |
|  |  | Uniformity Coefficient |  |  |  |  |  |  |
|  | Gravel: |  |
|  |  | Size (inches) |  |  |  |  |  |  |
|  |  | Depth (inches) |  |  |  |  |  |  |
| 2. | For the following, reference the page of the plans or specifications where the description can be found. |  |
|  | Materials and Construction Details | Plan or Specification Page Number |  |
|  | Backwash Troughs |  |  |
|  | Backwash Equipment |  |  |
|  | Filter Media Installation |  |  |
|  | Filter Bottoms and Strainers |  |  |
|  | Structural and Hydraulics |  |  |
|  | Sanitary Storm Drainage |  |  |
|  | Surface/Subsurface Wash |  |  |
|  | Appurtenances |  |  |
| 3. | Filter bottom and strainer system: |  |
|  | a. Type: |  | Spec. Page No. |  |  |
|  | b. Ratio of the open area of the strainer system to the filter area: |  |  |
|  | c. Ratio of the cross-sectional area of the laterals to the open area of the final strainer: |  |  |
|  | d. Ratio of the cross-sectional area of the manifold to the cross-sectional area of the laterals: |  |  |

|  | IOWA DEPARTMENT OF NATURAL RESOURCES WATER SUPPLY ENGINEERING SECTION CONSTRUCTION PERMIT APPLICATION SCHEDULE-12, Filters |
| --- | --- |
| 4. | Filter Backwash: |  |  |
|  | a. Freeboard at maximum rate of wash: |  | inches |  |
|  | b. Vertical distance between bottom of washwater trough or collector and the filter media: |  | inches |  |
|  | c. Horizontal distance between washwater troughs (edge to edge): |  | inches |  |
|  | d. Washwater drain hydraulic capacity: |  | gpm |  |
|  | e. How large of an air gap is provided between the backwash water outlet and the receiving sump? |  | inches |
| 5. | Surface or subsurface wash: | N/A |  |
|  | a. Type: |  |  |
|  | b. What is water (air) pressure? |  | psi | Rate of flow? |  | gpm/ft2 (cfm) |  |
|  | c. Is the surface or subsurface wash water supply protected with a cross connection control device which meets AWWA standard C-506 and is approved by the USC Testing Lab? Yes No N/A |  |
| 6. | Structural Details: |  |
|  | a. Depth of gravity filter box or pressure filter sidewall: |  | inches |  |
|  | b. Minimum depth of water over filter media: |  | inches |  |
|  | c. Maximum velocity of treated water in conduits and pipes to filters: |  | inches |  |
| 7. | List the location of all sampling taps located on the filter sidewall: |  |
| 8. | Filter controls: | Rate | Level |  |
|  | Describe the type of mechanism and method of control: |  |
| 9. | Are all valve operators located within five feet of the operating floor? | Yes No |  |
| 10. | Are all gauges easily read from the operating floor? | Yes No |  |
| 11. | Has the filter influent and effluent piping been arranged such that any filter cell can be removed from service for maintenance without affecting the remaining filter units? Yes No |  |