Exhibit 8

DWSRF Extended Financing Worksheet

Loan Recipient:

PWSID:

Total cost being financed with DWSRF loan: $

Worksheet for Calculating Weighted Maturity

| Asset | Dollar Value | x Estimated Useful Life | = Extension |
| --- | --- | --- | --- |
| Intake Structure |  | 40 |  |
| Wells |  | 30 |  |
| Galleries |  | 35 |  |
| Chlorination Equipment |  | 12.5 |  |
| Other Treatment Equipment |  | 12.5 |  |
| Storage Tanks |  | 45 |  |
| Pumps |  | 12.5 |  |
| Buildings |  | 45 |  |
| Electrical Systems |  | 8.5 |  |
| Transmission Mains |  | 37.5 |  |
| Distribution Pipes |  | 37.5 |  |
| Valves |  | 37.5 |  |
| Blow-off Valves |  | 37.5 |  |
| Backflow Prevention |  | 37.5 |  |
| Meters |  | 12.5 |  |
| Hydrants |  | 50 |  |
| Lab Monitoring Equipment |  | 6 |  |
| Landscaping/Grading |  | 50 |  |
| Office Furniture/Supplies |  | 10 |  |
| Computers |  | 5 |  |
| Total |  |  |  |

Dollar value spent on specified item x estimated useful life = extension

Total extension / total dollars spent = weighted useful life

Consulting Engineer:

(Print)

Consulting Engineer Signature: _________________________________________	Date ___________________

Please submit a copy of the bid tabulation with this form.  Return to the DNR Project Manager assigned to review this Drinking Water SRF project at Iowa Department of Natural Resources, Wallace State Office Building, Des Moines, IA  50319-0034.

DNR Project Manager Signature: ________________________________________	Date ___________________

Comments: