## Criteria (hidden)
MenuSheetLink | 1 | MenuSheetLink1 | 1
| Data Entry |  | Charts
| Main Menu |  | Main Menu
| Filters 1 - 6 |  | Charts 1 - 4
| Filters 7 - 12 |  | Charts 5 - 8
Charts 9 - 12

## Summary (hidden)
Plant Name
Plant PWS #
Filter Description | All filters with filter-to-waste capability
Summary Table of Filter Return to Service Performance
|  | Maximum | Maximum | RTS | RTS | FTW
Filter | Description | Turbidity (NTU) | Turbidity (NTU) | Turbidity (NTU) | Turbidity (NTU) | Time (min)
|  | 95th Percentile | % Values < Goal | 95th Percentile | % Values < Goal | Average
1
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
Note on D10: Plants with filter-to-waste (FTW) capability: Maximum turbidity during FTW period. Plants without FTW capability: Maximum turbidity during 15 minutes following return to service.
Note on F10: Plants with Filter-to-waste (FTW) capability: Turbidity before filter is returned to service (RTS). Plants without FTW capability: Turbidity 15 minutes after filter is returned to service.
Note on G10: Plants with Filter-to-waste (FTW) capability: Turbidity before filter is returned to service (RTS). Plants without FTW capability: Turbidity 15 minutes after filter is returned to service.
Note on H10: Plants with filter-to-waste (FTW) capability: FTW time in minutes.
Note on E10: Plants with filter-to-waste (FTW) capability: Maximum turbidity during FTW period. Plants without FTW capability: Maximum turbidity during 15 minutes following return to service.
Note on F6: Include whether filters have filter-to-waste capability or not.

## Filters1-6BWData
Data input screen for filter backwash data.
For filters with filter-to-waste (FTW) capability, input three values per backwash: 1) max. turbidity during FTW period,
2) turbidity at end of FTW period and 3) FTW time.
For filters without FTW capability, input two values per backwash: 1) max. turbidity during initial 15 minutes of filter run
and 2) turbidity after 15 minutes of filter run.
Filter | 1 |  |  | 2 |  |  | 3 |  |  | 4 |  |  | 5 |  |  | 6
Discription
Perf. Goals (NTU) | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1
% values < Goal | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
95th % NTU
| Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min)
2011-01-01 | [18 empty] | 0.1
2011-01-02 | [18 empty] | 0.1
2011-01-03 | [18 empty] | 0.1
2011-01-04 | [18 empty] | 0.1
2011-01-05 | [18 empty] | 0.1
2011-01-06 | [18 empty] | 0.1
2011-01-07 | [18 empty] | 0.1
2011-01-08 | [18 empty] | 0.1
2011-01-09 | [18 empty] | 0.1
2011-01-10 | [18 empty] | 0.1
2011-01-11 | [18 empty] | 0.1
2011-01-12 | [18 empty] | 0.1
2011-01-13 | [18 empty] | 0.1
2011-01-14 | [18 empty] | 0.1
2011-01-15 | [18 empty] | 0.1
2011-01-16 | [18 empty] | 0.1
2011-01-17 | [18 empty] | 0.1
2011-01-18 | [18 empty] | 0.1
2011-01-19 | [18 empty] | 0.1
2011-01-20 | [18 empty] | 0.1
2011-01-21 | [18 empty] | 0.1
2011-01-22 | [18 empty] | 0.1
2011-01-23 | [18 empty] | 0.1
2011-01-24 | [18 empty] | 0.1
2011-01-25 | [18 empty] | 0.1
2011-01-26 | [18 empty] | 0.1
2011-01-27 | [18 empty] | 0.1
2011-01-28 | [18 empty] | 0.1
2011-01-29 | [18 empty] | 0.1
2011-01-30 | [18 empty] | 0.1
2011-01-31 | [18 empty] | 0.1
2011-02-01 | [18 empty] | 0.1
2011-02-02 | [18 empty] | 0.1
2011-02-03 | [18 empty] | 0.1
2011-02-04 | [18 empty] | 0.1
2011-02-05 | [18 empty] | 0.1
2011-02-06 | [18 empty] | 0.1
2011-02-07 | [18 empty] | 0.1
2011-02-08 | [18 empty] | 0.1
2011-02-09 | [18 empty] | 0.1
2011-02-10 | [18 empty] | 0.1
2011-02-11 | [18 empty] | 0.1
2011-02-12 | [18 empty] | 0.1
2011-02-13 | [18 empty] | 0.1
2011-02-14 | [18 empty] | 0.1
2011-02-15 | [18 empty] | 0.1
2011-02-16 | [18 empty] | 0.1
2011-02-17 | [18 empty] | 0.1
2011-02-18 | [18 empty] | 0.1
2011-02-19 | [18 empty] | 0.1
2011-02-20 | [18 empty] | 0.1
2011-02-21 | [18 empty] | 0.1
2011-02-22 | [18 empty] | 0.1
2011-02-23 | [18 empty] | 0.1
2011-02-24 | [18 empty] | 0.1
2011-02-25 | [18 empty] | 0.1
2011-02-26 | [18 empty] | 0.1
2011-02-27 | [18 empty] | 0.1
2011-02-28 | [18 empty] | 0.1
2011-03-01 | [18 empty] | 0.1
2011-03-02 | [18 empty] | 0.1
2011-03-03 | [18 empty] | 0.1
2011-03-04 | [18 empty] | 0.1
2011-03-05 | [18 empty] | 0.1
2011-03-06 | [18 empty] | 0.1
2011-03-07 | [18 empty] | 0.1
2011-03-08 | [18 empty] | 0.1
2011-03-09 | [18 empty] | 0.1
2011-03-10 | [18 empty] | 0.1
2011-03-11 | [18 empty] | 0.1
2011-03-12 | [18 empty] | 0.1
2011-03-13 | [18 empty] | 0.1
2011-03-14 | [18 empty] | 0.1
2011-03-15 | [18 empty] | 0.1
2011-03-16 | [18 empty] | 0.1
2011-03-17 | [18 empty] | 0.1
2011-03-18 | [18 empty] | 0.1
2011-03-19 | [18 empty] | 0.1
2011-03-20 | [18 empty] | 0.1
2011-03-21 | [18 empty] | 0.1
2011-03-22 | [18 empty] | 0.1
2011-03-23 | [18 empty] | 0.1
2011-03-24 | [18 empty] | 0.1
2011-03-25 | [18 empty] | 0.1
2011-03-26 | [18 empty] | 0.1
2011-03-27 | [18 empty] | 0.1
2011-03-28 | [18 empty] | 0.1
2011-03-29 | [18 empty] | 0.1
2011-03-30 | [18 empty] | 0.1
2011-03-31 | [18 empty] | 0.1
2011-04-01 | [18 empty] | 0.1
2011-04-02 | [18 empty] | 0.1
2011-04-03 | [18 empty] | 0.1
2011-04-04 | [18 empty] | 0.1
2011-04-05 | [18 empty] | 0.1
2011-04-06 | [18 empty] | 0.1
2011-04-07 | [18 empty] | 0.1
2011-04-08 | [18 empty] | 0.1
2011-04-09 | [18 empty] | 0.1
2011-04-10 | [18 empty] | 0.1
2011-04-11 | [18 empty] | 0.1
2011-04-12 | [18 empty] | 0.1
2011-04-13 | [18 empty] | 0.1
2011-04-14 | [18 empty] | 0.1
2011-04-15 | [18 empty] | 0.1
2011-04-16 | [18 empty] | 0.1
2011-04-17 | [18 empty] | 0.1
2011-04-18 | [18 empty] | 0.1
2011-04-19 | [18 empty] | 0.1
2011-04-20 | [18 empty] | 0.1
2011-04-21 | [18 empty] | 0.1
2011-04-22 | [18 empty] | 0.1
2011-04-23 | [18 empty] | 0.1
2011-04-24 | [18 empty] | 0.1
2011-04-25 | [18 empty] | 0.1
2011-04-26 | [18 empty] | 0.1
2011-04-27 | [18 empty] | 0.1
2011-04-28 | [18 empty] | 0.1
2011-04-29 | [18 empty] | 0.1
2011-04-30 | [18 empty] | 0.1
2011-05-01 | [18 empty] | 0.1
2011-05-02 | [18 empty] | 0.1
2011-05-03 | [18 empty] | 0.1
2011-05-04 | [18 empty] | 0.1
2011-05-05 | [18 empty] | 0.1
2011-05-06 | [18 empty] | 0.1
2011-05-07 | [18 empty] | 0.1
2011-05-08 | [18 empty] | 0.1
2011-05-09 | [18 empty] | 0.1
2011-05-10 | [18 empty] | 0.1
2011-05-11 | [18 empty] | 0.1
2011-05-12 | [18 empty] | 0.1
2011-05-13 | [18 empty] | 0.1
2011-05-14 | [18 empty] | 0.1
2011-05-15 | [18 empty] | 0.1
2011-05-16 | [18 empty] | 0.1
2011-05-17 | [18 empty] | 0.1
2011-05-18 | [18 empty] | 0.1
2011-05-19 | [18 empty] | 0.1
2011-05-20 | [18 empty] | 0.1
2011-05-21 | [18 empty] | 0.1
2011-05-22 | [18 empty] | 0.1
2011-05-23 | [18 empty] | 0.1
2011-05-24 | [18 empty] | 0.1
2011-05-25 | [18 empty] | 0.1
2011-05-26 | [18 empty] | 0.1
2011-05-27 | [18 empty] | 0.1
2011-05-28 | [18 empty] | 0.1
2011-05-29 | [18 empty] | 0.1
2011-05-30 | [18 empty] | 0.1
2011-05-31 | [18 empty] | 0.1
2011-06-01 | [18 empty] | 0.1
2011-06-02 | [18 empty] | 0.1
2011-06-03 | [18 empty] | 0.1
2011-06-04 | [18 empty] | 0.1
2011-06-05 | [18 empty] | 0.1
2011-06-06 | [18 empty] | 0.1
2011-06-07 | [18 empty] | 0.1
2011-06-08 | [18 empty] | 0.1
2011-06-09 | [18 empty] | 0.1
2011-06-10 | [18 empty] | 0.1
2011-06-11 | [18 empty] | 0.1
2011-06-12 | [18 empty] | 0.1
2011-06-13 | [18 empty] | 0.1
2011-06-14 | [18 empty] | 0.1
2011-06-15 | [18 empty] | 0.1
2011-06-16 | [18 empty] | 0.1
2011-06-17 | [18 empty] | 0.1
2011-06-18 | [18 empty] | 0.1
2011-06-19 | [18 empty] | 0.1
2011-06-20 | [18 empty] | 0.1
2011-06-21 | [18 empty] | 0.1
2011-06-22 | [18 empty] | 0.1
2011-06-23 | [18 empty] | 0.1
2011-06-24 | [18 empty] | 0.1
2011-06-25 | [18 empty] | 0.1
2011-06-26 | [18 empty] | 0.1
2011-06-27 | [18 empty] | 0.1
2011-06-28 | [18 empty] | 0.1
2011-06-29 | [18 empty] | 0.1
2011-06-30 | [18 empty] | 0.1
2011-07-01 | [18 empty] | 0.1
2011-07-02 | [18 empty] | 0.1
2011-07-03 | [18 empty] | 0.1
2011-07-04 | [18 empty] | 0.1
2011-07-05 | [18 empty] | 0.1
2011-07-06 | [18 empty] | 0.1
2011-07-07 | [18 empty] | 0.1
2011-07-08 | [18 empty] | 0.1
2011-07-09 | [18 empty] | 0.1
2011-07-10 | [18 empty] | 0.1
2011-07-11 | [18 empty] | 0.1
2011-07-12 | [18 empty] | 0.1
2011-07-13 | [18 empty] | 0.1
2011-07-14 | [18 empty] | 0.1
2011-07-15 | [18 empty] | 0.1
2011-07-16 | [18 empty] | 0.1
2011-07-17 | [18 empty] | 0.1
2011-07-18 | [18 empty] | 0.1
2011-07-19 | [18 empty] | 0.1
2011-07-20 | [18 empty] | 0.1
2011-07-21 | [18 empty] | 0.1
2011-07-22 | [18 empty] | 0.1
2011-07-23 | [18 empty] | 0.1
2011-07-24 | [18 empty] | 0.1
2011-07-25 | [18 empty] | 0.1
2011-07-26 | [18 empty] | 0.1
2011-07-27 | [18 empty] | 0.1
2011-07-28 | [18 empty] | 0.1
2011-07-29 | [18 empty] | 0.1
2011-07-30 | [18 empty] | 0.1
2011-07-31 | [18 empty] | 0.1
2011-08-01 | [18 empty] | 0.1
2011-08-02 | [18 empty] | 0.1
2011-08-03 | [18 empty] | 0.1
2011-08-04 | [18 empty] | 0.1
2011-08-05 | [18 empty] | 0.1
2011-08-06 | [18 empty] | 0.1
2011-08-07 | [18 empty] | 0.1
2011-08-08 | [18 empty] | 0.1
2011-08-09 | [18 empty] | 0.1
2011-08-10 | [18 empty] | 0.1
2011-08-11 | [18 empty] | 0.1
2011-08-12 | [18 empty] | 0.1
2011-08-13 | [18 empty] | 0.1
2011-08-14 | [18 empty] | 0.1
2011-08-15 | [18 empty] | 0.1
2011-08-16 | [18 empty] | 0.1
2011-08-17 | [18 empty] | 0.1
2011-08-18 | [18 empty] | 0.1
2011-08-19 | [18 empty] | 0.1
2011-08-20 | [18 empty] | 0.1
2011-08-21 | [18 empty] | 0.1
2011-08-22 | [18 empty] | 0.1
2011-08-23 | [18 empty] | 0.1
2011-08-24 | [18 empty] | 0.1
2011-08-25 | [18 empty] | 0.1
2011-08-26 | [18 empty] | 0.1
2011-08-27 | [18 empty] | 0.1
2011-08-28 | [18 empty] | 0.1
2011-08-29 | [18 empty] | 0.1
2011-08-30 | [18 empty] | 0.1
2011-08-31 | [18 empty] | 0.1
2011-09-01 | [18 empty] | 0.1
2011-09-02 | [18 empty] | 0.1
2011-09-03 | [18 empty] | 0.1
2011-09-04 | [18 empty] | 0.1
2011-09-05 | [18 empty] | 0.1
2011-09-06 | [18 empty] | 0.1
2011-09-07 | [18 empty] | 0.1
2011-09-08 | [18 empty] | 0.1
2011-09-09 | [18 empty] | 0.1
2011-09-10 | [18 empty] | 0.1
2011-09-11 | [18 empty] | 0.1
2011-09-12 | [18 empty] | 0.1
2011-09-13 | [18 empty] | 0.1
2011-09-14 | [18 empty] | 0.1
2011-09-15 | [18 empty] | 0.1
2011-09-16 | [18 empty] | 0.1
2011-09-17 | [18 empty] | 0.1
2011-09-18 | [18 empty] | 0.1
2011-09-19 | [18 empty] | 0.1
2011-09-20 | [18 empty] | 0.1
2011-09-21 | [18 empty] | 0.1
2011-09-22 | [18 empty] | 0.1
2011-09-23 | [18 empty] | 0.1
2011-09-24 | [18 empty] | 0.1
2011-09-25 | [18 empty] | 0.1
2011-09-26 | [18 empty] | 0.1
2011-09-27 | [18 empty] | 0.1
2011-09-28 | [18 empty] | 0.1
2011-09-29 | [18 empty] | 0.1
2011-09-30 | [18 empty] | 0.1
2011-10-01 | [18 empty] | 0.1
2011-10-02 | [18 empty] | 0.1
2011-10-03 | [18 empty] | 0.1
2011-10-04 | [18 empty] | 0.1
2011-10-05 | [18 empty] | 0.1
2011-10-06 | [18 empty] | 0.1
2011-10-07 | [18 empty] | 0.1
2011-10-08 | [18 empty] | 0.1
2011-10-09 | [18 empty] | 0.1
2011-10-10 | [18 empty] | 0.1
2011-10-11 | [18 empty] | 0.1
2011-10-12 | [18 empty] | 0.1
2011-10-13 | [18 empty] | 0.1
2011-10-14 | [18 empty] | 0.1
2011-10-15 | [18 empty] | 0.1
2011-10-16 | [18 empty] | 0.1
2011-10-17 | [18 empty] | 0.1
2011-10-18 | [18 empty] | 0.1
2011-10-19 | [18 empty] | 0.1
2011-10-20 | [18 empty] | 0.1
2011-10-21 | [18 empty] | 0.1
2011-10-22 | [18 empty] | 0.1
2011-10-23 | [18 empty] | 0.1
2011-10-24 | [18 empty] | 0.1
2011-10-25 | [18 empty] | 0.1
2011-10-26 | [18 empty] | 0.1
2011-10-27 | [18 empty] | 0.1
2011-10-28 | [18 empty] | 0.1
2011-10-29 | [18 empty] | 0.1
2011-10-30 | [18 empty] | 0.1
2011-10-31 | [18 empty] | 0.1
2011-11-01 | [18 empty] | 0.1
2011-11-02 | [18 empty] | 0.1
2011-11-03 | [18 empty] | 0.1
2011-11-04 | [18 empty] | 0.1
2011-11-05 | [18 empty] | 0.1
2011-11-06 | [18 empty] | 0.1
2011-11-07 | [18 empty] | 0.1
2011-11-08 | [18 empty] | 0.1
2011-11-09 | [18 empty] | 0.1
2011-11-10 | [18 empty] | 0.1
2011-11-11 | [18 empty] | 0.1
2011-11-12 | [18 empty] | 0.1
2011-11-13 | [18 empty] | 0.1
2011-11-14 | [18 empty] | 0.1
2011-11-15 | [18 empty] | 0.1
2011-11-16 | [18 empty] | 0.1
2011-11-17 | [18 empty] | 0.1
2011-11-18 | [18 empty] | 0.1
2011-11-19 | [18 empty] | 0.1
2011-11-20 | [18 empty] | 0.1
2011-11-21 | [18 empty] | 0.1
2011-11-22 | [18 empty] | 0.1
2011-11-23 | [18 empty] | 0.1
2011-11-24 | [18 empty] | 0.1
2011-11-25 | [18 empty] | 0.1
2011-11-26 | [18 empty] | 0.1
2011-11-27 | [18 empty] | 0.1
2011-11-28 | [18 empty] | 0.1
2011-11-29 | [18 empty] | 0.1
2011-11-30 | [18 empty] | 0.1
2011-12-01 | [18 empty] | 0.1
2011-12-02 | [18 empty] | 0.1
2011-12-03 | [18 empty] | 0.1
2011-12-04 | [18 empty] | 0.1
2011-12-05 | [18 empty] | 0.1
2011-12-06 | [18 empty] | 0.1
2011-12-07 | [18 empty] | 0.1
2011-12-08 | [18 empty] | 0.1
2011-12-09 | [18 empty] | 0.1
2011-12-10 | [18 empty] | 0.1
2011-12-11 | [18 empty] | 0.1
2011-12-12 | [18 empty] | 0.1
2011-12-13 | [18 empty] | 0.1
2011-12-14 | [18 empty] | 0.1
2011-12-15 | [18 empty] | 0.1
2011-12-16 | [18 empty] | 0.1
2011-12-17 | [18 empty] | 0.1
2011-12-18 | [18 empty] | 0.1
2011-12-19 | [18 empty] | 0.1
2011-12-20 | [18 empty] | 0.1
2011-12-21 | [18 empty] | 0.1
2011-12-22 | [18 empty] | 0.1
2011-12-23 | [18 empty] | 0.1
2011-12-24 | [18 empty] | 0.1
2011-12-25 | [18 empty] | 0.1
2011-12-26 | [18 empty] | 0.1
2011-12-27 | [18 empty] | 0.1
2011-12-28 | [18 empty] | 0.1
2011-12-29 | [18 empty] | 0.1
2011-12-30 | [18 empty] | 0.1
2011-12-31 | [18 empty] | 0.1
2012-01-01 | [18 empty] | 0.1
Note on C15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on D15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on E15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on F15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on G15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on H15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on I15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on J15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on K15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on L15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on M15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on N15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on O15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on P15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on Q15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on R15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on S15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on T15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Clear Database

## Filters7-12BWData (hidden)
Data input screen for filter backwash data.
For filters with filter-to-waste (FTW) capability, input three values per backwash: 1) max. turbidity during FTW period,
2) turbidity at end of FTW period and 3) FTW time.
For filters without FTW capability, input two values per backwash: 1) max. turbidity during initial 15 minutes of filter run
and 2) turbidity after 15 minutes of filter run.
Filter | 7 |  |  | 8 |  |  | 9 |  |  | 10 |  |  | 11 |  |  | 12
Description
Goal @ RTS (NTU) | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1 |  | 0.3 | 0.1
% values < Goal | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
95th % NTU
| Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min) | Max. Turbidity (NTU) | RTS Turbidity (NTU) | FTW Time (min)
2008-01-01 | [18 empty] | 0.1
2008-01-02 | [18 empty] | 0.1
2008-01-03 | [18 empty] | 0.1
2008-01-04 | [18 empty] | 0.1
2008-01-05 | [18 empty] | 0.1
2008-01-06 | [18 empty] | 0.1
2008-01-07 | [18 empty] | 0.1
2008-01-08 | [18 empty] | 0.1
2008-01-09 | [18 empty] | 0.1
2008-01-10 | [18 empty] | 0.1
2008-01-11 | [18 empty] | 0.1
2008-01-12 | [18 empty] | 0.1
2008-01-13 | [18 empty] | 0.1
2008-01-14 | [18 empty] | 0.1
2008-01-15 | [18 empty] | 0.1
2008-01-16 | [18 empty] | 0.1
2008-01-17 | [18 empty] | 0.1
2008-01-18 | [18 empty] | 0.1
2008-01-19 | [18 empty] | 0.1
2008-01-20 | [18 empty] | 0.1
2008-01-21 | [18 empty] | 0.1
2008-01-22 | [18 empty] | 0.1
2008-01-23 | [18 empty] | 0.1
2008-01-24 | [18 empty] | 0.1
2008-01-25 | [18 empty] | 0.1
2008-01-26 | [18 empty] | 0.1
2008-01-27 | [18 empty] | 0.1
2008-01-28 | [18 empty] | 0.1
2008-01-29 | [18 empty] | 0.1
2008-01-30 | [18 empty] | 0.1
2008-01-31 | [18 empty] | 0.1
2008-02-01 | [18 empty] | 0.1
2008-02-02 | [18 empty] | 0.1
2008-02-03 | [18 empty] | 0.1
2008-02-04 | [18 empty] | 0.1
2008-02-05 | [18 empty] | 0.1
2008-02-06 | [18 empty] | 0.1
2008-02-07 | [18 empty] | 0.1
2008-02-08 | [18 empty] | 0.1
2008-02-09 | [18 empty] | 0.1
2008-02-10 | [18 empty] | 0.1
2008-02-11 | [18 empty] | 0.1
2008-02-12 | [18 empty] | 0.1
2008-02-13 | [18 empty] | 0.1
2008-02-14 | [18 empty] | 0.1
2008-02-15 | [18 empty] | 0.1
2008-02-16 | [18 empty] | 0.1
2008-02-17 | [18 empty] | 0.1
2008-02-18 | [18 empty] | 0.1
2008-02-19 | [18 empty] | 0.1
2008-02-20 | [18 empty] | 0.1
2008-02-21 | [18 empty] | 0.1
2008-02-22 | [18 empty] | 0.1
2008-02-23 | [18 empty] | 0.1
2008-02-24 | [18 empty] | 0.1
2008-02-25 | [18 empty] | 0.1
2008-02-26 | [18 empty] | 0.1
2008-02-27 | [18 empty] | 0.1
2008-02-28 | [18 empty] | 0.1
2008-02-29 | [18 empty] | 0.1
2008-03-01 | [18 empty] | 0.1
2008-03-02 | [18 empty] | 0.1
2008-03-03 | [18 empty] | 0.1
2008-03-04 | [18 empty] | 0.1
2008-03-05 | [18 empty] | 0.1
2008-03-06 | [18 empty] | 0.1
2008-03-07 | [18 empty] | 0.1
2008-03-08 | [18 empty] | 0.1
2008-03-09 | [18 empty] | 0.1
2008-03-10 | [18 empty] | 0.1
2008-03-11 | [18 empty] | 0.1
2008-03-12 | [18 empty] | 0.1
2008-03-13 | [18 empty] | 0.1
2008-03-14 | [18 empty] | 0.1
2008-03-15 | [18 empty] | 0.1
2008-03-16 | [18 empty] | 0.1
2008-03-17 | [18 empty] | 0.1
2008-03-18 | [18 empty] | 0.1
2008-03-19 | [18 empty] | 0.1
2008-03-20 | [18 empty] | 0.1
2008-03-21 | [18 empty] | 0.1
2008-03-22 | [18 empty] | 0.1
2008-03-23 | [18 empty] | 0.1
2008-03-24 | [18 empty] | 0.1
2008-03-25 | [18 empty] | 0.1
2008-03-26 | [18 empty] | 0.1
2008-03-27 | [18 empty] | 0.1
2008-03-28 | [18 empty] | 0.1
2008-03-29 | [18 empty] | 0.1
2008-03-30 | [18 empty] | 0.1
2008-03-31 | [18 empty] | 0.1
2008-04-01 | [18 empty] | 0.1
2008-04-02 | [18 empty] | 0.1
2008-04-03 | [18 empty] | 0.1
2008-04-04 | [18 empty] | 0.1
2008-04-05 | [18 empty] | 0.1
2008-04-06 | [18 empty] | 0.1
2008-04-07 | [18 empty] | 0.1
2008-04-08 | [18 empty] | 0.1
2008-04-09 | [18 empty] | 0.1
2008-04-10 | [18 empty] | 0.1
2008-04-11 | [18 empty] | 0.1
2008-04-12 | [18 empty] | 0.1
2008-04-13 | [18 empty] | 0.1
2008-04-14 | [18 empty] | 0.1
2008-04-15 | [18 empty] | 0.1
2008-04-16 | [18 empty] | 0.1
2008-04-17 | [18 empty] | 0.1
2008-04-18 | [18 empty] | 0.1
2008-04-19 | [18 empty] | 0.1
2008-04-20 | [18 empty] | 0.1
2008-04-21 | [18 empty] | 0.1
2008-04-22 | [18 empty] | 0.1
2008-04-23 | [18 empty] | 0.1
2008-04-24 | [18 empty] | 0.1
2008-04-25 | [18 empty] | 0.1
2008-04-26 | [18 empty] | 0.1
2008-04-27 | [18 empty] | 0.1
2008-04-28 | [18 empty] | 0.1
2008-04-29 | [18 empty] | 0.1
2008-04-30 | [18 empty] | 0.1
2008-05-01 | [18 empty] | 0.1
2008-05-02 | [18 empty] | 0.1
2008-05-03 | [18 empty] | 0.1
2008-05-04 | [18 empty] | 0.1
2008-05-05 | [18 empty] | 0.1
2008-05-06 | [18 empty] | 0.1
2008-05-07 | [18 empty] | 0.1
2008-05-08 | [18 empty] | 0.1
2008-05-09 | [18 empty] | 0.1
2008-05-10 | [18 empty] | 0.1
2008-05-11 | [18 empty] | 0.1
2008-05-12 | [18 empty] | 0.1
2008-05-13 | [18 empty] | 0.1
2008-05-14 | [18 empty] | 0.1
2008-05-15 | [18 empty] | 0.1
2008-05-16 | [18 empty] | 0.1
2008-05-17 | [18 empty] | 0.1
2008-05-18 | [18 empty] | 0.1
2008-05-19 | [18 empty] | 0.1
2008-05-20 | [18 empty] | 0.1
2008-05-21 | [18 empty] | 0.1
2008-05-22 | [18 empty] | 0.1
2008-05-23 | [18 empty] | 0.1
2008-05-24 | [18 empty] | 0.1
2008-05-25 | [18 empty] | 0.1
2008-05-26 | [18 empty] | 0.1
2008-05-27 | [18 empty] | 0.1
2008-05-28 | [18 empty] | 0.1
2008-05-29 | [18 empty] | 0.1
2008-05-30 | [18 empty] | 0.1
2008-05-31 | [18 empty] | 0.1
2008-06-01 | [18 empty] | 0.1
2008-06-02 | [18 empty] | 0.1
2008-06-03 | [18 empty] | 0.1
2008-06-04 | [18 empty] | 0.1
2008-06-05 | [18 empty] | 0.1
2008-06-06 | [18 empty] | 0.1
2008-06-07 | [18 empty] | 0.1
2008-06-08 | [18 empty] | 0.1
2008-06-09 | [18 empty] | 0.1
2008-06-10 | [18 empty] | 0.1
2008-06-11 | [18 empty] | 0.1
2008-06-12 | [18 empty] | 0.1
2008-06-13 | [18 empty] | 0.1
2008-06-14 | [18 empty] | 0.1
2008-06-15 | [18 empty] | 0.1
2008-06-16 | [18 empty] | 0.1
2008-06-17 | [18 empty] | 0.1
2008-06-18 | [18 empty] | 0.1
2008-06-19 | [18 empty] | 0.1
2008-06-20 | [18 empty] | 0.1
2008-06-21 | [18 empty] | 0.1
2008-06-22 | [18 empty] | 0.1
2008-06-23 | [18 empty] | 0.1
2008-06-24 | [18 empty] | 0.1
2008-06-25 | [18 empty] | 0.1
2008-06-26 | [18 empty] | 0.1
2008-06-27 | [18 empty] | 0.1
2008-06-28 | [18 empty] | 0.1
2008-06-29 | [18 empty] | 0.1
2008-06-30 | [18 empty] | 0.1
2008-07-01 | [18 empty] | 0.1
2008-07-02 | [18 empty] | 0.1
2008-07-03 | [18 empty] | 0.1
2008-07-04 | [18 empty] | 0.1
2008-07-05 | [18 empty] | 0.1
2008-07-06 | [18 empty] | 0.1
2008-07-07 | [18 empty] | 0.1
2008-07-08 | [18 empty] | 0.1
2008-07-09 | [18 empty] | 0.1
2008-07-10 | [18 empty] | 0.1
2008-07-11 | [18 empty] | 0.1
2008-07-12 | [18 empty] | 0.1
2008-07-13 | [18 empty] | 0.1
2008-07-14 | [18 empty] | 0.1
2008-07-15 | [18 empty] | 0.1
2008-07-16 | [18 empty] | 0.1
2008-07-17 | [18 empty] | 0.1
2008-07-18 | [18 empty] | 0.1
2008-07-19 | [18 empty] | 0.1
2008-07-20 | [18 empty] | 0.1
2008-07-21 | [18 empty] | 0.1
2008-07-22 | [18 empty] | 0.1
2008-07-23 | [18 empty] | 0.1
2008-07-24 | [18 empty] | 0.1
2008-07-25 | [18 empty] | 0.1
2008-07-26 | [18 empty] | 0.1
2008-07-27 | [18 empty] | 0.1
2008-07-28 | [18 empty] | 0.1
2008-07-29 | [18 empty] | 0.1
2008-07-30 | [18 empty] | 0.1
2008-07-31 | [18 empty] | 0.1
2008-08-01 | [18 empty] | 0.1
2008-08-02 | [18 empty] | 0.1
2008-08-03 | [18 empty] | 0.1
2008-08-04 | [18 empty] | 0.1
2008-08-05 | [18 empty] | 0.1
2008-08-06 | [18 empty] | 0.1
2008-08-07 | [18 empty] | 0.1
2008-08-08 | [18 empty] | 0.1
2008-08-09 | [18 empty] | 0.1
2008-08-10 | [18 empty] | 0.1
2008-08-11 | [18 empty] | 0.1
2008-08-12 | [18 empty] | 0.1
2008-08-13 | [18 empty] | 0.1
2008-08-14 | [18 empty] | 0.1
2008-08-15 | [18 empty] | 0.1
2008-08-16 | [18 empty] | 0.1
2008-08-17 | [18 empty] | 0.1
2008-08-18 | [18 empty] | 0.1
2008-08-19 | [18 empty] | 0.1
2008-08-20 | [18 empty] | 0.1
2008-08-21 | [18 empty] | 0.1
2008-08-22 | [18 empty] | 0.1
2008-08-23 | [18 empty] | 0.1
2008-08-24 | [18 empty] | 0.1
2008-08-25 | [18 empty] | 0.1
2008-08-26 | [18 empty] | 0.1
2008-08-27 | [18 empty] | 0.1
2008-08-28 | [18 empty] | 0.1
2008-08-29 | [18 empty] | 0.1
2008-08-30 | [18 empty] | 0.1
2008-08-31 | [18 empty] | 0.1
2008-09-01 | [18 empty] | 0.1
2008-09-02 | [18 empty] | 0.1
2008-09-03 | [18 empty] | 0.1
2008-09-04 | [18 empty] | 0.1
2008-09-05 | [18 empty] | 0.1
2008-09-06 | [18 empty] | 0.1
2008-09-07 | [18 empty] | 0.1
2008-09-08 | [18 empty] | 0.1
2008-09-09 | [18 empty] | 0.1
2008-09-10 | [18 empty] | 0.1
2008-09-11 | [18 empty] | 0.1
2008-09-12 | [18 empty] | 0.1
2008-09-13 | [18 empty] | 0.1
2008-09-14 | [18 empty] | 0.1
2008-09-15 | [18 empty] | 0.1
2008-09-16 | [18 empty] | 0.1
2008-09-17 | [18 empty] | 0.1
2008-09-18 | [18 empty] | 0.1
2008-09-19 | [18 empty] | 0.1
2008-09-20 | [18 empty] | 0.1
2008-09-21 | [18 empty] | 0.1
2008-09-22 | [18 empty] | 0.1
2008-09-23 | [18 empty] | 0.1
2008-09-24 | [18 empty] | 0.1
2008-09-25 | [18 empty] | 0.1
2008-09-26 | [18 empty] | 0.1
2008-09-27 | [18 empty] | 0.1
2008-09-28 | [18 empty] | 0.1
2008-09-29 | [18 empty] | 0.1
2008-09-30 | [18 empty] | 0.1
2008-10-01 | [18 empty] | 0.1
2008-10-02 | [18 empty] | 0.1
2008-10-03 | [18 empty] | 0.1
2008-10-04 | [18 empty] | 0.1
2008-10-05 | [18 empty] | 0.1
2008-10-06 | [18 empty] | 0.1
2008-10-07 | [18 empty] | 0.1
2008-10-08 | [18 empty] | 0.1
2008-10-09 | [18 empty] | 0.1
2008-10-10 | [18 empty] | 0.1
2008-10-11 | [18 empty] | 0.1
2008-10-12 | [18 empty] | 0.1
2008-10-13 | [18 empty] | 0.1
2008-10-14 | [18 empty] | 0.1
2008-10-15 | [18 empty] | 0.1
2008-10-16 | [18 empty] | 0.1
2008-10-17 | [18 empty] | 0.1
2008-10-18 | [18 empty] | 0.1
2008-10-19 | [18 empty] | 0.1
2008-10-20 | [18 empty] | 0.1
2008-10-21 | [18 empty] | 0.1
2008-10-22 | [18 empty] | 0.1
2008-10-23 | [18 empty] | 0.1
2008-10-24 | [18 empty] | 0.1
2008-10-25 | [18 empty] | 0.1
2008-10-26 | [18 empty] | 0.1
2008-10-27 | [18 empty] | 0.1
2008-10-28 | [18 empty] | 0.1
2008-10-29 | [18 empty] | 0.1
2008-10-30 | [18 empty] | 0.1
2008-10-31 | [18 empty] | 0.1
2008-11-01 | [18 empty] | 0.1
2008-11-02 | [18 empty] | 0.1
2008-11-03 | [18 empty] | 0.1
2008-11-04 | [18 empty] | 0.1
2008-11-05 | [18 empty] | 0.1
2008-11-06 | [18 empty] | 0.1
2008-11-07 | [18 empty] | 0.1
2008-11-08 | [18 empty] | 0.1
2008-11-09 | [18 empty] | 0.1
2008-11-10 | [18 empty] | 0.1
2008-11-11 | [18 empty] | 0.1
2008-11-12 | [18 empty] | 0.1
2008-11-13 | [18 empty] | 0.1
2008-11-14 | [18 empty] | 0.1
2008-11-15 | [18 empty] | 0.1
2008-11-16 | [18 empty] | 0.1
2008-11-17 | [18 empty] | 0.1
2008-11-18 | [18 empty] | 0.1
2008-11-19 | [18 empty] | 0.1
2008-11-20 | [18 empty] | 0.1
2008-11-21 | [18 empty] | 0.1
2008-11-22 | [18 empty] | 0.1
2008-11-23 | [18 empty] | 0.1
2008-11-24 | [18 empty] | 0.1
2008-11-25 | [18 empty] | 0.1
2008-11-26 | [18 empty] | 0.1
2008-11-27 | [18 empty] | 0.1
2008-11-28 | [18 empty] | 0.1
2008-11-29 | [18 empty] | 0.1
2008-11-30 | [18 empty] | 0.1
2008-12-01 | [18 empty] | 0.1
2008-12-02 | [18 empty] | 0.1
2008-12-03 | [18 empty] | 0.1
2008-12-04 | [18 empty] | 0.1
2008-12-05 | [18 empty] | 0.1
2008-12-06 | [18 empty] | 0.1
2008-12-07 | [18 empty] | 0.1
2008-12-08 | [18 empty] | 0.1
2008-12-09 | [18 empty] | 0.1
2008-12-10 | [18 empty] | 0.1
2008-12-11 | [18 empty] | 0.1
2008-12-12 | [18 empty] | 0.1
2008-12-13 | [18 empty] | 0.1
2008-12-14 | [18 empty] | 0.1
2008-12-15 | [18 empty] | 0.1
2008-12-16 | [18 empty] | 0.1
2008-12-17 | [18 empty] | 0.1
2008-12-18 | [18 empty] | 0.1
2008-12-19 | [18 empty] | 0.1
2008-12-20 | [18 empty] | 0.1
2008-12-21 | [18 empty] | 0.1
2008-12-22 | [18 empty] | 0.1
2008-12-23 | [18 empty] | 0.1
2008-12-24 | [18 empty] | 0.1
2008-12-25 | [18 empty] | 0.1
2008-12-26 | [18 empty] | 0.1
2008-12-27 | [18 empty] | 0.1
2008-12-28 | [18 empty] | 0.1
2008-12-29 | [18 empty] | 0.1
2008-12-30 | [18 empty] | 0.1
2008-12-31 | [18 empty] | 0.1
Note on C15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on D15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on E15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on F15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on G15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on H15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on I15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on J15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on K15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on L15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on M15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on N15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on O15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on P15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on Q15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Note on R15: Plants with filter-to-waste (FTW) capability: Input maximum turbidity during FTW period. Plants without FTW capability: Input maximum turbidity during 15 minutes following return to service.
Note on S15: Plants with Filter-to-waste (FTW) capability: Input turbidity before filter is returned to service (RTS). Plants without FTW capability: Input turbidity 15 minutes after filter is returned to service.
Note on T15: Plants with filter-to-waste (FTW) capability: Input FTW time in minutes.
Clear Database