|  | Iowa Department of Natural Resources Underground Storage Tank Section 502 East 9th Street Des Moines IA 50319-0034 |
| --- | --- |
| LINE TIGHTNESS TEST FORM |
| UST Facility Information |
| UST Facility Registration Number: |  |
| UST Facility Name: |  |
| Physical Address: |  |
| City, County, Zip: |  |
| UST Owner: |  |
| Owner Phone Number: |  | Email: |  |
| Tester Information |
| Tester Name: |  |
| Certification # and Expiration Date: |  |
| Tester Certified By [Mark all that apply]: | Tank Manufacturer Test Equipment Manufacturer | Pipe Manufacturer |
| Company Name: |  |
| Phone Number: |  | Email: |  |
| Tester Signature: |  |
| PIPING INFORMATION |
| Piping Material: | Steel | Fiberglass | Thermoplastic (flexible) | Thermoset (rigid) |
| Piping Configuration: | Single Wall | Double-Wall |
| Piping Manufacturer / Model: |  |
| Delivery Type: | Pressurized | Suction | Safer Suction |
| Piping Release Detection Method: | ELLD | Annual Line Tightness Testing (Pressurized) |
|  | SIR Interstitial Monitoring | Tri-Annual Line Tightness Testing (Suction) |
|  | Other: |  |
| Line Tightness Test Method Information |
| Test Method: |  | Max. Pipe Capacity: |  |
| Leak Threshold: | 0.05 gph | 0.01 gph | Other: |  |
| Recommended Test Pressure: |  | Min. Test Duration: |  |
| Testing Event Information |
| Reason(s) for Test: | Routine Annual Routine Tri-Annual New Installation | Repair Suspected Release | DNR Directed |
| Date of Test: |  | Time Arrived at UST Facility: |  |
| Date Next Test Due: |  |  |
| Method of Piping Isolation During Test: | Functional Element | Isolation Plug |
|  | Ball Valve | Other: |  |

| Pre-Test Data |
| --- |
| Line # / Product (Example: L1/RUL) | Piping Length (ft) | Operating Pressure (psi) | # of Connected Dispensers | # of Flex Connectors | Calculated Max. Bleedback (gal) | Measured Bleedback (gal) | Pretest Duration (min) |
| Line Tightness Test Data |
| Line # / Product (Example: L1/RUL) | Time (military) | Pressure (psi) | Volume (gallons) | Line Tightness Test Results (Pass/Fail) | Secondary Containment Test Results (Pass / Fail / N/A) |
|  |  | Before | After | Before | After | Net Change |  |  |
| Comments Note any repairs, retests, or unusual test conditions |
| If you have questions on how to fill out this form or to request a review of UST facility records, please contact the UST Section at 515-725-8364 or through email at cara.ingle@dnr.iowa.gov |

UST SYSTEM OWNER SHALL RETAIN A COPY OF THIS COMPLETED TEST FORM FOR ONE YEAR