Exhibit LA

Iowa Department of Natural Resources

Wastewater Engineering Section

Land Application Engineering Report Scope of Study Checklist

| Project Name: |  |
| --- | --- |
| Meeting Location: |  |
| Date of Project Initiation Meeting: |  |  |
| Meeting Attendance List: |  |

The engineering report shall contain pertinent information on the proposed site(s) including: location, geology, soil conditions, area for expansion, groundwater conditions and any other factors which may affect the feasibility and acceptability of the proposal. The engineering report shall also include pretreatment and storage requirements, a management program stating the objectives of the land application, the design application rates and monitoring. The source should be given for any information used by the consultant in design.

| Design Standard Section | Subsection N/A to Scope |
| --- | --- |
| 21.1 | GENERAL DESIGN CONSIDERATIONS |  |
| 21.1.1 | Site Considerations |  |
| 21.1.1.1 | Site Identification |  |
| 21.1.1.2 | Site Criteria Initial Groundwater Quality |  |
| 21.1.2 | Groundwater |  |
| 21.1.2.1 | Fieldwork Determination |  |
| 21.1.2.2 | Initial Groundwater Quality |  |
| 21.1.3 | Geological Information |  |
| 21.1.3.1 | Soil Profile |  |
| 21.1.3.2 | Soil Requirements |  |
| 21.1.4 | Initial Wastewater Analysis |  |
| 21.1.5 | Preapplication Treatment |  |
| 21.1.6 | Land Application Facility |  |
| 21.1.6.1 | Hydraulic Loading Rate |  |
| 21.1.6.2 | Nitrogen Loading |  |
| 21.1.6.3 | Phosphorous Loading |  |
| 21.1.6.4 | Trace Element Loading |  |
| 21.1.6.5 | Salinity Restrictions |  |
| 21.1.6.6 | Disinfection |  |
| 21.1.6.7 | Crops and Vegetation |  |
| 21.1.7 | Storage Facility |  |
| 21.1.7.1 | Storage Time |  |
| 21.1.7.2 | Construction |  |
| 21.1.7.3 | Reliability |  |
| 21.1.7.4 | Storage Option |  |
| 21.1.8 | Reliability |  |
| 21.1.8.1 | General |  |
| 21.1.8.2 | Equipment |  |
| 21.1.8.3 | Manpower |  |
| 21.1.9 | Monitoring Systems |  |
| 21.1.9.1 | Frequency |  |
| 21.1.9.2 | Parameters |  |
| 21.1.9.3 | Location |  |
| 21.1.9.4 | Operational |  |
| 21.1.10 | Effluent and Groundwater Limitations |  |
| 21.1.10.1 | Effluent |  |
| 21.1.10.2 | Groundwater Limitations |  |
| 21.2 | SLOW RATE LAND APPLICATION |  |
| 21.2.1 | Site Criteria |  |
| 21.2.2 | Groundwater |  |
| 21.2.2.1 | Groundwater Table |  |
| 21.2.2.2 | Underdrain |  |
| 21.2.3 | Geology |  |
| 21.2.4 | Topography |  |
| 21.2.5 | Trace Element Limitations |  |
| 21.2.6 | Storage Requirements |  |
| 21.2.7 | Application Restrictions |  |
| 21.2.7.1 | Application Based on Permeability |  |
| 21.2.7.2 | Application Based on Limiting Factor |  |
| 21.2.7.3 | Application During Frost and Runoff |  |
| 21.2.7.4 | Application to Public Use Areas |  |
| 21.2.8 | Resting or Drying Period |  |
| 21.2.9 | Land Owner Agreements |  |
| 21.2.10 | Water Rights |  |
| 21.3 | OVERLAND FLOW |  |
| 21.3.1 | Groundwater |  |
| 21.3.2 | Geology |  |
| 21.3.3 | Topography |  |
| 21.3.3.1 | Slope |  |
| 21.3.3.2 | Length of Travel |  |
| 21.3.4 | Storage Requirements |  |
| 21.3.5 | Overland Flow Facility Design |  |
| 21.3.5.1 | Hydraulic Loading |  |
| 21.3.5.2 | Nitrogen Loading |  |
| 21.3.5.3 | Distribution System |  |
| 21.3.5.4 | Vegetation |  |
| 21.3.5.5 | Access |  |
| 21.3.5.6 | Collection Ditches |  |
|  | Additional Items: |  |