|  | Iowa Department of Natural Resources Wastewater Section Construction Permit Application SCHEDULE P, Gas Chlorination | DNR USE ONLY |
| --- | --- | --- |
|  |  | Project No. |
|  |  | Permit No. |
| Date Prepared | Project Identity |
| Date Revised |  |
|  | Chlorinator Room |  |
| 1. Is the building used for other purposes? | Yes No |  |
| 2. Do doors open only to the outside of the building? | Yes No |  |
|  | Is panic hardware provided? | Yes No | Viewing window provided? | Yes No |  |
| 3. Forced air ventilation: |  | air changes/hour |  |
|  | Activated by: |  |  |
| 4. Other ventilation system: |  |  |
| 5. Is the room heated? | Yes No | How? |  |  |
| 6. Is self-contained breather equipment provided? | Yes No | Type: |  |  |
| 7. Method of chlorine leak detection? |  |  |
| 8. Type of Scale: |  |  |
| 9. Chlorine cylinder restrains provided? | Yes No |  |  |  |
|  | Chlorination Units |  |
| 1. Number and type of units |  |  |
| 2. Point of application |  |  |
| 3. Total rated capacity |  | lbs/day |  |  |  |
| 4. Chlorine dosage range |  | mg/l at design flow |  |  |  |
| 5. Water is supplied by |  |  |
|  | Mixing |  |
| Is flash mixing provided? | Yes No | Type |  |  |
|  | Chlorine Contact Tank |  |
| 1. Number of Tanks |  | Location |  |  |
| 2. Effective dimensions |  |  |
| 3. Effective volume |  | gal |  |
| 4. Detention time |  | min at AWW flow of |  | MGD |  |
|  |  | min at PHWW flow of |  | MGD |  |
|  |  | Min at maximum pump rate of |  | GPM |  |
| 5. Are tanks baffled to reduce short circuiting? | Yes No | Length to width ratio |  |  |
| 6. Method of draining |  |  |
| 7. Drainage discharge to |  |  |
| 8. Is service bypass provided? | Yes No | Discharge to |  |  |