|  | Iowa Department of Natural Resources Wastewater Section Construction Permit Application SCHEDULE B, Collection System | DNR USE ONLY |
| --- | --- | --- |
|  |  | Project No. |
|  |  | Permit No. |
| Date Prepared | Project Identity |
| Date Revised |  |
| 1. Identify proposed construction which is subject to flooding and explain what is proposed to prevent water from entering the system. If no portion is subject to flooding, state none. |
|  | Segment | Flooding Protection |  |
| *2. Indicate hydraulic capacity of: 1) the nearest downstream main or interceptor; 2) the nearest downstream lift station; and 3) all downstream segments where flow restriction may occur. Indicate the source and accuracy of numerical data. |
|  |  |  | Segment | Segment | Segment |  |  |  |
|  | Location |  |  |  |  |  |  |
|  | Design Capacity, MGD |  |  |  |  |  |  |
|  | Peak Hourly Dry weather Flow MGD (actual) |  |  |  |  |  |  |
|  | Peak Hourly Wet weather Flow MGD (actual) |  |  |  |  |  |  |
| *3. Identify treatment facility, the design loadings and present raw waste loadings. Indicate source and accuracy of numerical data. |
|  | Facility Name and Number |  |  |  |
|  | Facility Loading | MGD | #BOD5/day |  |  |  |  |  |
|  | Design |  |  |  |  |  |  |  |
|  | Average Wet Weather (actual) |  |  |  |  |  |  |  |
|  | Peak Hourly Wet Weather (actual) |  |  |  |  |  |  |  |
|  | Provide projected design loading increase, which will be added to this facility as a result of this project. |  |
|  | Design Loading | Initial |  | Design Year | ( ) |  |  |  |
|  | Residential Service Area |  | Acres |  | Acres |  |  |  |
|  | Population |  | Persons |  | Persons |  |  |  |
|  | Flow (100 GPCD) |  | GPD |  | GPD |  |  |  |
|  | BOD5 (0.17/#/d/cap) |  | #/day |  | #/day |  |  |  |
|  | Industrial Service Area |  | Acres |  | Acres |  |  |  |
|  | Rated Flow |  | GPD |  | GPD |  |  |  |
|  | BOD5 |  | #/day |  | #/day |  |  |  |
|  | Other |  |  |  | Acres |  | Acres |  |  |  |
|  | Rated Flow |  | GPD |  | GPD |  |  |  |
|  | BOD5 |  | #/day |  | #/day |  |  |  |
|  | Total BOD5 |  | #/day |  | #/day |  |  |  |
|  | Total Flow |  | GPD |  | GPD |  |  |  |
|  | Peak Hourly Flow |  | GPD |  | GPD |  |  |  |
| *Include a written explanation of items 2 and 3 if the sewer system and/or treatment facility are overloaded. |