|  | Iowa Department of Natural Resources Wastewater Section Construction Permit Application SCHEDULE E, Wastewater Pump Station | DNR USE ONLY |
| --- | --- | --- |
|  |  | Project No. |
|  |  | Permit No. |
| Date Prepared | Project Identity |
| Date Revised |  |
| 1. Design Basis | Initial |  | Design Year | ( ) |  |  |  |
|  | Residential Service Area |  | Acres |  | Acres |  |  |  |
|  | Population |  | Persons |  | Persons |  |  |  |
|  | PHDW Flow |  | MGD |  | MGD |  |  |  |
|  | Industrial Service Area |  | Acres |  | Acres |  |  |  |
|  | PHDW Flow |  | MGD |  | MGD |  |  |  |
|  | Other |  |  |  | Acres |  | Acres |  |  |  |
|  | PHDW Flow |  | MGD |  | MGD |  |  |  |
|  | Peak Hourly Infiltration |  | MGD |  | MGD |  |  |  |
|  | Peak Hourly inflow |  | MGD |  | MGD |  |  |  |
|  | Total PHDW Flow |  | MGD |  | MGD |  |  |  |
|  | Total PHWW Flow |  | MGD |  | MGD |  |  |  |
| 2. Provide pump information |  |  |  |  |  |  |  |
|  | Pump No. | Type | Opening (in) | HP | Capacity (GPM) | TDH (ft.) | Operating Level |  |
|  |  |  |  |  |  | Computed | Rated | On | Off |  |
|  | 1 |  |  |  |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |  |  |  |
|  | 5 |  |  |  |  |  |  |  |  |  |
|  | Sump |  |  |  |  |  |  |  |  |  |
|  | Are pumps specified as being capable of passing three-inch diameter spheres? | Yes No |  |  |
|  | Can remaining pumps handle PHWW flow with largest pump out of service? | Yes No |  |  |
| 3. Wet-well effective volume |  | gallons | Maximum retention time | Initial flow |  | minutes |  |
|  |  |  |  |  | Design flow |  | minutes |  |
| 4. Is forced air ventilation specified? | Yes No |  |  |  |  |  |  |
|  | Continuous: | Wet-well |  | Dry-well |  | Intermittent: | Wet-well |  | Dry-well |  |  |
|  |  | Dry-well |  | Air changes/hour | Dry-well |  | Air changes/hour |  |
|  | Are spark-proof materials specified? | Yes No |  |
| 5. Force main: | Is profile of force main provided? | Yes No |  |
|  | Size |  | in | Length |  | ft | Detention time at ADW design flow |  | hours |  |
|  | Pipe material |  | Joint |  |  |
|  | Minimum cover |  | ft | Minimum velocity |  | fps | Number of high points |  |  |  |
|  | Are air relief valves provided? | Yes No | Number of thrust blocks provided |  |  |  |
|  | At location(s) |  |  |
|  | Is pressure test specified? | Yes No | Does installation conform to AWWA C600? | Yes No |  |
|  | If no, explain |  |  |
| 6. Are valves provided on the suction & discharge lines? | Yes No |  |  |
|  | Type: | Discharge |  | Suction |  |  |
| 7. Is an alarm system provided? | Yes No | Type |  |  |
|  | Indicate where audio/visual warning signals will be located |  |  |
| 8. Method of pump control |  |  |
| 9. Are the pumps protected from clogging? | Yes No | Method of cleaning |  |  |
|  | Method of pump removal |  | Are lifting hook/arms provided? | Yes No |  |
| 10. Are permanent emergency piping bypass connections provided? | Yes No |  |
|  | Is an emergency power supply available? | Yes No |  |
|  | Describe station operation in an emergency (equipment, piping, bypass, etc.) |  |  |
| 11. Is the wastewater pump station located in a floodplain? | Yes No |  |  |  |
|  | Elevation of 100 year flood (MSL) |  | Elevation of 25 year flood(MSL) |  |  |