# Exhibit 10B

# Iowa Department of Natural Resources

## Wastewater Engineering Section

# 60 Percent Preliminary Plan and Specification

# Submittal and Review Checklist

# for Major Wastewater Pumping Stations

1. _______	Refer to Chapter 11 of the Iowa Wastewater Facilities Design Standards for submittal criteria, especially Sections 11.3 and 11.4.

2. _______	Are deviations (if any) from the project approved in the facility plan and approved design criteria noted?  Has there been a change in project routing from the location in the approved facility plan?  Will any variances from the design standards be required that have not already been approved?

3. _______	Submit all applicable Construction Permit Application Schedules.  This will include Design Schedules A and E and could include Design Schedule B.

4. _______	Design Memorandum, including Emergency Operation

5. _______	Geotechnical Report (if available)

6. _______	One set of Plan Drawings (half size where accepted by the review engineer or full size)

Title Sheet

Legend Sheet

Vicinity Map

Site Plan

Topography

Property Lines/Boundary Lines

100 Year and 25 Year Flood elevations if applicable

Structural Drawings

Architectural Drawings

Pumping Station Drawings (Existing and Proposed)

Unit Sizes

Piping, Valves and Force Main

Valve Chamber

7. _______	Technical Specifications for Major Process Equipment