## Programs
Documentation Checklist Paver Simple (page 1)
Plan Elements and Details
|  |  | Concept | CD review stages
Item # |  | Description |  | 30% | 60% | 90%/Pre-bid | BID SET
1 |  | Completed BMP checklist spreadsheet
| CL_1 | Site Screening
| DWS | Report Form
| CL_2 | Project Review
2 |  | Concept Plan, Sketch or Layout of Practice
3 |  | Contract Documents
| a. | Cover sheet
| b. | Project quantity list
| c. | Bid item reference notes
| d. | Layout or dimension plan
| d.i. | Dimensions or coordinates of key features
| d,ii. | Vertical and horizontal control (benchmarks, coordinates, datum)
| e. | Grading plan
| f. | SWPPP schematic plan
| g. | Storm design or utility sheets
| g.i. | Plan sheets
| g.ii. | Profile sheets
| h. | Details
| h,i. | > Inlet and outlet structures (as applicable)
| h,ii. | > Cross-sections of key elements
| h,iii. | > Pretreatment practices (as applicable)
| h,iv. | > Others (as applicable)
4 |  | Project manual
| a. | Front end documents
| b. | Specifications or special provisions
5 |  | Estimate of probable cost
Refer to ISWMM Sections 1.05, 9.03-3 and the section related to the selected BMP for more details about what is required for each item.
Provide required information at stages where boxes are shaded green
IDALS Issue Date: 10/21/2021
Documentation Checklist Paver Simple (page 2)
Calculations and Supporting Documentation
|  |  | Concept | CD review stages
Item # |  | Description |  | 30% | 60% | 90%/Pre-bid | BID SET
1 |  | Overall watershed properties (overall areas to each BMP)
Areas of soil types, land uses, impervious cover %
Ratio of watershed area to practice size*
* = size of watershed (acres) / practice area covered (acres)
2 |  | Calculations of Recharge Volume (Rev), Water Quality Volume (WQv), pretreatment requirements (as applicable)
Summary calculations (DWS -Report Form step 1)
Detailed calculations
3 |  | Drainage maps
| > | Flow paths and land uses for natural, existing and post-development conditions
| > | Clearly identify drainage boundaries and areas
4 |  | Soil map or geotech information used to support selection of HSG, CNs
5 |  | Subdrain System design calculations and details
6 |  | Wetland and stream information
7 |  | Floodplain maps
8 |  | Permit documentation (as applicable)
| > | Floodplain
| > | Dam construction
| > | 404 permitting
| > | NPDES, local construction site requirements
| > | Other
9 |  | Maintenance plan
10 |  | Past related stormwater studies (as applicable to design)
Refer to 9.03-3 for more details about calculation Items 1-9. Also refer to Section 1.05 and and the section related to the selected BMP for more info.
|  | Provide required information at stages where boxes are shaded green |  |  |  |  | IDALS Issue Date: 10/21/2021

## Jurisdiction review
Documentation Checklist Paver Simple (page 1)
Plan Elements and Details
Item # |  | Description | Submitted | OK
1 |  | Completed BMP checklist spreadsheet
| CL_1 | Site Screening
| DWS | Report Form
| CL_2 | Project Review
2 |  | Contract Documents
| a. | Cover sheet
| b. | Project quantity list
| c. | Bid item reference notes
| d. | Layout or dimension plan
| d.i. | Dimensions or coordinates of key features
| d,ii. | Vertical and horizontal control (benchmarks, coordinates, datum)
| e. | Grading plan
| f. | SWPPP schematic plan
| g. | Storm design or utility sheets
| g.i. | Plan sheets
| g.ii. | Profile sheets
| h. | Details
| h,i. | > Inlet and outlet structures (as applicable)
| h,ii. | > Cross-sections of key elements
| h,iii. | > Forebay or other pretreatment practices
| h,iv. | > Others (as applicable)
3 |  | Project manual (if required for jurisdictional review)
| a. | Front end documents
| b. | Specifications or special provisions
4 |  | Estimate of probable cost (if required for jurisdictional review)
Refer to ISWMM Sections 1.05, 9.03-3 and the section related to the selected BMP for more details about what is required for each item.
Provide required information at stages where boxes are shaded green
IDALS Issue Date: 01/05/2021
Documentation Checklist Paver Simple (page 2)
Calculations and Supporting Documentation
Item # |  | Description | Submitted | OK
1 |  | Overall watershed properties (overall areas to each BMP)
Areas of soil types, land uses, impervious cover %
Ratio of watershed area to practice size*
* = size of watershed (acres) / practice area covered (acres)
2 |  | Calculations of Recharge Volume (Rev), Water Quality Volume (WQv), pretreatment requirements (as applicable)
Summary calculations (DWS - Report Form step 1)
3 |  | Drainage maps
| > | Flow paths and land uses for natural, existing and post-development conditions
| > | Clearly identify drainage boundaries and areas
4 |  | Soil map or geotech information used to support selection of HSG, CNs
5 |  | Subdrain System design calculations and details
6 |  | Wetland and stream information
7 |  | Floodplain maps
8 |  | Permit documentation (as applicable)
| > | Floodplain
| > | Dam construction
| > | 404 permitting
| > | NPDES, local construction site requirements
| > | Other
14 |  | Maintenance plan
15 |  | Past related stormwater studies (as applicable to design)
Refer to 9.03-3 for more details about calculation Items 1-9. Also refer to Section 1.05 and and the section related to the selected BMP for more info.
Provide required information at stages where boxes are shaded green
IDALS Issue Date: 01/05/2021