## DISCLAIMER
Design Review Checklist for Permeable Pavement Systems (Simple Version)
Iowa Permeable Paver Review Checklist
Iowa Department of Agriculture and Land Stewardship (IDALS) - Issue date: September 24, 2021
Purpose:
This spreadsheet file has been created to assist in the design and review of Permeable Pavement System Projects which are seeking or have obtained funding through the State of Iowa's water quality programs.
This document is intended to be completed by the designer to provide review agencies with project data assembled and presented for review in a consistent manner from project to project.
Using data entered by the designer (data to be entered within the provided blank shaded boxes on each tabulation sheet), this document will complete many of the basic sizing calculation steps following the methods described within the Iowa Stormwater Management Manual (ISWMM).
Contents:
Checklists (to be completed and provided as part of State of Iowa water quality project review):
CL_1: Site Screening
CL_2: Project Review (2 pages)
DWS: Design Worksheet Report Form
APPLICATION:
This checklist is intended to be used for small scale permeable pavement applications.
Projects that are not intended to manage runoff from storm events larger than the Water Quality Event (WQv - 1.25" rainfall). Also to use this form the permeable pavement surface area and subsurface storage should be large enough to achieve the WQv treatment goal (without overflow to downstream practices during the WQv event).
There are other checklists available for permeable pavement systems that manage larger storm events and/or have multiple permeable pavement applications that are collectively used to meet WQv requirements.
DISCLAIMER:
This document is intended only to be used for the purposes as described above. It is expected that designers which use this document are familiar with the Permeable Pavement Systems chapter of ISWMM and understand the methods described within. The user of this document is ultimately responsible for the accurate entry of data into this document and to verify that all included and associated calculations performed are correct and consistent with the methods of design described within ISWMM as applicable to a given project.
By providing this document for use, the State of Iowa, the Iowa Department of Agriculture and Land Stewardship, and any other entity involved in its creation assumes no responsibility for its use, associated calculations or for other project related tasks which are the responsibility of the design professional.

## CL_1 - Site Screening
Design Review Checklist for Permeable Pavement Systems (Simple Version)
(Site Screening / Initial Planning)
| Project: | Project Name
Applicant: |  | Applicant name |  |  | Date: | 2025-10-07
Submitted by: |  | Designer name |  |  | Location: | Enter City or County
Provide project information above and in blank fields below
Site Evaluation Criteria
Soils Information |  |  | Source: |  | County Soils Map
Site Specific Geotechnical Report
Copy of Geotech Report Provided? (Y or N)
HSG of Soils at Paver Site: |  |  | A |  | C
(mark all that apply with X) |  |  | B |  | D
Other available soils information (summary of results of permeability tests, soil properties, presence of Karst topography, etc.):
Maximum slope across finished surface: |  |  |  |  | % | (Refer to ISWMM Permeable Paver Systems Section, p.29)
Maximum slope across bottom of rock chamber: |  |  |  |  | %
Separation from groundwater table: |  |  |  | feet (below top of subgrade)
Hotspot uses expected in watershed: |  |  |  |  | (Y or N)
Existing wetlands within site area: |  |  |  |  | (Y or N)
If yes: jurisdictional determination made? |  |  |  |  | (Y or N)
Is site located within a regulated floodplain? |  |  |  |  | (Y or N)
Habitat for endangered / threatened species found? |  |  |  |  | (Y or N)
Initial Planning
Application type (patio, driveway, parking area, street, alley, etc.)
Considerations:
High loading situations |  |  | (Y or N)
High speed roads |  |  | (Y or N)
Expected traffic load |  |  |  | (Provide traffic count if available)
(mark with X below)
Underdrain
Observation well
Edge restraints
Maintenance plan
Large storm detention |  | N | (Y or N)
If large storm detention is planned, describe method of getting large storm flows into subsurface storage (e.g. enlarged paver area, bypass inlet, etc.) |  |  |  |  | Not applicable
(Projects managing storms larger than the WQv should not use this checklist worksheet)
Local review jurisdiction
Describe local stormwater management requirements
(Y, N, or NA)
Setbacks |  | Surface waters |  |  | (100' min )
|  | Public water supply well |  |  | (1000' min)
|  | Private well |  |  | (100' min)
|  | Septic / leach field |  |  | (100' feet)
|  | Building foundation |  |  | (10' feet, without waterproofing)
CL_1 - Site Screening
Page 1 | [6 empty] | IDALS: Issue Date: 09/24/2021
User Guidance for CL_1 (Screening) Tab:
Completing project information in gray boxes at top of this tab will fill in similar information on subsequent tabs.
Complete Site Evaluation Criteria and Initial Planning information on this sheet. Fill in light blue and yellow shaded boxes.
Consult with local jurisdiction and enter brief description of the requirements that this practice is intending to address [e.g. WQv, extended detention of CPv, release rate for larger storms to match natural (CN=??)].
For initial planning items and setback requirements, refer to ISWMM Chapter 8 for additional context.
Note on E13: Mark with "X" as applicable
Note on A22: i.e. Other tests that would indicate soil permeability
Note on E24: Example, 1-2%
Note on D58: City or county where local stormwater regulations must be met
Note on F59: Example: "Release rates at pre-settlement for similar storm event or 5-yr existing condition, whichever is less."

## DWS - Report Form
Design Review Report Form for Permeable Pavement Systems (Simple Version) | [10 empty] | Illustration of storage volume of application with a sloped bottom
Project: | Project Name | [7 empty] | Date: | 2025-10-07
Part A: Structural Depth Calculations
If required, submit separate documentation
Part B: Hydraulic Storage Calculations
Complete information for Steps 1 - 7 below, as applicable.
Step 1 - Compute Water Quality runoff volume (WQv) | [6 empty] | Step 2 - Compute WQv peak runoff rate
Watershed or subarea |  | Watershed Area (SF) | Watershed Area (AC) | Impervious (%) | Rv | WQv (CF) |  |  |  | (cfs)
Enter Subarea Name |  |  | 0 |  | 0.05 | 0 | WQv peak runoff rate (Qwq) =
| Optional: If volume other than WQv is to be managed, enter volume here (CF) = | [9 empty] | Illustration of storage volume of application with a flat bottom and baffles
[5 empty] | Design Treatment Volume (CF) = | 0 |  |  |  | (cfs)
Optional: If storm event other than WQv is to be managed, enter peak flow rate here =
(enter based on designer's modeling results, or from table A below)
Step 3 - Determine volume storage types
This simple form should only be used for individual permeable paver applications, where there is not a goal to manage runoff from storms larger than the WQv event (1.25").
Step 4 - Verify the required permeable paver surface area
| Peak flow for design (cfs) |  | (sec/hr) |  | (in/feet) |  | (in/hr) |  | App
App= | 0 | x | 3600 | x | 12 | / | 10 | = | 0 | square feet
[8 empty] | Surface Area Provided (based on design plans) = |  | square feet
OK
(see page 29 of the ISWMM Permeable Pavement Systems Section for more info)
Steps 5 and 6 - Design Storage Aggregate Depth / Verify Volume of Storage
(complete one of the three options A, B or C below) |  |  | Design Treatment
|  |  | Volume | / | ( Surface Area | x | Porosity )
|  |  | (CF) |  | (SF)
|  | Minimum Depth Required (feet) = | 0 | / ( | 0 | x | 0.35 | ) = | #DIV/0! | feet
|  |  | Length | Width | Depth* | Porosity | = | Storage
|  |  | (feet) | (feet) | (feet) |  |  | (cubic feet)
|  | For rectangular area installations = |  |  |  | 0.35 |  | 0 | NA | < (Option A)
|  |  |  | Area | Depth* | Porosity | = | Storage
|  |  |  | (square feet) | (feet) |  |  | (cubic feet)
|  | For irregular shaped installations with constant depth = |  |  |  | 0.35 |  | 0 | NA | < (Option B)
* Only count the aggregate volume where water can be ponded or detained. Do not count the aggregate within the setting bed layer. | [7 empty] | Storage
(cubic feet)
|  | For all other applications** = |  |  |  |  | Manual Entry (provide separate calculations*) = |  | NA | < (Option C)
** (see notes in blue within instructions to right)
Step 7 - Subdrain System Design
|  | WQv | [5 empty] | Target rate
|  | (cubic feet) | / | 48 hours | / | 3600 sec/hr |  | (cfs)
| Target release rate = | 0 | / | 48 | / | 3600 | = | 0
|  |  |  | Area | x 10% | / 2 |  | subdrain required
|  |  |  | (square feet) |  | (feet) |  | (feet)
Check that 10% of aggregate area is within 1' of subdrain = |  |  |  |  | 10% | 2 | = | 0
[7 empty] | Subdrain length provided = |  | feet
Design
|  | Volume to | / | x | /
|  | infiltrate | Percolation rate*** | 12 | Bottom area |  | *** Percolation rate based on geotech or site soils study
Check drawdown time if => infiltrating water below subdrain => |  | (cubic feet) | (in/hr) | (in/ft) | (square feet) | =
|  |  |  | 12 |  | = | #DIV/0! | hours
Table A - WQv Event Peak Runoff Rate (Qwq in cfs) for Small Watersheds
|  | Watershed | Watershed
|  | Area | Area | Watershed Impervious Cover % (Total Area Draining to Permeable Paver Installation)*
|  | (acres) | (square feet) | 100% | 90% | 80% | 70% | 60% | 50% | 40%
|  | 0.01 | 435.6 | 0.01824 | 0.01744 | 0.01642 | 0.01532 | 0.0131 | 0.01206 | 0.0092
|  | 0.02 | 871.2 | 0.03648 | 0.03488 | 0.03284 | 0.03064 | 0.0262 | 0.02412 | 0.0184
|  | 0.05 | 2178 | 0.0912 | 0.0872 | 0.0821 | 0.0766 | 0.0655 | 0.0603 | 0.046
|  | 0.1 | 4356 | 0.1824 | 0.1744 | 0.1642 | 0.1532 | 0.131 | 0.1206 | 0.092
|  | 0.15 | 6534 | 0.2736 | 0.2616 | 0.2463 | 0.2298 | 0.1965 | 0.1809 | 0.138
|  | 0.2 | 8712 | 0.3648 | 0.3488 | 0.3284 | 0.3064 | 0.262 | 0.2412 | 0.184
|  | 0.25 | 10890 | 0.456 | 0.436 | 0.4105 | 0.383 | 0.3275 | 0.3015 | 0.23
|  | 0.3 | 13068 | 0.5472 | 0.5232 | 0.4926 | 0.4596 | 0.393 | 0.3618 | 0.276
|  | 0.35 | 15246 | 0.6384 | 0.6104 | 0.5747 | 0.5362 | 0.4585 | 0.4221 | 0.322
|  | 0.4 | 17424 | 0.7296 | 0.6976 | 0.6568 | 0.6128 | 0.524 | 0.4824 | 0.368
|  | 0.45 | 19602 | 0.8208 | 0.7848 | 0.7389 | 0.6894 | 0.5895 | 0.5427 | 0.414
|  | 0.5 | 21780 | 0.912 | 0.872 | 0.821 | 0.766 | 0.655 | 0.603 | 0.46
|  |  | WQv Adjusted Curve Number | 99 | 98 | 97 | 96 | 94 | 93 | 90
*For this calculation, treat the permeable paver surface area as 100% impervious
(Table values calculated using NRCS TR-55 methods, with tc=5 mins, 1 minute time step and applicable area, CN)
Part C: Design for Larger Storms
If system is intended to provide detention for larger storm events, more detailed engineering design is required. Do not use this simple form.
DWS - Design Worksheet Report Form
Page 2 | [9 empty] | IDALS: Issue Date: 09/24/2021
User Guidance for DWS (Report Form) Tab:
Cell A15: Enter a description or ID# for the area draining to the pavement system.
Cell C15: Enter the watershed area (in square feet).
Cell E15: Enter the % impervious cover within the area draining to the permeable paver installation. For this calculation, treat the permeable paver areas as 100% impervious.
Cell K15: Enter the peak runoff rate for the WQv event (Qwq) in cubic feet per second (cfs), based on designer's calculations, or best applicable value based on Table A.
Cell G16: If the practice is managing runoff from a storm other than the WQv event, enter the design treatment volume in cubic feet (CF). Otherwise leave blank or enter a zero (0). If data is entered in G16, the value in this cell will override WQv design values.
Cell K18: If the practice is managing runoff from a storm other than the WQv event, enter the peak flow rate expected to pass through the paver surface in cubic feet per second (cfs). Otherwise leave blank or enter a zero (0). If data is entered in K18, the value in this cell will override WQv design values.
Row 26 calculates the minimum permeable paver surface area (App) needed to pass the design flow rate, based on ISWMM Equation C8-S1-4 on page 13 of the ISWMM Permeable Pavement System section.
Cell J28: Enter the surface area of the permeable paver installation.
When completing Steps 5 and 6, be aware of what volume within the aggregate storage layer can be counted as storage, based on guidance on page 29 of the ISWMM Permeable Pavement System section. Only count the filter and storage aggregate layers. Do not count setting bed layer. See illustration excerpt to right.
Row 35: The minimum depth required is calculated based on the design treatment volume (Cell G17), the surface area of the practice (Cell J28) and porosity, based on ISWMM Equation C8-S1-4 on page 13 of the ISWMM Permeable Pavement System section. This value is used for preliminary design, assuming the storage aggregate has the same footprint area as the permeable pavement surface. If the aggregate storage footprint area is larger than the paver surface area, it is possible that final storage depth may be achieved using a storage depth less than this value.
Row 39: (Option A) If the aggregate storage volume below the paver installation is rectangular in footprint area, enter the width, length and depth values in the shaded cells.
Row 43: (Option B) If the aggregate storage volume below the paver installation has an irregular footprint area, but a constant depth available for storage, enter the footprint area and depth values in the shaded cells.
Cell I47: (Option C) If the aggregate storage volume below the paver installation is unique in both area and depth (such as an installation with a sloped bottom below the aggregate), enter the calculated storage volume. Attach separate documentation for how storage volumes were calculated. Again, reference the illustration at right and ISWMM Section as applicable.
Row 52 calculates the average flow rate the subdrain will need to be designed to pass based on a 48 hour drawdown of the system.
Cell E56: Enter the footprint area of the aggregate storage (in square feet).
Cell I58: Enter the length of subdrain provided (in feet).
Row 63: If the subdrain is elevated above the bottom of the aggregate layers by more than 3" to promote percolation into the subsoil layers, enter the values to verify that drawdown time does not exceed 48 hours. The design volume to infiltrate (Cell C60) is the available volume within the aggregate layers below the flowline of the subdrain. Percolation rate should be determined from test results of subsoils at the site location. Provide results of such tests.

## CL_2 - Project Review
Design Review Checklist for Permeable Pavement Systems (Simple Version)
(Project Review)
Project: |  |  |  |  | 2025-10-07
Project Review Questions
1. Has drainage area information been entered on Tab DWS (Report Form)?
| Yes | No | 0 | acres
2. Has the impervious % of the watershed area to the paver installation been entered on Tab DWS (Report Form)?
| Yes | No | 0%
3. Total WQv treated by paver system?
|  |  | 0 | cubic feet
4. What Is the ratio of the impermeable drainage area : permeable surface area for the installation?
|  |  | #DIV/0! | : 1 (ratio)
5. Is the surface area of the permeable paver installation larger than the required value (App) - see Tab DWS (Report Form)?
| Yes | No
6. Does the total aggregate storage volume provided exceed the WQv required?
| Yes | No | 0 | cubic feet
7. Was the WQv storage available calculated separately from Tab DWS (Report Form)?
| Yes | No | <= If yes, provide separate calculations for how storage volume was determined.
8. Describe the type of permeable pavement system proposed (type of paver, manufacturer, etc.):
9. Discuss soils investigations findings (e.g. texture, degree of compaction, percolation potential, depth to water table, contamination, etc.):
10. Describe aggregate used (depth of each layer, quantity of material, size or classification, etc.) and attach separate material quantity calculations
-
-
-
-
11. If permeable pavement is located less than 10 feet from a building foundation, describe waterproofing methods proposed:
CL_2 - Project Review
Page 3 |  |  |  |  | IDALS: Issue Date: 09/24/2021
User Guidance for CL_2 (Project Review) Tab:
Complete this worksheet by answering all questions.
Proceed to page 2 of this worksheet.

## CL_2 - Project Review (2)
Design Review Checklist for Permeable Pavement Systems (Simple Version)
(Project Review, page 2)
Project: |  |  | 2025-10-07
Project Review Questions
12. What is the maximum slope of the finished surface of the permeable pavement?
13. Is the slope of the bottom of the aggregate base layers greater than 1%?
| Yes | No
If Yes, then describe the methods used to maximize storage (e.g. baffles, earth berms, etc.):
If baffles are used, describe the fabric material used and the expected flow through rate:
14. Describe the material and size of the proposed subdrain(s):
15. What is the proposed depth of the subdrain below the proposed surface:
16. What is the height of the subdrain above the bottom of the aggregate storage volume:
17. Describe the outlet of the subdrain. How is the release rate from the system controlled?
18. Describe the surface overflow condition: (If the surface is plugged or a storm event exceeds the capacity of the surface, where will water flow?)
19. What erosion control measures or staging protocols are being used to protect the surface of the permeable pavement system from being plugged with sediment or other materials during construction?
20. Has supporting information been provided as required (calculations, drainage maps, plans, etc.)?
| Yes | No
CL_2 - Project Review (continued)
Page 4 |  |  | IDALS: Issue Date: 09/24/2021
User Guidance for CL_2 (Project Review) Tab:
Complete this worksheet by answering all questions.