|  | Iowa Department of Natural Resources Underground Storage Tank Section 502 East 9th Street Des Moines, IA 50319-0034 |
| --- | --- |
| Secondary Containment Testing Report Form |
| This form is intended for use by UST Professionals performing periodic testing of UST secondary containment systems. Secondary containment systems must be liquid tight and must be inspected and tested every two years [567-135.3(9)”g”]. Use the appropriate pages of this form to report results for all components tested. The completed form, written test procedures, and printouts from tests (if applicable), should be provided to the facility owner/operator and available for review by DNR and compliance inspectors. |
| 1. Facility Information |
| Facility Name: |  | Registration No. |  |
| Contact: |  | Phone: |  |
| Address: |  |
| City: |  | State: |  | ZIP: |  |
| 2. Testing Contractor Information |
| Company Name: |  | Date of Testing: |  |
| Technician Conducting Test: |  |
| License Type: |  | License Number: |
| Manufacturer Training |
| Manufacturer | Component(s) | Date Training Expires |
| 3. Summary of Test Results |
| Component | Pass | Fail | Not Tested | Repairs Made | Component | Pass | Fail | Not Tested | Repairs Made |
| If hydrostatic testing was performed, describe what was done with the water after completion of tests: |
| CERTIFICATION OF TECHNICIAN RESPONSIBLE FOR CONDUCTING THIS TESTING To the best of my knowledge, the facts stated in this document are accurate and in full compliance with legal requirements |
| Technician’s Signature: |  | Date: |  |

| 4. Tank Annular Testing |
| --- |
| Test Method Developed By: | Tank Manufacturer | Industry Standard | Professional Engineer |
|  | Other (Specify): |
| Test Method Used: | Pressure | Vacuum | Hydrostatic |
|  | Other (Specify): |
| Test Equipment Used: | Equipment Resolution: |
|  | Tank # | Tank # | Tank # | Tank # |
| Tank Capacity: |  |  |  |  |
| Tank Material: |  |  |  |  |
| Tank Manufacturer: |  |  |  |  |
| Product Stored: |  |  |  |  |
| Wait time between applying pressure/vacuum/water and starting test: |  |  |  |  |
| Test Start Time: |  |  |  |  |
| Initial Reading (RI): |  |  |  |  |
| Test End Time: |  |  |  |  |
| Final Reading (RF): |  |  |  |  |
| Test Duration: |  |  |  |  |
| Change in Reading (RF-RI): |  |  |  |  |
| Pass/Fail Threshold or Criteria: |  |  |  |  |
| Test Results: |
| Was sensor removed for testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Was sensor properly replaced and verified functional after testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |

Comments– (include information on repairs made prior to testing, and recommended follow-up for failed tests)

| 5. Secondary Pipe Testing |
| --- |
| Test Method Developed By: | Piping Manufacturer | Industry Standard | Professional Engineer |
|  | Other (Specify): |
| Test Method Used: | Pressure | Vacuum | Hydrostatic |
|  | Other (Specify): |
| Test Equipment Used: | Equipment Resolution: |
|  | Piping Run # | Piping Run # | Piping Run # | Piping Run # |
| Piping Material: |  |  |  |  |
| Piping Manufacturer: |  |  |  |  |
| Piping Diameter: |  |  |  |  |
| Length of Piping Run: |  |  |  |  |
| Product Stored: |  |  |  |  |
| Method and location of piping-run isolation: |  |  |  |  |
| Wait time between applying pressure/vacuum/water and starting test: |  |  |  |  |
| Test Start Time: |  |  |  |  |
| Initial Reading (RI): |  |  |  |  |
| Test End Time: |  |  |  |  |
| Final Reading (RF): |  |  |  |  |
| Test Duration: |  |  |  |  |
| Change in Reading (RF-RI): |  |  |  |  |
| Pass/Fail Threshold or Criteria: |  |  |  |  |
| Test Results: | Pass Fail | Pass Fail | Pass Fail | Pass Fail |

Comments – (include information on repairs made prior to testing, and recommended follow-up for failed tests)

| 6. Piping Sump Testing |
| --- |
| Test Method Developed By: | Sump Manufacturer | Industry Standard | Professional Engineer |
|  | Other (Specify): |
| Test Method Used: | Pressure | Vacuum | Hydrostatic |
|  | Other (Specify): |
| Test Equipment Used: | Equipment Resolution: |
|  | Sump # | Sump # | Sump # | Sump # |
| Sump Diameter: |  |  |  |  |
| Sump Depth: |  |  |  |  |
| Sump Material: |  |  |  |  |
| Height from Tank Top to Top of Highest Piping Penetration: |  |  |  |  |
| Height from Tank Top to Lowest Electrical Penetration: |  |  |  |  |
| Condition of sump prior to testing: |  |  |  |  |
| Does turbine shut down when sump sensor detects liquid (both product and water)?* | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Turbine shutdown response time |  |  |  |  |
| Wait time between applying pressure/vacuum/water and starting test: |  |  |  |  |
| Test Start Time: |  |  |  |  |
| Initial Reading (RI): |  |  |  |  |
| Test End Time: |  |  |  |  |
| Final Reading (RF): |  |  |  |  |
| Test Duration: |  |  |  |  |
| Change in Reading (RF-RI): |  |  |  |  |
| Pass/Fail Threshold or Criteria: |  |  |  |  |
| Test Results: |
| Is there a liquid phase sensor in the sump? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Does the sensor alarm when either product or water is detected? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Is the alarm operational? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Is the sensor located in the lowest part of the sump? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Was sensor removed for testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Was sensor properly replaced and verified functional after testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |

Comments – (include information on repairs made prior to testing, and recommended follow-up for failed tests)

| 7. Under-Dispenser Containment (UDC) Testing |
| --- |
| Test Method Developed By: | UDC Manufacturer | Industry Standard | Professional Engineer |
|  | Other (Specify): |
| Test Method Used: | Pressure | Vacuum | Hydrostatic |
|  | Other (Specify): |
| Test Equipment Used: | Equipment Resolution: |
|  | UDC # | UDC # | UDC # | UDC # |
| UDC Manufacturer: |  |  |  |  |
| UDC Material: |  |  |  |  |
| UDC Depth: |  |  |  |  |
| Height from UDC Bottom to Top of Highest Piping Penetration: |  |  |  |  |
| Height from UDC Bottom to Lowest Electrical Penetration: |  |  |  |  |
| Condition of UDC prior to testing: |  |  |  |  |
| Does turbine shut down when UDC sensor detects liquid (both product and water)? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Turbine shutdown response time |  |  |  |  |
| Wait time between applying pressure/vacuum/water and starting test |  |  |  |  |
| Test Start Time: |  |  |  |  |
| Initial Reading (RI): |  |  |  |  |
| Test End Time: |  |  |  |  |
| Final Reading (RF): |  |  |  |  |
| Test Duration: |  |  |  |  |
| Change in Reading (RF-RI): |  |  |  |  |
| Pass/Fail Threshold or Criteria: |  |  |  |  |
| Test Results: |  |  |  |  |
| Is there a sensor in the sump? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Does the sensor alarm when either product or water is detected? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Is the alarm operational? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Is the sensor located in the lowest part of the sump? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Was sensor removed for testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Was sensor properly replaced and verified functional after testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |

Comments – (include information on repairs made prior to testing, and recommended follow-up for failed tests)

| 8. Tank Top Sump Testing |
| --- |
| Facility is Not Equipped With Fill Riser Containment Sumps |  |
| Fill Riser Containment Sumps are Present, but were Not Tested |  |
| Test Method Developed By: | Sump Manufacturer | Industry Standard | Professional Engineer |
|  | Other (Specify): |
| Test Method Used: | Pressure | Vacuum | Hydrostatic |
|  | Other (Specify): |
| Test Equipment Used: | Equipment Resolution: |
|  | Fill Sump # | Fill Sump # | Fill Sump # | Fill Sump # |
| Sump Diameter: |  |  |  |  |
| Sump Depth: |  |  |  |  |
| Height from Tank Top to Top of Highest Piping Penetration: |  |  |  |  |
| Height from Tank Top to Lowest Electrical Penetration: |  |  |  |  |
| Condition of sump prior to testing: |  |  |  |  |
| Sump Material: |  |  |  |  |
| Wait time between applying pressure/vacuum/water and starting test: |  |  |  |  |
| Test Start Time: |  |  |  |  |
| Initial Reading (RI): |  |  |  |  |
| Test End Time: |  |  |  |  |
| Final Reading (RF): |  |  |  |  |
| Test Duration: |  |  |  |  |
| Change in Reading (RF-RI): |  |  |  |  |
| Pass/Fail Threshold or Criteria: |  |  |  |  |
| Test Results: |  |  |  |  |
| Is there a sensor in the sump? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Does the sensor alarm when either product or water is detected? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Was sensor removed for testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |
| Was sensor properly replaced and verified functional after testing? | Yes No NA | Yes No NA | Yes No NA | Yes No NA |

Comments – (include information on repairs made prior to testing, and recommended follow-up for failed tests)

| 9. Spill Bucket Testing |
| --- |
| This form is intended for use by contractors performing testing of UST spill containment structures. These structures must be liquid tight. The completed form should be provided to the facility owner/operator and available for review by DNR and compliance inspectors. |
| Facility Information |
| Facility Name: |  | Date of Testing: |  |
| Facility Address: |  |
| Facility Contact: |  | Phone: |  |
| Date Local Agency Was Notified of Testing : |  |
| Name of Local Agency Inspector (if present during testing): |  |

| Testing Contractor Information |
| --- |
| Company Name: |  |
| Technician Conducting Test: |  |
| Credentials: | CSLB Contractor ICC Service Tech. SWRCB Tank Tester Other (Specify) __________________ |
| License Number(s): |  |

| Spill Bucket Testing Information |
| --- |
| Test Method Used: | Hydrostatic | Vacuum | Other (Specify) : |
| Test Equipment Used: | Equipment Resolution: |
| Identify Spill Bucket (By Tank Number, Stored Product, etc.) | Tank 1 | Tank 2 | Tank 3 | Tank 4 |
| Bucket Installation Type: | Direct Bury Contained in Sump | Direct Bury Contained in Sump | Direct Bury Contained in Sump | Direct Bury Contained in Sump |
| Bucket Diameter: |  |  |  |  |
| Bucket Depth: |  |  |  |  |
| Wait time between applying vacuum/water and start of test: |  |  |  |  |
| Test Start Time (TI): |  |  |  |  |
| Initial Reading (RI): |  |  |  |  |
| Test End Time (TF): |  |  |  |  |
| Final Reading (RF): |  |  |  |  |
| Test Duration (TF – TI): |  |  |  |  |
| Change in Reading (RF - RI): |  |  |  |  |
| Pass/Fail Threshold or Criteria: |  |  |  |  |
| Test Results: | Pass Fail | Pass Fail | Pass Fail | Pass Fail |

Comments – (include information on repairs made prior to testing, and recommended follow-up for failed tests)

| CERTIFICATION OF TECHNICIAN RESPONSIBLE FOR CONDUCTING THIS TESTING To the best of my knowledge, the facts stated in this document are accurate and in full compliance with legal requirements |
| --- |
| Technician’s Signature: |  | Date: |  |

| 10. Results of Vacuum / Pressure Monitoring Equipment Testing (Continuous Interstitial Line / Tank Monitoring Method) |
| --- |
| This page should be used to document testing and servicing of vacuum and pressure interstitial sensors. Interstitial sensing devices must be tested at least every two years for proper function [567—135.3(9)“g”(2)]. A copy of this form must be provided to the tank system owner/operator. This form must be available for review by DNR and compliance inspectors. |
| Manufacturer: | Model: | System Type: Pressure Vacuum |
| Sensor ID |  |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
|  | Component(s) Monitored by this Sensor: |  |
|  | Sensor Functionality Test Result: Pass Fail Interstitial Communication Test Result: Pass Fail |
| How was interstitial communication verified? Leak Introduced at Far End of Interstitial Space Gauge Visual Inspection Other (Describe Comments Below) |
| Vacuum was restored to operating levels in all interstitial spaces: Yes No (If no, describe in comments below) |
| Comments: |
| NOTE: If the sensor successfully detects a simulated vacuum/pressure leak introduced in the interstitial space at the farthest point from the sensor, vacuum/pressure has been demonstrated to be communicating throughout the interstitial space. |