|  | IOWA DEPARTMENT OF NATURAL RESOURCES WATER SUPPLY ENGINEERING SECTION CONSTRUCTION PERMIT APPLICATION SCHEDULE-3c, Water Quality Data |
| --- | --- |
| Date Prepared | Project Name/Description |
| Date Revised |  |
| 1. | Water Quality Data: |  |
|  | Parameter | Units | Existing Raw Water | Proposed Raw Water Source | Treated Water |  |
|  |  |  | Minimum | Maximum |  | Present | Design |  |
|  | Aesthetic Water Quality Parameters | Alkalinity - Phenolphthalein | mg/L as CaCO3 |  |  |  |  |  |  |
|  |  | - Total | mg/L as CaCO3 |  |  |  |  |  |  |
|  |  | Ammonia | mg/L as N |  |  |  |  |  |  |
|  |  | Calcium | mg/L as Ca |  |  |  |  |  |  |
|  |  | Chloride | mg/L |  |  |  |  |  |  |
|  |  | Corrosivity |  |  |  |  |  |  |  |
|  |  | Hardness | mg/L as CaCO3 |  |  |  |  |  |  |
|  |  | Iron | mg/L as Fe |  |  |  |  |  |  |
|  |  | Magnesium | mg/L as Mg |  |  |  |  |  |  |
|  |  | Manganese | mg/L as Mn |  |  |  |  |  |  |
|  |  | pH | pH units |  |  |  |  |  |  |
|  |  | Filterable Residue (TDS) | mg/L |  |  |  |  |  |  |
|  |  | Sodium | mg/L |  |  |  |  |  |  |
|  |  | Specific Conductance | umho/cm |  |  |  |  |  |  |
|  |  | Sulfate | mg/L as SO4 |  |  |  |  |  |  |
|  | Inorganics | Antimony | mg/L |  |  |  |  |  |  |
|  |  | Arsenic | mg/L |  |  |  |  |  |  |
|  |  | Asbestos | MFL |  |  |  |  |  |  |
|  |  | Barium | mg/L |  |  |  |  |  |  |
|  |  | Beryllium | mg/L |  |  |  |  |  |  |
|  |  | Cadmium | mg/L |  |  |  |  |  |  |
|  |  | Chromium | mg/L |  |  |  |  |  |  |
|  |  | Copper | mg/L |  |  |  |  |  |  |
|  |  | Cyanide, as free CN | mg/L |  |  |  |  |  |  |
|  |  | Fluoride | mg/L |  |  |  |  |  |  |
|  |  | Lead | mg/L |  |  |  |  |  |  |
|  |  | Mercury | mg/L |  |  |  |  |  |  |
|  |  | Nickel | mg/L |  |  |  |  |  |  |
|  |  | Nitrate | mg/L as N |  |  |  |  |  |  |
|  |  | Nitrite | mg/L as N |  |  |  |  |  |  |
|  |  | Selenium | mg/L |  |  |  |  |  |  |
|  |  | Thallium | mg/L |  |  |  |  |  |  |
|  | Radio-nuclides | Gross Alpha | pCi/L |  |  |  |  |  |  |
|  |  | Radium 226 | pCi/L |  |  |  |  |  |  |
|  |  | Radium 228 | pCi/L |  |  |  |  |  |  |
|  |  | Strontium 90 | pCi/L |  |  |  |  |  |  |
|  |  | Tritium | pCi/L |  |  |  |  |  |  |
|  |  | Uranium | ug/L |  |  |  |  |  |  |
|  | Other | HAA5 | mg/L |  |  |  |  |  |  |
|  |  | TTHM | mg/L |  |  |  |  |  |  |

IOWA DEPARTMENT OF NATURAL RESOURCES

WATER SUPPLY ENGINEERING SECTION

CONSTRUCTION PERMIT APPLICATION
SCHEDULE-3c, Water Quality Data

| 2. | Have VOC’s or SOC’s been detected in the water system? | Yes No |  |
| --- | --- | --- | --- |
|  | If Yes, provide the following information on any VOC or SOC that has been detected: |
|  | Contaminant | Sample Location | Date Sampled | Concentration, in mg/L |  |
| 3. | Additional Water Quality Data for Surface Water or Groundwater Under Direct Influence Systems: |
|  | Parameter | Units | Existing Raw Water | Proposed Raw | Treated Water |  |
|  |  |  | Minimum | Maximum | Water Source | Present | Design |  |
|  | Algae* |  |  |  |  |  |  |  |
|  | BOD5 | mg/L |  |  |  |  |  |  |
|  | Bromide (if ozone will be used) | mg/L |  |  |  |  |  |  |
|  | Color |  |  |  |  |  |  |  |
|  | Dissolved Oxygen (DO) | mg/L |  |  |  |  |  |  |
|  | E. coli | cfu/mL |  |  |  |  |  |  |
|  | Bicarbonate Hardness | mg/L as CaCO3 |  |  |  |  |  |  |
|  | Carbonate Hardness | mg/L as CaCO3 |  |  |  |  |  |  |
|  | Total Phosphorus | mg/L as P |  |  |  |  |  |  |
|  | Ortho Phosphorus | mg/L as P |  |  |  |  |  |  |
|  | Solids | Nonfilterable (TSS) | mg/L |  |  |  |  |  |  |
|  |  | Volatile | mg/L |  |  |  |  |  |  |
|  |  | Fixed | mg/L |  |  |  |  |  |  |
|  |  | Settleable | mg/L |  |  |  |  |  |  |
|  | Surfactants | mg/L as MBAS |  |  |  |  |  |  |
|  | Total Organic Carbon (TOC) | mg/L |  |  |  |  |  |  |
| 4. | What is the source of the previously listed water quality data, the number of water samples evaluated, and the time frame over which samples were collected? |
| 5. | Identify and quantify the macroscopic organisms: |  |
|  | *Identify the predominant algae types: |  |  |