|  | IOWA DEPARTMENT OF NATURAL RESOURCES WATER SUPPLY ENGINEERING SECTION CONSTRUCTION PERMIT APPLICATION SCHEDULE-15, Water Storage Facilities |
| --- | --- |
| Date Prepared | Project Name/Description |
| Date Revised |  |
| 1. | Type of Storage Facility: |  |  |
| 2. | Design Data: |  |
|  | a. Tank material: |  |  |
|  | b. Total tank capacity: |  | gallons; | Effective storage capacity: |  | gallons |  |
|  | c. Ground elevation: |  |  |  |
|  | d. Low water elevation: |  | Overflow elevation: |  |  |  |
|  | e. For ground storage facilities, water table elevation: |  | N/A |  |
| 3. | For the following, reference the page of the plans or specifications where the description can be found. |  |
|  | Materials and Construction Details | Plan or Specification Page Number |  | Materials and Construction Details | Plan or Specification Page Number |  |
|  | Roof Design |  |  | Roof Vent |  |  |
|  | Access Manholes |  |  | Overflow Pipe |  |  |
|  | Access Hatches |  |  | Tank Drainage |  |  |
|  | Ladder |  |  | Interior Paint |  |  |
|  | Safety Equipment |  |  | Disinfection |  |  |
|  | Riser Pipe |  |  | Leak Testing |  |  |
| 4. | Soils investigation conducted by: |  | N/A |  |
| 5. | For ground storage facilities, method of surface drainage control: | N/A |  |
| 6. | Method of protecting the facility from trespassing, vandalism and sabotage: |  |
| 7. | Diameter of: Inlet pipe: |  | inches; | Outlet pipe: |  | inches |  |
| 8. | Method of maintaining system pressure during facility repairs: |  |
|  | Spec. Page No.: |  |  |  |
| 9. | Method of preventing sediment in the facility from entering distribution system: |  |
|  | Spec. Page No.: |  |  |  |
| 10. | Has cathodic protection been provided? | Yes No |  |