|  | IOWA DEPARTMENT OF NATURAL RESOURCES WATER SUPPLY ENGINEERING SECTION CONSTRUCTION PERMIT APPLICATION SCHEDULE-16c, Filtration and Mechanical |
| --- | --- |
| Date Prepared | Project Name/Description |
| Date Revised |  |
| 1. | Design Basis: |  |
|  |  | Average | Maximum |  |
|  | Flow to Unit (gpd) |  |  |  |
|  | Suspended Solids to Unit (lbs/day) |  |  |  |
| 2. | Wastewater Sand Filters or Sludge Drying Beds: N/A |  |  |
|  | a. Number of filters: |  | Total filter surface area: |  | ft2 |  |
|  | b. Number of sludge drying beds: |  | Total bed area: |  | ft2 |  |
|  | c. Maximum water depth over media: |  | ft. |  |
|  | d. Method of freeze protection: |  | Spec. Page No.: |  |  |
|  | e. Type of unit underdrain: |  | Spec. Page No.: |  |  |
|  | f. Type of effluent flow measurement: |  | Spec. Page No.: |  |  |
|  | g. Method of effluent sampling: |  | Spec. Page No.: |  |  |
| 3. | Wastewater Sand Filters: N/A |  |
|  | Media Data | Layer 1 | Layer 2 | Layer 3 | Layer 4 |  |
|  | Type of Media |  |  |  |  |  |
|  | Depth (inches) |  |  |  |  |  |
|  | Effective size (mm) |  |  |  |  |  |
|  | Uniformity Coefficient |  |  |  |  |  |
| 4. | Mechanical dewatering: N/A |  |
|  | a. Type of dewatering unit: |  |  |
|  | b. Has a pilot study on the water plant waste been conducted? | Yes | No |  |
|  | If yes, attach a copy of the pilot plant study findings; If no, attach justification for not conducting a pilot plant study, including test results from similar types of sludge: |  |
|  | Design Data | Unit # 1 | Unit # 2 | Unit # 3 |  |
|  | Capacity (lbs. solids/hour) |  |  |  |  |
|  | Capacity (gallons/hr) |  |  |  |  |
|  | c. Will polymer or precoat be used? | Yes No |  |
|  |  | If yes, identify: |  |  |
|  | d. To where is the mechanical dewatering unit liquid effluent discharged? |  |
|  |  | If returned to the raw water entering the water treatment plant, has provision been made to bypass this liquid effluent to the sanitary sewer? Yes No |  |
|  | e. Is the sludge discharged to a sludge storage facility prior to being dewatered? | Yes No |  |
|  |  | If yes, how large a facility is provided? |  | gallons |  |
|  | If no, what provisions have been made to dispose of sludge daily? |  |