## Instructions
Optimization Assessment Software - Version 28 DF
Instructions
Entering data from another spreadsheet (copy/pasting):
1. | When entering data sets from another spreadsheet, use the DataEntryPaste worksheet. This will
reduce problems that could occur due to formatting differences.
2. | Before entering new data, you should clear the data entry area of any pre-existing data. This can be
performed by clicking on the CLEAR button.
3. | After the data is entered, click the TRANSFER button to transfer the data to the database.
4. | Go to the DataEntryValues worksheet and enter the plant name and performance goals.
5. | Click the UPDATE button to develop the Summary and Optimization Trend Reports.
Entering individual data from plant records:
1. | When entering daily data from plant records, use the DataEntryValues worksheet.
2. | Before entering new data, you should clear the database of any pre-existing data. This can be
performed by clicking on the CLEAR button.
3. | After data is entered, click on the UPDATE button to develop the Summary and Optimization Trend
Reports.
Optimization Assessment Software - Version 28 DF
| FILE: | Turb-opt28 DF.xls
| AUTHOR: | L. DeMers, K. Rakness, B. Hegg
| COMPANY: | Process Applications, Inc.
| PURPOSE: | To assess particulate removal in surface water treatment plants
| DATE MODIFIED: |  | MODIFICATIONS & BY WHOM:
| 1999-04-15 | LDD initiated program development.
| 1999-05-26 | LDD modified program to include individual sedimentation and filter graphs.
| 1999-05-27 | LDD modified program to indicate "out of range" warning for filter turbidity data entry.
| 1999-07-23 | LDD initiated program modifications to use percentile calculation.
| 1999-09-23 | LDD added column for combined filter effluent turbidity.
Modifications also made to use percentile calculations.
| 1999-09-25 | LDD modified program to include optimization goal tracking features.
| 1999-11-24 | LDD added worst filter cell conditions and screen hide during macro.
| 1999-11-28 | LDD added worst sed basin cell conditions.
| 1999-12-16 | LDD corrected 95% calc. error in max. sed. and filter columns.
LDD modified to data input to allow up to 12 filters.
| 1999-12-17 | LDD modified annual statistics to exclude STDEV and include % time meeting reg.
requirement.
| 2000-03-03 | LDD fixed y-axis on individual sed and filter graphs
| 2000-05-13 | LDD corrected Leap Year problem (temporary fix until modifications to account for both
Leap Year and non-Leap year data input is completed).
| 2000-06-08 | LDD/KLR corrected Leap Year problem to allow data input for both Leap Year and non
Leap Year data.
| 2000-11-28 | LDD corrected error in max filter turbidity calc on DataEntryValues worksheet. Saved
as turb-opt23p.xls.
| 2001-03-27 | LDD corrected error in max settled water graph to plot the max value from four sed
basins (versus the value from sed basin 1). Also corrected date range in same graph.
Saved as turb-opt24a.xls.
| 2001-04-18 | LDD added "Yes/No" step to clear macros. Changed color of macro buttons.
| 2002-08-23 | LDD added LT-Trend worksheet to support LT Trend companion spreadsheet.
Corrected y-axis lable on MaxFilter chart. Saved as turb-opt26a.xls.
| 2003-04-20 | LDD added data entry cell for public water system number.
| 2003-04-20 | LDD added annual calculations for individual basin/filter 95th % and % values meeting
goal calculations. Saved as turb-opt27.xls.
| 2005-05-27 | LDD modified spreadsheet for direct filtration plant. All sed basin calculations removed.
| 2005-06-24 | LDD modified macro to plot combined turbidity % value meeting goal in long-term trend
table. Renamed to version 28DF.
Model developed by: Process Applications, Inc. Fort Collins, CO 970-223-5787
Click of this button to go to DataEntryPaste
Click of this button to go to DataEntryValues

## DataEntryPaste
Instruction to users: Paste plant turbidity data sets into the data entry area below. The
data entry area will hold 366 days of data. Following data input, transfer data to the
database by clicking on the data TRANSFER button. Go to the DataEntryValues
worksheet to enter the plant name and performance goals.
Data Entry Area for Posting Data Sets
Date | Raw | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Filter 13 | Filter 14 | Filter 15 | Filter 16 | Combined
2004-01-01
2004-01-02
2004-01-03
2004-01-04
2004-01-05
2004-01-06
2004-01-07
2004-01-08
2004-01-09
2004-01-10
2004-01-11
2004-01-12
2004-01-13
2004-01-14
2004-01-15
2004-01-16
2004-01-17
2004-01-18
2004-01-19
2004-01-20
2004-01-21
2004-01-22
2004-01-23
2004-01-24
2004-01-25
2004-01-26
2004-01-27
2004-01-28
2004-01-29
2004-01-30
2004-01-31
2004-02-01
2004-02-02
2004-02-03
2004-02-04
2004-02-05
2004-02-06
2004-02-07
2004-02-08
2004-02-09
2004-02-10
2004-02-11
2004-02-12
2004-02-13
2004-02-14
2004-02-15
2004-02-16
2004-02-17
2004-02-18
2004-02-19
2004-02-20
2004-02-21
2004-02-22
2004-02-23
2004-02-24
2004-02-25
2004-02-26
2004-02-27
2004-02-28
2004-02-29
2004-03-01
2004-03-02
2004-03-03
2004-03-04
2004-03-05
2004-03-06
2004-03-07
2004-03-08
2004-03-09
2004-03-10
2004-03-11
2004-03-12
2004-03-13
2004-03-14
2004-03-15
2004-03-16
2004-03-17
2004-03-18
2004-03-19
2004-03-20
2004-03-21
2004-03-22
2004-03-23
2004-03-24
2004-03-25
2004-03-26
2004-03-27
2004-03-28
2004-03-29
2004-03-30
2004-03-31
2004-04-01
2004-04-02
2004-04-03
2004-04-04
2004-04-05
2004-04-06
2004-04-07
2004-04-08
2004-04-09
2004-04-10
2004-04-11
2004-04-12
2004-04-13
2004-04-14
2004-04-15
2004-04-16
2004-04-17
2004-04-18
2004-04-19
2004-04-20
2004-04-21
2004-04-22
2004-04-23
2004-04-24
2004-04-25
2004-04-26
2004-04-27
2004-04-28
2004-04-29
2004-04-30
2004-05-01
2004-05-02
2004-05-03
2004-05-04
2004-05-05
2004-05-06
2004-05-07
2004-05-08
2004-05-09
2004-05-10
2004-05-11
2004-05-12
2004-05-13
2004-05-14
2004-05-15
2004-05-16
2004-05-17
2004-05-18
2004-05-19
2004-05-20
2004-05-21
2004-05-22
2004-05-23
2004-05-24
2004-05-25
2004-05-26
2004-05-27
2004-05-28
2004-05-29
2004-05-30
2004-05-31
2004-06-01
2004-06-02
2004-06-03
2004-06-04
2004-06-05
2004-06-06
2004-06-07
2004-06-08
2004-06-09
2004-06-10
2004-06-11
2004-06-12
2004-06-13
2004-06-14
2004-06-15
2004-06-16
2004-06-17
2004-06-18
2004-06-19
2004-06-20
2004-06-21
2004-06-22
2004-06-23
2004-06-24
2004-06-25
2004-06-26
2004-06-27
2004-06-28
2004-06-29
2004-06-30
2004-07-01
2004-07-02
2004-07-03
2004-07-04
2004-07-05
2004-07-06
2004-07-07
2004-07-08
2004-07-09
2004-07-10
2004-07-11
2004-07-12
2004-07-13
2004-07-14
2004-07-15
2004-07-16
2004-07-17
2004-07-18
2004-07-19
2004-07-20
2004-07-21
2004-07-22
2004-07-23
2004-07-24
2004-07-25
2004-07-26
2004-07-27
2004-07-28
2004-07-29
2004-07-30
2004-07-31
2004-08-01
2004-08-02
2004-08-03
2004-08-04
2004-08-05
2004-08-06
2004-08-07
2004-08-08
2004-08-09
2004-08-10
2004-08-11
2004-08-12
2004-08-13
2004-08-14
2004-08-15
2004-08-16
2004-08-17
2004-08-18
2004-08-19
2004-08-20
2004-08-21
2004-08-22
2004-08-23
2004-08-24
2004-08-25
2004-08-26
2004-08-27
2004-08-28
2004-08-29
2004-08-30
2004-08-31
2004-09-01
2004-09-02
2004-09-03
2004-09-04
2004-09-05
2004-09-06
2004-09-07
2004-09-08
2004-09-09
2004-09-10
2004-09-11
2004-09-12
2004-09-13
2004-09-14
2004-09-15
2004-09-16
2004-09-17
2004-09-18
2004-09-19
2004-09-20
2004-09-21
2004-09-22
2004-09-23
2004-09-24
2004-09-25
2004-09-26
2004-09-27
2004-09-28
2004-09-29
2004-09-30
2004-10-01
2004-10-02
2004-10-03
2004-10-04
2004-10-05
2004-10-06
2004-10-07
2004-10-08
2004-10-09
2004-10-10
2004-10-11
2004-10-12
2004-10-13
2004-10-14
2004-10-15
2004-10-16
2004-10-17
2004-10-18
2004-10-19
2004-10-20
2004-10-21
2004-10-22
2004-10-23
2004-10-24
2004-10-25
2004-10-26
2004-10-27
2004-10-28
2004-10-29
2004-10-30
2004-10-31
2004-11-01
2004-11-02
2004-11-03
2004-11-04
2004-11-05
2004-11-06
2004-11-07
2004-11-08
2004-11-09
2004-11-10
2004-11-11
2004-11-12
2004-11-13
2004-11-14
2004-11-15
2004-11-16
2004-11-17
2004-11-18
2004-11-19
2004-11-20
2004-11-21
2004-11-22
2004-11-23
2004-11-24
2004-11-25
2004-11-26
2004-11-27
2004-11-28
2004-11-29
2004-11-30
2004-12-01
2004-12-02
2004-12-03
2004-12-04
2004-12-05
2004-12-06
2004-12-07
2004-12-08
2004-12-09
2004-12-10
2004-12-11
2004-12-12
2004-12-13
2004-12-14
2004-12-15
2004-12-16
2004-12-17
2004-12-18
2004-12-19
2004-12-20
2004-12-21
2004-12-22
2004-12-23
2004-12-24
2004-12-25
2004-12-26
2004-12-27
2004-12-28
2004-12-29
2004-12-30
2004-12-31
Formulas:
Date = [Date, row above]+1
Note on A15: Input Start Date. Start Date must be 1st of month (space available for 366 days)
Click of this button to TRANSFER the data to the database
Click on this Button to CLEAR the data from the data entry area below

## DataEntryValues
Plant Name
PWS #
| Filtered water turbidity optimization goal |  |  |  |  | 0.1
| Filtered water turbidity regulation |  |  |  |  | 0.3
Instruction to users: Input plant name and turbidity goals above. Input start date
and turbidity data below. The database will hold 366 days of data. The turbidity data
entry cells will turn yellow if the value exceeds the process goal. Following data
input, develop the reports by clicking the UPDATE button.
Data Entry Area
| Raw | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Filter 13 | Filter 14 | Filter 15 | Filter 16 | Combined |  | Max Filter | MaxFilterPlot | Filter Goal
2004-01-01 | [18 empty] | 1 | 0 |  | 0.1
2004-01-02 | [18 empty] | 2 | 0 |  | 0.1
2004-01-03 | [18 empty] | 3 | 0 |  | 0.1
2004-01-04 | [18 empty] | 4 | 0 |  | 0.1
2004-01-05 | [18 empty] | 5 | 0 |  | 0.1
2004-01-06 | [18 empty] | 6 | 0 |  | 0.1
2004-01-07 | [18 empty] | 7 | 0 |  | 0.1
2004-01-08 | [18 empty] | 8 | 0 |  | 0.1
2004-01-09 | [18 empty] | 9 | 0 |  | 0.1
2004-01-10 | [18 empty] | 10 | 0 |  | 0.1
2004-01-11 | [18 empty] | 11 | 0 |  | 0.1
2004-01-12 | [18 empty] | 12 | 0 |  | 0.1
2004-01-13 | [18 empty] | 13 | 0 |  | 0.1
2004-01-14 | [18 empty] | 14 | 0 |  | 0.1
2004-01-15 | [18 empty] | 15 | 0 |  | 0.1
2004-01-16 | [18 empty] | 16 | 0 |  | 0.1
2004-01-17 | [18 empty] | 17 | 0 |  | 0.1
2004-01-18 | [18 empty] | 18 | 0 |  | 0.1
2004-01-19 | [18 empty] | 19 | 0 |  | 0.1
2004-01-20 | [18 empty] | 20 | 0 |  | 0.1
2004-01-21 | [18 empty] | 21 | 0 |  | 0.1
2004-01-22 | [18 empty] | 22 | 0 |  | 0.1
2004-01-23 | [18 empty] | 23 | 0 |  | 0.1
2004-01-24 | [18 empty] | 24 | 0 |  | 0.1
2004-01-25 | [18 empty] | 25 | 0 |  | 0.1
2004-01-26 | [18 empty] | 26 | 0 |  | 0.1
2004-01-27 | [18 empty] | 27 | 0 |  | 0.1
2004-01-28 | [18 empty] | 28 | 0 |  | 0.1
2004-01-29 | [18 empty] | 29 | 0 |  | 0.1
2004-01-30 | [18 empty] | 30 | 0 |  | 0.1
2004-01-31 | [18 empty] | 31 | 0 |  | 0.1
2004-02-01 | [18 empty] | 32 | 0 |  | 0.1
2004-02-02 | [18 empty] | 33 | 0 |  | 0.1
2004-02-03 | [18 empty] | 34 | 0 |  | 0.1
2004-02-04 | [18 empty] | 35 | 0 |  | 0.1
2004-02-05 | [18 empty] | 36 | 0 |  | 0.1
2004-02-06 | [18 empty] | 37 | 0 |  | 0.1
2004-02-07 | [18 empty] | 38 | 0 |  | 0.1
2004-02-08 | [18 empty] | 39 | 0 |  | 0.1
2004-02-09 | [18 empty] | 40 | 0 |  | 0.1
2004-02-10 | [18 empty] | 41 | 0 |  | 0.1
2004-02-11 | [18 empty] | 42 | 0 |  | 0.1
2004-02-12 | [18 empty] | 43 | 0 |  | 0.1
2004-02-13 | [18 empty] | 44 | 0 |  | 0.1
2004-02-14 | [18 empty] | 45 | 0 |  | 0.1
2004-02-15 | [18 empty] | 46 | 0 |  | 0.1
2004-02-16 | [18 empty] | 47 | 0 |  | 0.1
2004-02-17 | [18 empty] | 48 | 0 |  | 0.1
2004-02-18 | [18 empty] | 49 | 0 |  | 0.1
2004-02-19 | [18 empty] | 50 | 0 |  | 0.1
2004-02-20 | [18 empty] | 51 | 0 |  | 0.1
2004-02-21 | [18 empty] | 52 | 0 |  | 0.1
2004-02-22 | [18 empty] | 53 | 0 |  | 0.1
2004-02-23 | [18 empty] | 54 | 0 |  | 0.1
2004-02-24 | [18 empty] | 55 | 0 |  | 0.1
2004-02-25 | [18 empty] | 56 | 0 |  | 0.1
2004-02-26 | [18 empty] | 57 | 0 |  | 0.1
2004-02-27 | [18 empty] | 58 | 0 |  | 0.1
2004-02-28 | [18 empty] | 59 | 0 |  | 0.1
2004-02-29 | [18 empty] | 60 | 0 |  | 0.1
2004-03-01 | [18 empty] | 61 | 0 |  | 0.1
2004-03-02 | [18 empty] | 62 | 0 |  | 0.1
2004-03-03 | [18 empty] | 63 | 0 |  | 0.1
2004-03-04 | [18 empty] | 64 | 0 |  | 0.1
2004-03-05 | [18 empty] | 65 | 0 |  | 0.1
2004-03-06 | [18 empty] | 66 | 0 |  | 0.1
2004-03-07 | [18 empty] | 67 | 0 |  | 0.1
2004-03-08 | [18 empty] | 68 | 0 |  | 0.1
2004-03-09 | [18 empty] | 69 | 0 |  | 0.1
2004-03-10 | [18 empty] | 70 | 0 |  | 0.1
2004-03-11 | [18 empty] | 71 | 0 |  | 0.1
2004-03-12 | [18 empty] | 72 | 0 |  | 0.1
2004-03-13 | [18 empty] | 73 | 0 |  | 0.1
2004-03-14 | [18 empty] | 74 | 0 |  | 0.1
2004-03-15 | [18 empty] | 75 | 0 |  | 0.1
2004-03-16 | [18 empty] | 76 | 0 |  | 0.1
2004-03-17 | [18 empty] | 77 | 0 |  | 0.1
2004-03-18 | [18 empty] | 78 | 0 |  | 0.1
2004-03-19 | [18 empty] | 79 | 0 |  | 0.1
2004-03-20 | [18 empty] | 80 | 0 |  | 0.1
2004-03-21 | [18 empty] | 81 | 0 |  | 0.1
2004-03-22 | [18 empty] | 82 | 0 |  | 0.1
2004-03-23 | [18 empty] | 83 | 0 |  | 0.1
2004-03-24 | [18 empty] | 84 | 0 |  | 0.1
2004-03-25 | [18 empty] | 85 | 0 |  | 0.1
2004-03-26 | [18 empty] | 86 | 0 |  | 0.1
2004-03-27 | [18 empty] | 87 | 0 |  | 0.1
2004-03-28 | [18 empty] | 88 | 0 |  | 0.1
2004-03-29 | [18 empty] | 89 | 0 |  | 0.1
2004-03-30 | [18 empty] | 90 | 0 |  | 0.1
2004-03-31 | [18 empty] | 91 | 0 |  | 0.1
2004-04-01 | [18 empty] | 92 | 0 |  | 0.1
2004-04-02 | [18 empty] | 93 | 0 |  | 0.1
2004-04-03 | [18 empty] | 94 | 0 |  | 0.1
2004-04-04 | [18 empty] | 95 | 0 |  | 0.1
2004-04-05 | [18 empty] | 96 | 0 |  | 0.1
2004-04-06 | [18 empty] | 97 | 0 |  | 0.1
2004-04-07 | [18 empty] | 98 | 0 |  | 0.1
2004-04-08 | [18 empty] | 99 | 0 |  | 0.1
2004-04-09 | [18 empty] | 100 | 0 |  | 0.1
2004-04-10 | [18 empty] | 101 | 0 |  | 0.1
2004-04-11 | [18 empty] | 102 | 0 |  | 0.1
2004-04-12 | [18 empty] | 103 | 0 |  | 0.1
2004-04-13 | [18 empty] | 104 | 0 |  | 0.1
2004-04-14 | [18 empty] | 105 | 0 |  | 0.1
2004-04-15 | [18 empty] | 106 | 0 |  | 0.1
2004-04-16 | [18 empty] | 107 | 0 |  | 0.1
2004-04-17 | [18 empty] | 108 | 0 |  | 0.1
2004-04-18 | [18 empty] | 109 | 0 |  | 0.1
2004-04-19 | [18 empty] | 110 | 0 |  | 0.1
2004-04-20 | [18 empty] | 111 | 0 |  | 0.1
2004-04-21 | [18 empty] | 112 | 0 |  | 0.1
2004-04-22 | [18 empty] | 113 | 0 |  | 0.1
2004-04-23 | [18 empty] | 114 | 0 |  | 0.1
2004-04-24 | [18 empty] | 115 | 0 |  | 0.1
2004-04-25 | [18 empty] | 116 | 0 |  | 0.1
2004-04-26 | [18 empty] | 117 | 0 |  | 0.1
2004-04-27 | [18 empty] | 118 | 0 |  | 0.1
2004-04-28 | [18 empty] | 119 | 0 |  | 0.1
2004-04-29 | [18 empty] | 120 | 0 |  | 0.1
2004-04-30 | [18 empty] | 121 | 0 |  | 0.1
2004-05-01 | [18 empty] | 122 | 0 |  | 0.1
2004-05-02 | [18 empty] | 123 | 0 |  | 0.1
2004-05-03 | [18 empty] | 124 | 0 |  | 0.1
2004-05-04 | [18 empty] | 125 | 0 |  | 0.1
2004-05-05 | [18 empty] | 126 | 0 |  | 0.1
2004-05-06 | [18 empty] | 127 | 0 |  | 0.1
2004-05-07 | [18 empty] | 128 | 0 |  | 0.1
2004-05-08 | [18 empty] | 129 | 0 |  | 0.1
2004-05-09 | [18 empty] | 130 | 0 |  | 0.1
2004-05-10 | [18 empty] | 131 | 0 |  | 0.1
2004-05-11 | [18 empty] | 132 | 0 |  | 0.1
2004-05-12 | [18 empty] | 133 | 0 |  | 0.1
2004-05-13 | [18 empty] | 134 | 0 |  | 0.1
2004-05-14 | [18 empty] | 135 | 0 |  | 0.1
2004-05-15 | [18 empty] | 136 | 0 |  | 0.1
2004-05-16 | [18 empty] | 137 | 0 |  | 0.1
2004-05-17 | [18 empty] | 138 | 0 |  | 0.1
2004-05-18 | [18 empty] | 139 | 0 |  | 0.1
2004-05-19 | [18 empty] | 140 | 0 |  | 0.1
2004-05-20 | [18 empty] | 141 | 0 |  | 0.1
2004-05-21 | [18 empty] | 142 | 0 |  | 0.1
2004-05-22 | [18 empty] | 143 | 0 |  | 0.1
2004-05-23 | [18 empty] | 144 | 0 |  | 0.1
2004-05-24 | [18 empty] | 145 | 0 |  | 0.1
2004-05-25 | [18 empty] | 146 | 0 |  | 0.1
2004-05-26 | [18 empty] | 147 | 0 |  | 0.1
2004-05-27 | [18 empty] | 148 | 0 |  | 0.1
2004-05-28 | [18 empty] | 149 | 0 |  | 0.1
2004-05-29 | [18 empty] | 150 | 0 |  | 0.1
2004-05-30 | [18 empty] | 151 | 0 |  | 0.1
2004-05-31 | [18 empty] | 152 | 0 |  | 0.1
2004-06-01 | [18 empty] | 153 | 0 |  | 0.1
2004-06-02 | [18 empty] | 154 | 0 |  | 0.1
2004-06-03 | [18 empty] | 155 | 0 |  | 0.1
2004-06-04 | [18 empty] | 156 | 0 |  | 0.1
2004-06-05 | [18 empty] | 157 | 0 |  | 0.1
2004-06-06 | [18 empty] | 158 | 0 |  | 0.1
2004-06-07 | [18 empty] | 159 | 0 |  | 0.1
2004-06-08 | [18 empty] | 160 | 0 |  | 0.1
2004-06-09 | [18 empty] | 161 | 0 |  | 0.1
2004-06-10 | [18 empty] | 162 | 0 |  | 0.1
2004-06-11 | [18 empty] | 163 | 0 |  | 0.1
2004-06-12 | [18 empty] | 164 | 0 |  | 0.1
2004-06-13 | [18 empty] | 165 | 0 |  | 0.1
2004-06-14 | [18 empty] | 166 | 0 |  | 0.1
2004-06-15 | [18 empty] | 167 | 0 |  | 0.1
2004-06-16 | [18 empty] | 168 | 0 |  | 0.1
2004-06-17 | [18 empty] | 169 | 0 |  | 0.1
2004-06-18 | [18 empty] | 170 | 0 |  | 0.1
2004-06-19 | [18 empty] | 171 | 0 |  | 0.1
2004-06-20 | [18 empty] | 172 | 0 |  | 0.1
2004-06-21 | [18 empty] | 173 | 0 |  | 0.1
2004-06-22 | [18 empty] | 174 | 0 |  | 0.1
2004-06-23 | [18 empty] | 175 | 0 |  | 0.1
2004-06-24 | [18 empty] | 176 | 0 |  | 0.1
2004-06-25 | [18 empty] | 177 | 0 |  | 0.1
2004-06-26 | [18 empty] | 178 | 0 |  | 0.1
2004-06-27 | [18 empty] | 179 | 0 |  | 0.1
2004-06-28 | [18 empty] | 180 | 0 |  | 0.1
2004-06-29 | [18 empty] | 181 | 0 |  | 0.1
2004-06-30 | [18 empty] | 182 | 0 |  | 0.1
2004-07-01 | [18 empty] | 183 | 0 |  | 0.1
2004-07-02 | [18 empty] | 184 | 0 |  | 0.1
2004-07-03 | [18 empty] | 185 | 0 |  | 0.1
2004-07-04 | [18 empty] | 186 | 0 |  | 0.1
2004-07-05 | [18 empty] | 187 | 0 |  | 0.1
2004-07-06 | [18 empty] | 188 | 0 |  | 0.1
2004-07-07 | [18 empty] | 189 | 0 |  | 0.1
2004-07-08 | [18 empty] | 190 | 0 |  | 0.1
2004-07-09 | [18 empty] | 191 | 0 |  | 0.1
2004-07-10 | [18 empty] | 192 | 0 |  | 0.1
2004-07-11 | [18 empty] | 193 | 0 |  | 0.1
2004-07-12 | [18 empty] | 194 | 0 |  | 0.1
2004-07-13 | [18 empty] | 195 | 0 |  | 0.1
2004-07-14 | [18 empty] | 196 | 0 |  | 0.1
2004-07-15 | [18 empty] | 197 | 0 |  | 0.1
2004-07-16 | [18 empty] | 198 | 0 |  | 0.1
2004-07-17 | [18 empty] | 199 | 0 |  | 0.1
2004-07-18 | [18 empty] | 200 | 0 |  | 0.1
2004-07-19 | [18 empty] | 201 | 0 |  | 0.1
2004-07-20 | [18 empty] | 202 | 0 |  | 0.1
2004-07-21 | [18 empty] | 203 | 0 |  | 0.1
2004-07-22 | [18 empty] | 204 | 0 |  | 0.1
2004-07-23 | [18 empty] | 205 | 0 |  | 0.1
2004-07-24 | [18 empty] | 206 | 0 |  | 0.1
2004-07-25 | [18 empty] | 207 | 0 |  | 0.1
2004-07-26 | [18 empty] | 208 | 0 |  | 0.1
2004-07-27 | [18 empty] | 209 | 0 |  | 0.1
2004-07-28 | [18 empty] | 210 | 0 |  | 0.1
2004-07-29 | [18 empty] | 211 | 0 |  | 0.1
2004-07-30 | [18 empty] | 212 | 0 |  | 0.1
2004-07-31 | [18 empty] | 213 | 0 |  | 0.1
2004-08-01 | [18 empty] | 214 | 0 |  | 0.1
2004-08-02 | [18 empty] | 215 | 0 |  | 0.1
2004-08-03 | [18 empty] | 216 | 0 |  | 0.1
2004-08-04 | [18 empty] | 217 | 0 |  | 0.1
2004-08-05 | [18 empty] | 218 | 0 |  | 0.1
2004-08-06 | [18 empty] | 219 | 0 |  | 0.1
2004-08-07 | [18 empty] | 220 | 0 |  | 0.1
2004-08-08 | [18 empty] | 221 | 0 |  | 0.1
2004-08-09 | [18 empty] | 222 | 0 |  | 0.1
2004-08-10 | [18 empty] | 223 | 0 |  | 0.1
2004-08-11 | [18 empty] | 224 | 0 |  | 0.1
2004-08-12 | [18 empty] | 225 | 0 |  | 0.1
2004-08-13 | [18 empty] | 226 | 0 |  | 0.1
2004-08-14 | [18 empty] | 227 | 0 |  | 0.1
2004-08-15 | [18 empty] | 228 | 0 |  | 0.1
2004-08-16 | [18 empty] | 229 | 0 |  | 0.1
2004-08-17 | [18 empty] | 230 | 0 |  | 0.1
2004-08-18 | [18 empty] | 231 | 0 |  | 0.1
2004-08-19 | [18 empty] | 232 | 0 |  | 0.1
2004-08-20 | [18 empty] | 233 | 0 |  | 0.1
2004-08-21 | [18 empty] | 234 | 0 |  | 0.1
2004-08-22 | [18 empty] | 235 | 0 |  | 0.1
2004-08-23 | [18 empty] | 236 | 0 |  | 0.1
2004-08-24 | [18 empty] | 237 | 0 |  | 0.1
2004-08-25 | [18 empty] | 238 | 0 |  | 0.1
2004-08-26 | [18 empty] | 239 | 0 |  | 0.1
2004-08-27 | [18 empty] | 240 | 0 |  | 0.1
2004-08-28 | [18 empty] | 241 | 0 |  | 0.1
2004-08-29 | [18 empty] | 242 | 0 |  | 0.1
2004-08-30 | [18 empty] | 243 | 0 |  | 0.1
2004-08-31 | [18 empty] | 244 | 0 |  | 0.1
2004-09-01 | [18 empty] | 245 | 0 |  | 0.1
2004-09-02 | [18 empty] | 246 | 0 |  | 0.1
2004-09-03 | [18 empty] | 247 | 0 |  | 0.1
2004-09-04 | [18 empty] | 248 | 0 |  | 0.1
2004-09-05 | [18 empty] | 249 | 0 |  | 0.1
2004-09-06 | [18 empty] | 250 | 0 |  | 0.1
2004-09-07 | [18 empty] | 251 | 0 |  | 0.1
2004-09-08 | [18 empty] | 252 | 0 |  | 0.1
2004-09-09 | [18 empty] | 253 | 0 |  | 0.1
2004-09-10 | [18 empty] | 254 | 0 |  | 0.1
2004-09-11 | [18 empty] | 255 | 0 |  | 0.1
2004-09-12 | [18 empty] | 256 | 0 |  | 0.1
2004-09-13 | [18 empty] | 257 | 0 |  | 0.1
2004-09-14 | [18 empty] | 258 | 0 |  | 0.1
2004-09-15 | [18 empty] | 259 | 0 |  | 0.1
2004-09-16 | [18 empty] | 260 | 0 |  | 0.1
2004-09-17 | [18 empty] | 261 | 0 |  | 0.1
2004-09-18 | [18 empty] | 262 | 0 |  | 0.1
2004-09-19 | [18 empty] | 263 | 0 |  | 0.1
2004-09-20 | [18 empty] | 264 | 0 |  | 0.1
2004-09-21 | [18 empty] | 265 | 0 |  | 0.1
2004-09-22 | [18 empty] | 266 | 0 |  | 0.1
2004-09-23 | [18 empty] | 267 | 0 |  | 0.1
2004-09-24 | [18 empty] | 268 | 0 |  | 0.1
2004-09-25 | [18 empty] | 269 | 0 |  | 0.1
2004-09-26 | [18 empty] | 270 | 0 |  | 0.1
2004-09-27 | [18 empty] | 271 | 0 |  | 0.1
2004-09-28 | [18 empty] | 272 | 0 |  | 0.1
2004-09-29 | [18 empty] | 273 | 0 |  | 0.1
2004-09-30 | [18 empty] | 274 | 0 |  | 0.1
2004-10-01 | [18 empty] | 275 | 0 |  | 0.1
2004-10-02 | [18 empty] | 276 | 0 |  | 0.1
2004-10-03 | [18 empty] | 277 | 0 |  | 0.1
2004-10-04 | [18 empty] | 278 | 0 |  | 0.1
2004-10-05 | [18 empty] | 279 | 0 |  | 0.1
2004-10-06 | [18 empty] | 280 | 0 |  | 0.1
2004-10-07 | [18 empty] | 281 | 0 |  | 0.1
2004-10-08 | [18 empty] | 282 | 0 |  | 0.1
2004-10-09 | [18 empty] | 283 | 0 |  | 0.1
2004-10-10 | [18 empty] | 284 | 0 |  | 0.1
2004-10-11 | [18 empty] | 285 | 0 |  | 0.1
2004-10-12 | [18 empty] | 286 | 0 |  | 0.1
2004-10-13 | [18 empty] | 287 | 0 |  | 0.1
2004-10-14 | [18 empty] | 288 | 0 |  | 0.1
2004-10-15 | [18 empty] | 289 | 0 |  | 0.1
2004-10-16 | [18 empty] | 290 | 0 |  | 0.1
2004-10-17 | [18 empty] | 291 | 0 |  | 0.1
2004-10-18 | [18 empty] | 292 | 0 |  | 0.1
2004-10-19 | [18 empty] | 293 | 0 |  | 0.1
2004-10-20 | [18 empty] | 294 | 0 |  | 0.1
2004-10-21 | [18 empty] | 295 | 0 |  | 0.1
2004-10-22 | [18 empty] | 296 | 0 |  | 0.1
2004-10-23 | [18 empty] | 297 | 0 |  | 0.1
2004-10-24 | [18 empty] | 298 | 0 |  | 0.1
2004-10-25 | [18 empty] | 299 | 0 |  | 0.1
2004-10-26 | [18 empty] | 300 | 0 |  | 0.1
2004-10-27 | [18 empty] | 301 | 0 |  | 0.1
2004-10-28 | [18 empty] | 302 | 0 |  | 0.1
2004-10-29 | [18 empty] | 303 | 0 |  | 0.1
2004-10-30 | [18 empty] | 304 | 0 |  | 0.1
2004-10-31 | [18 empty] | 305 | 0 |  | 0.1
2004-11-01 | [18 empty] | 306 | 0 |  | 0.1
2004-11-02 | [18 empty] | 307 | 0 |  | 0.1
2004-11-03 | [18 empty] | 308 | 0 |  | 0.1
2004-11-04 | [18 empty] | 309 | 0 |  | 0.1
2004-11-05 | [18 empty] | 310 | 0 |  | 0.1
2004-11-06 | [18 empty] | 311 | 0 |  | 0.1
2004-11-07 | [18 empty] | 312 | 0 |  | 0.1
2004-11-08 | [18 empty] | 313 | 0 |  | 0.1
2004-11-09 | [18 empty] | 314 | 0 |  | 0.1
2004-11-10 | [18 empty] | 315 | 0 |  | 0.1
2004-11-11 | [18 empty] | 316 | 0 |  | 0.1
2004-11-12 | [18 empty] | 317 | 0 |  | 0.1
2004-11-13 | [18 empty] | 318 | 0 |  | 0.1
2004-11-14 | [18 empty] | 319 | 0 |  | 0.1
2004-11-15 | [18 empty] | 320 | 0 |  | 0.1
2004-11-16 | [18 empty] | 321 | 0 |  | 0.1
2004-11-17 | [18 empty] | 322 | 0 |  | 0.1
2004-11-18 | [18 empty] | 323 | 0 |  | 0.1
2004-11-19 | [18 empty] | 324 | 0 |  | 0.1
2004-11-20 | [18 empty] | 325 | 0 |  | 0.1
2004-11-21 | [18 empty] | 326 | 0 |  | 0.1
2004-11-22 | [18 empty] | 327 | 0 |  | 0.1
2004-11-23 | [18 empty] | 328 | 0 |  | 0.1
2004-11-24 | [18 empty] | 329 | 0 |  | 0.1
2004-11-25 | [18 empty] | 330 | 0 |  | 0.1
2004-11-26 | [18 empty] | 331 | 0 |  | 0.1
2004-11-27 | [18 empty] | 332 | 0 |  | 0.1
2004-11-28 | [18 empty] | 333 | 0 |  | 0.1
2004-11-29 | [18 empty] | 334 | 0 |  | 0.1
2004-11-30 | [18 empty] | 335 | 0 |  | 0.1
2004-12-01 | [18 empty] | 336 | 0 |  | 0.1
2004-12-02 | [18 empty] | 337 | 0 |  | 0.1
2004-12-03 | [18 empty] | 338 | 0 |  | 0.1
2004-12-04 | [18 empty] | 339 | 0 |  | 0.1
2004-12-05 | [18 empty] | 340 | 0 |  | 0.1
2004-12-06 | [18 empty] | 341 | 0 |  | 0.1
2004-12-07 | [18 empty] | 342 | 0 |  | 0.1
2004-12-08 | [18 empty] | 343 | 0 |  | 0.1
2004-12-09 | [18 empty] | 344 | 0 |  | 0.1
2004-12-10 | [18 empty] | 345 | 0 |  | 0.1
2004-12-11 | [18 empty] | 346 | 0 |  | 0.1
2004-12-12 | [18 empty] | 347 | 0 |  | 0.1
2004-12-13 | [18 empty] | 348 | 0 |  | 0.1
2004-12-14 | [18 empty] | 349 | 0 |  | 0.1
2004-12-15 | [18 empty] | 350 | 0 |  | 0.1
2004-12-16 | [18 empty] | 351 | 0 |  | 0.1
2004-12-17 | [18 empty] | 352 | 0 |  | 0.1
2004-12-18 | [18 empty] | 353 | 0 |  | 0.1
2004-12-19 | [18 empty] | 354 | 0 |  | 0.1
2004-12-20 | [18 empty] | 355 | 0 |  | 0.1
2004-12-21 | [18 empty] | 356 | 0 |  | 0.1
2004-12-22 | [18 empty] | 357 | 0 |  | 0.1
2004-12-23 | [18 empty] | 358 | 0 |  | 0.1
2004-12-24 | [18 empty] | 359 | 0 |  | 0.1
2004-12-25 | [18 empty] | 360 | 0 |  | 0.1
2004-12-26 | [18 empty] | 361 | 0 |  | 0.1
2004-12-27 | [18 empty] | 362 | 0 |  | 0.1
2004-12-28 | [18 empty] | 363 | 0 |  | 0.1
2004-12-29 | [18 empty] | 364 | 0 |  | 0.1
2004-12-30 | [18 empty] | 365 | 0 |  | 0.1
2004-12-31 | [18 empty] | 366 | 0 |  | 0.1
Note on G4: Input Filtered NTU Goal
Note on A14: Input Start Date. Start Date must be 1st of month (space available for 366 days)
Note on B14: Input Max Daily Raw Turbidity Data
Note on C14: Input Max Daily Sed Basin 1 Turbidity Data or Max Combined Sed Data
Note on D14: Input Max Daily Sed Basin 2 Turbidity Data
Note on E14: Input Max Daily Sed Basin 3 Turbidity Data
Note on F14: Input Max Daily Sed Basin 4 Turbidity Data
Note on G14: Input Max Daily Filter 1 Turbidity Data
Note on H14: Input Max Daily Filter 2 Turbidity Data
Note on I14: Input Max Daily Filter 3 Turbidity Data
Note on J14: Input Max Daily Filter 4 Turbidity Data
Note on K14: Input Max Daily Filter 5 Turbidity Data
Note on L14: Input Max Daily Filter 6 Turbidity Data
Note on M14: Input Max Daily Filter 7 Turbidity Data
Note on N14: Input Max Daily Filter 8 Turbidity Data
Note on S14: Input Max Daily Combined Turbidity Data
Note on O14: Input Max Daily Filter 9 Turbidity Data
Note on P14: Input Max Daily Filter 10 Turbidity Data
Note on Q14: Input Max Daily Filter 11 Turbidity Data
Note on R14: Input Max Daily Filter 12 Turbidity Data
Note on G5: Input Filtered NTU Goal
Note on G2: Input Plant Name
Note on G3: Input Public Water System Number
Click on this Button to CLEAR the Database
Click on this Button to UPDATE the Reports

## Summary
Treatment Barrier Performance Summary
ANNUAL DATA | Avg | Min | Max | RSQ | 95% | Opt. Goal | Reg.
| NTU | NTU | NTU |  | NTU | % Values | % Values
Raw Turbidity | 0 | 0 | 0 | n/a | 0 | n/a | n/a
Max. Filtered Turbidity | 0 | 0 | 0 | 0 | 0 | 0 | n/a
Combined Filtered Turbidity | 0 | 0 | 0 | 0 | 0 | 0 | 0
RSQ = Correlation Coefficient for two selected data sets
95% = 95th Percentile value for data set
Opt. Goal = % of values in data set that are less than or equal to the selected optimization turbidity goal
Reg. = % of values in data set that are less than or equal to the regulated turbidity requirement
Optimization Assessment Software - Version 28 DF
Note on I28: Correlation Coefficient for the Max. Filtered Turbidity and Raw Water Turbidity
Note on I29: Correlation Coefficient for the Combined Filtered Turbidity and Raw Water Turbidity

## OptimizationTrend
Optimization Trend Report
% Turbidity Values Meeting Goal
| 95th Percentile Turbidity Values (NTU) | [17 empty] | All Filters |  |  | Combined
| Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Filter 13 | Filter 14 | Filter 15 | Filter 16 | All Filters | Combined | 0.3 | 0.2 | 0.1 | 0.3 | 0.2 | 0.1
2004-01-01
2004-02-01
2004-03-01
2004-04-01
2004-05-01
2004-06-01
2004-07-01
2004-08-01
2004-09-01
2004-10-01
2004-11-01
2004-12-01
Yr. 95% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yr. Goal | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Optimization Assessment Software - Version 28 DF
Note on C20: Annual 95th % value (NTU)
Note on C21: Annual % values meeting goal
Note on U6: Bold red values in filter columns represent the filter with the highest 95th percentile value for the month.

## FilterSum(1-4)
Filtration Performance Summary (Filters 1 - 4)

## FilterSum(5-8)
Filtration Performance Summary (Filters 5 - 8)

## FilterSum(9-12)
Filtration Performance Summary (Filters 9 - 12)

## MonthDist (hidden)
| 95% Filtered Turbidity | [17 empty] | Individual Goal |  |  | Combined Goal
MONTH | 95% #1 | 95% #2 | 95% #3 | 95% #4 | 95% #5 | 95% #6 | 95% #7 | 95% #8 | 95% #9 | 95% #10 | 95% #11 | 95% #12 | 95% #13 | 95% #14 | 95% #15 | 95% #16 | 95% All | 95% Com | Goal .3 | Goal .2 | Goal .1 | Goal .3 | Goal .2 | Goal .1
2004-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Data
| Raw | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Filter 13 | Filter 14 | Filter 15 | Filter 16 | Combined
2004-12-01
2004-12-02
2004-12-03
2004-12-04
2004-12-05
2004-12-06
2004-12-07
2004-12-08
2004-12-09
2004-12-10
2004-12-11
2004-12-12
2004-12-13
2004-12-14
2004-12-15
2004-12-16
2004-12-17
2004-12-18
2004-12-19
2004-12-20
2004-12-21
2004-12-22
2004-12-23
2004-12-24
2004-12-25
2004-12-26
2004-12-27
2004-12-28
2004-12-29
2004-12-30
2004-12-31

## FilterSum(13-16)
Filtration Performance Summary (Filters 13 - 16)

## LT-Trend
Combined Filtered Water
| 95th % | % Values Meeting Goal
Month/Yr |  | 0.3 NTU | 0.2 NTU | 0.1 NTU
2004-01-01
2004-02-01
2004-03-01
2004-04-01
2004-05-01
2004-06-01
2004-07-01
2004-08-01
2004-09-01
2004-10-01
2004-11-01
2004-12-01
The area in blue can be copied to the long-term trend spreadsheet (LT_trend.xls) to develop up to three years of performance trends.

## AllDataSort (hidden)
[5 empty] | 0 |  |  |  | 2004-02-01
[5 empty] | Cell to identify if year is a leap year or not. |  |  |  | 1
|  |  |  | Data Entry Area | [18 empty] | Yearly Data Sort Table
FebValue | FebFind |  |  |  | Raw | Filter 1 | Filter 2 | Filter 3 | Filter 4 | Filter 5 | Filter 6 | Filter 7 | Filter 8 | Filter 9 | Filter 10 | Filter 11 | Filter 12 | Filter 13 | Filter 14 | Filter 15 | Filter 16 | Combined
0 | 0 | 1 | 1 | 2004-01-01
0 | 0 | 1 | 1 | 2004-01-02
0 | 0 | 1 | 1 | 2004-01-03
0 | 0 | 1 | 1 | 2004-01-04
0 | 0 | 1 | 1 | 2004-01-05
0 | 0 | 1 | 1 | 2004-01-06
0 | 0 | 1 | 1 | 2004-01-07
0 | 0 | 1 | 1 | 2004-01-08
0 | 0 | 1 | 1 | 2004-01-09
0 | 0 | 1 | 1 | 2004-01-10
0 | 0 | 1 | 1 | 2004-01-11
0 | 0 | 1 | 1 | 2004-01-12
0 | 0 | 1 | 1 | 2004-01-13
0 | 0 | 1 | 1 | 2004-01-14
0 | 0 | 1 | 1 | 2004-01-15
0 | 0 | 1 | 1 | 2004-01-16
0 | 0 | 1 | 1 | 2004-01-17
0 | 0 | 1 | 1 | 2004-01-18
0 | 0 | 1 | 1 | 2004-01-19
0 | 0 | 1 | 1 | 2004-01-20
0 | 0 | 1 | 1 | 2004-01-21
0 | 0 | 1 | 1 | 2004-01-22
0 | 0 | 1 | 1 | 2004-01-23
0 | 0 | 1 | 1 | 2004-01-24
0 | 0 | 1 | 1 | 2004-01-25
0 | 0 | 1 | 1 | 2004-01-26
0 | 0 | 1 | 1 | 2004-01-27
0 | 0 | 1 | 1 | 2004-01-28
0 | 0 | 1 | 1 | 2004-01-29
0 | 0 | 1 | 1 | 2004-01-30
0 | 0 | 1 | 1 | 2004-01-31
feb | feb | 2 | 2 | 2004-02-01
feb | feb | 2 | 2 | 2004-02-02
feb | feb | 2 | 2 | 2004-02-03
feb | feb | 2 | 2 | 2004-02-04
feb | feb | 2 | 2 | 2004-02-05
feb | feb | 2 | 2 | 2004-02-06
feb | feb | 2 | 2 | 2004-02-07
feb | feb | 2 | 2 | 2004-02-08
feb | feb | 2 | 2 | 2004-02-09
feb | feb | 2 | 2 | 2004-02-10
feb | feb | 2 | 2 | 2004-02-11
feb | feb | 2 | 2 | 2004-02-12
feb | feb | 2 | 2 | 2004-02-13
feb | feb | 2 | 2 | 2004-02-14
feb | feb | 2 | 2 | 2004-02-15
feb | feb | 2 | 2 | 2004-02-16
feb | feb | 2 | 2 | 2004-02-17
feb | feb | 2 | 2 | 2004-02-18
feb | feb | 2 | 2 | 2004-02-19
feb | feb | 2 | 2 | 2004-02-20
feb | feb | 2 | 2 | 2004-02-21
feb | feb | 2 | 2 | 2004-02-22
feb | feb | 2 | 2 | 2004-02-23
feb | feb | 2 | 2 | 2004-02-24
feb | feb | 2 | 2 | 2004-02-25
feb | feb | 2 | 2 | 2004-02-26
feb | feb | 2 | 2 | 2004-02-27
feb | feb | 2 | 2 | 2004-02-28
feb | feb | 2 | 2 | 2004-02-29
0 | 0 | 3 | 3 | 2004-03-01
0 | 0 | 3 | 3 | 2004-03-02
0 | 0 | 3 | 3 | 2004-03-03
0 | 0 | 3 | 3 | 2004-03-04
0 | 0 | 3 | 3 | 2004-03-05
0 | 0 | 3 | 3 | 2004-03-06
0 | 0 | 3 | 3 | 2004-03-07
0 | 0 | 3 | 3 | 2004-03-08
0 | 0 | 3 | 3 | 2004-03-09
0 | 0 | 3 | 3 | 2004-03-10
0 | 0 | 3 | 3 | 2004-03-11
0 | 0 | 3 | 3 | 2004-03-12
0 | 0 | 3 | 3 | 2004-03-13
0 | 0 | 3 | 3 | 2004-03-14
0 | 0 | 3 | 3 | 2004-03-15
0 | 0 | 3 | 3 | 2004-03-16
0 | 0 | 3 | 3 | 2004-03-17
0 | 0 | 3 | 3 | 2004-03-18
0 | 0 | 3 | 3 | 2004-03-19
0 | 0 | 3 | 3 | 2004-03-20
0 | 0 | 3 | 3 | 2004-03-21
0 | 0 | 3 | 3 | 2004-03-22
0 | 0 | 3 | 3 | 2004-03-23
0 | 0 | 3 | 3 | 2004-03-24
0 | 0 | 3 | 3 | 2004-03-25
0 | 0 | 3 | 3 | 2004-03-26
0 | 0 | 3 | 3 | 2004-03-27
0 | 0 | 3 | 3 | 2004-03-28
0 | 0 | 3 | 3 | 2004-03-29
0 | 0 | 3 | 3 | 2004-03-30
0 | 0 | 3 | 3 | 2004-03-31
0 | 0 | 4 | 4 | 2004-04-01
0 | 0 | 4 | 4 | 2004-04-02
0 | 0 | 4 | 4 | 2004-04-03
0 | 0 | 4 | 4 | 2004-04-04
0 | 0 | 4 | 4 | 2004-04-05
0 | 0 | 4 | 4 | 2004-04-06
0 | 0 | 4 | 4 | 2004-04-07
0 | 0 | 4 | 4 | 2004-04-08
0 | 0 | 4 | 4 | 2004-04-09
0 | 0 | 4 | 4 | 2004-04-10
0 | 0 | 4 | 4 | 2004-04-11
0 | 0 | 4 | 4 | 2004-04-12
0 | 0 | 4 | 4 | 2004-04-13
0 | 0 | 4 | 4 | 2004-04-14
0 | 0 | 4 | 4 | 2004-04-15
0 | 0 | 4 | 4 | 2004-04-16
0 | 0 | 4 | 4 | 2004-04-17
0 | 0 | 4 | 4 | 2004-04-18
0 | 0 | 4 | 4 | 2004-04-19
0 | 0 | 4 | 4 | 2004-04-20
0 | 0 | 4 | 4 | 2004-04-21
0 | 0 | 4 | 4 | 2004-04-22
0 | 0 | 4 | 4 | 2004-04-23
0 | 0 | 4 | 4 | 2004-04-24
0 | 0 | 4 | 4 | 2004-04-25
0 | 0 | 4 | 4 | 2004-04-26
0 | 0 | 4 | 4 | 2004-04-27
0 | 0 | 4 | 4 | 2004-04-28
0 | 0 | 4 | 4 | 2004-04-29
0 | 0 | 4 | 4 | 2004-04-30
0 | 0 | 5 | 5 | 2004-05-01
0 | 0 | 5 | 5 | 2004-05-02
0 | 0 | 5 | 5 | 2004-05-03
0 | 0 | 5 | 5 | 2004-05-04
0 | 0 | 5 | 5 | 2004-05-05
0 | 0 | 5 | 5 | 2004-05-06
0 | 0 | 5 | 5 | 2004-05-07
0 | 0 | 5 | 5 | 2004-05-08
0 | 0 | 5 | 5 | 2004-05-09
0 | 0 | 5 | 5 | 2004-05-10
0 | 0 | 5 | 5 | 2004-05-11
0 | 0 | 5 | 5 | 2004-05-12
0 | 0 | 5 | 5 | 2004-05-13
0 | 0 | 5 | 5 | 2004-05-14
0 | 0 | 5 | 5 | 2004-05-15
0 | 0 | 5 | 5 | 2004-05-16
0 | 0 | 5 | 5 | 2004-05-17
0 | 0 | 5 | 5 | 2004-05-18
0 | 0 | 5 | 5 | 2004-05-19
0 | 0 | 5 | 5 | 2004-05-20
0 | 0 | 5 | 5 | 2004-05-21
0 | 0 | 5 | 5 | 2004-05-22
0 | 0 | 5 | 5 | 2004-05-23
0 | 0 | 5 | 5 | 2004-05-24
0 | 0 | 5 | 5 | 2004-05-25
0 | 0 | 5 | 5 | 2004-05-26
0 | 0 | 5 | 5 | 2004-05-27
0 | 0 | 5 | 5 | 2004-05-28
0 | 0 | 5 | 5 | 2004-05-29
0 | 0 | 5 | 5 | 2004-05-30
0 | 0 | 5 | 5 | 2004-05-31
0 | 0 | 6 | 6 | 2004-06-01
0 | 0 | 6 | 6 | 2004-06-02
0 | 0 | 6 | 6 | 2004-06-03
0 | 0 | 6 | 6 | 2004-06-04
0 | 0 | 6 | 6 | 2004-06-05
0 | 0 | 6 | 6 | 2004-06-06
0 | 0 | 6 | 6 | 2004-06-07
0 | 0 | 6 | 6 | 2004-06-08
0 | 0 | 6 | 6 | 2004-06-09
0 | 0 | 6 | 6 | 2004-06-10
0 | 0 | 6 | 6 | 2004-06-11
0 | 0 | 6 | 6 | 2004-06-12
0 | 0 | 6 | 6 | 2004-06-13
0 | 0 | 6 | 6 | 2004-06-14
0 | 0 | 6 | 6 | 2004-06-15
0 | 0 | 6 | 6 | 2004-06-16
0 | 0 | 6 | 6 | 2004-06-17
0 | 0 | 6 | 6 | 2004-06-18
0 | 0 | 6 | 6 | 2004-06-19
0 | 0 | 6 | 6 | 2004-06-20
0 | 0 | 6 | 6 | 2004-06-21
0 | 0 | 6 | 6 | 2004-06-22
0 | 0 | 6 | 6 | 2004-06-23
0 | 0 | 6 | 6 | 2004-06-24
0 | 0 | 6 | 6 | 2004-06-25
0 | 0 | 6 | 6 | 2004-06-26
0 | 0 | 6 | 6 | 2004-06-27
0 | 0 | 6 | 6 | 2004-06-28
0 | 0 | 6 | 6 | 2004-06-29
0 | 0 | 6 | 6 | 2004-06-30
0 | 0 | 7 | 7 | 2004-07-01
0 | 0 | 7 | 7 | 2004-07-02
0 | 0 | 7 | 7 | 2004-07-03
0 | 0 | 7 | 7 | 2004-07-04
0 | 0 | 7 | 7 | 2004-07-05
0 | 0 | 7 | 7 | 2004-07-06
0 | 0 | 7 | 7 | 2004-07-07
0 | 0 | 7 | 7 | 2004-07-08
0 | 0 | 7 | 7 | 2004-07-09
0 | 0 | 7 | 7 | 2004-07-10
0 | 0 | 7 | 7 | 2004-07-11
0 | 0 | 7 | 7 | 2004-07-12
0 | 0 | 7 | 7 | 2004-07-13
0 | 0 | 7 | 7 | 2004-07-14
0 | 0 | 7 | 7 | 2004-07-15
0 | 0 | 7 | 7 | 2004-07-16
0 | 0 | 7 | 7 | 2004-07-17
0 | 0 | 7 | 7 | 2004-07-18
0 | 0 | 7 | 7 | 2004-07-19
0 | 0 | 7 | 7 | 2004-07-20
0 | 0 | 7 | 7 | 2004-07-21
0 | 0 | 7 | 7 | 2004-07-22
0 | 0 | 7 | 7 | 2004-07-23
0 | 0 | 7 | 7 | 2004-07-24
0 | 0 | 7 | 7 | 2004-07-25
0 | 0 | 7 | 7 | 2004-07-26
0 | 0 | 7 | 7 | 2004-07-27
0 | 0 | 7 | 7 | 2004-07-28
0 | 0 | 7 | 7 | 2004-07-29
0 | 0 | 7 | 7 | 2004-07-30
0 | 0 | 7 | 7 | 2004-07-31
0 | 0 | 8 | 8 | 2004-08-01
0 | 0 | 8 | 8 | 2004-08-02
0 | 0 | 8 | 8 | 2004-08-03
0 | 0 | 8 | 8 | 2004-08-04
0 | 0 | 8 | 8 | 2004-08-05
0 | 0 | 8 | 8 | 2004-08-06
0 | 0 | 8 | 8 | 2004-08-07
0 | 0 | 8 | 8 | 2004-08-08
0 | 0 | 8 | 8 | 2004-08-09
0 | 0 | 8 | 8 | 2004-08-10
0 | 0 | 8 | 8 | 2004-08-11
0 | 0 | 8 | 8 | 2004-08-12
0 | 0 | 8 | 8 | 2004-08-13
0 | 0 | 8 | 8 | 2004-08-14
0 | 0 | 8 | 8 | 2004-08-15
0 | 0 | 8 | 8 | 2004-08-16
0 | 0 | 8 | 8 | 2004-08-17
0 | 0 | 8 | 8 | 2004-08-18
0 | 0 | 8 | 8 | 2004-08-19
0 | 0 | 8 | 8 | 2004-08-20
0 | 0 | 8 | 8 | 2004-08-21
0 | 0 | 8 | 8 | 2004-08-22
0 | 0 | 8 | 8 | 2004-08-23
0 | 0 | 8 | 8 | 2004-08-24
0 | 0 | 8 | 8 | 2004-08-25
0 | 0 | 8 | 8 | 2004-08-26
0 | 0 | 8 | 8 | 2004-08-27
0 | 0 | 8 | 8 | 2004-08-28
0 | 0 | 8 | 8 | 2004-08-29
0 | 0 | 8 | 8 | 2004-08-30
0 | 0 | 8 | 8 | 2004-08-31
0 | 0 | 9 | 9 | 2004-09-01
0 | 0 | 9 | 9 | 2004-09-02
0 | 0 | 9 | 9 | 2004-09-03
0 | 0 | 9 | 9 | 2004-09-04
0 | 0 | 9 | 9 | 2004-09-05
0 | 0 | 9 | 9 | 2004-09-06
0 | 0 | 9 | 9 | 2004-09-07
0 | 0 | 9 | 9 | 2004-09-08
0 | 0 | 9 | 9 | 2004-09-09
0 | 0 | 9 | 9 | 2004-09-10
0 | 0 | 9 | 9 | 2004-09-11
0 | 0 | 9 | 9 | 2004-09-12
0 | 0 | 9 | 9 | 2004-09-13
0 | 0 | 9 | 9 | 2004-09-14
0 | 0 | 9 | 9 | 2004-09-15
0 | 0 | 9 | 9 | 2004-09-16
0 | 0 | 9 | 9 | 2004-09-17
0 | 0 | 9 | 9 | 2004-09-18
0 | 0 | 9 | 9 | 2004-09-19
0 | 0 | 9 | 9 | 2004-09-20
0 | 0 | 9 | 9 | 2004-09-21
0 | 0 | 9 | 9 | 2004-09-22
0 | 0 | 9 | 9 | 2004-09-23
0 | 0 | 9 | 9 | 2004-09-24
0 | 0 | 9 | 9 | 2004-09-25
0 | 0 | 9 | 9 | 2004-09-26
0 | 0 | 9 | 9 | 2004-09-27
0 | 0 | 9 | 9 | 2004-09-28
0 | 0 | 9 | 9 | 2004-09-29
0 | 0 | 9 | 9 | 2004-09-30
0 | 0 | 10 | 10 | 2004-10-01
0 | 0 | 10 | 10 | 2004-10-02
0 | 0 | 10 | 10 | 2004-10-03
0 | 0 | 10 | 10 | 2004-10-04
0 | 0 | 10 | 10 | 2004-10-05
0 | 0 | 10 | 10 | 2004-10-06
0 | 0 | 10 | 10 | 2004-10-07
0 | 0 | 10 | 10 | 2004-10-08
0 | 0 | 10 | 10 | 2004-10-09
0 | 0 | 10 | 10 | 2004-10-10
0 | 0 | 10 | 10 | 2004-10-11
0 | 0 | 10 | 10 | 2004-10-12
0 | 0 | 10 | 10 | 2004-10-13
0 | 0 | 10 | 10 | 2004-10-14
0 | 0 | 10 | 10 | 2004-10-15
0 | 0 | 10 | 10 | 2004-10-16
0 | 0 | 10 | 10 | 2004-10-17
0 | 0 | 10 | 10 | 2004-10-18
0 | 0 | 10 | 10 | 2004-10-19
0 | 0 | 10 | 10 | 2004-10-20
0 | 0 | 10 | 10 | 2004-10-21
0 | 0 | 10 | 10 | 2004-10-22
0 | 0 | 10 | 10 | 2004-10-23
0 | 0 | 10 | 10 | 2004-10-24
0 | 0 | 10 | 10 | 2004-10-25
0 | 0 | 10 | 10 | 2004-10-26
0 | 0 | 10 | 10 | 2004-10-27
0 | 0 | 10 | 10 | 2004-10-28
0 | 0 | 10 | 10 | 2004-10-29
0 | 0 | 10 | 10 | 2004-10-30
0 | 0 | 10 | 10 | 2004-10-31
0 | 0 | 11 | 11 | 2004-11-01
0 | 0 | 11 | 11 | 2004-11-02
0 | 0 | 11 | 11 | 2004-11-03
0 | 0 | 11 | 11 | 2004-11-04
0 | 0 | 11 | 11 | 2004-11-05
0 | 0 | 11 | 11 | 2004-11-06
0 | 0 | 11 | 11 | 2004-11-07
0 | 0 | 11 | 11 | 2004-11-08
0 | 0 | 11 | 11 | 2004-11-09
0 | 0 | 11 | 11 | 2004-11-10
0 | 0 | 11 | 11 | 2004-11-11
0 | 0 | 11 | 11 | 2004-11-12
0 | 0 | 11 | 11 | 2004-11-13
0 | 0 | 11 | 11 | 2004-11-14
0 | 0 | 11 | 11 | 2004-11-15
0 | 0 | 11 | 11 | 2004-11-16
0 | 0 | 11 | 11 | 2004-11-17
0 | 0 | 11 | 11 | 2004-11-18
0 | 0 | 11 | 11 | 2004-11-19
0 | 0 | 11 | 11 | 2004-11-20
0 | 0 | 11 | 11 | 2004-11-21
0 | 0 | 11 | 11 | 2004-11-22
0 | 0 | 11 | 11 | 2004-11-23
0 | 0 | 11 | 11 | 2004-11-24
0 | 0 | 11 | 11 | 2004-11-25
0 | 0 | 11 | 11 | 2004-11-26
0 | 0 | 11 | 11 | 2004-11-27
0 | 0 | 11 | 11 | 2004-11-28
0 | 0 | 11 | 11 | 2004-11-29
0 | 0 | 11 | 11 | 2004-11-30
0 | 0 | 12 | 12 | 2004-12-01
0 | 0 | 12 | 12 | 2004-12-02
0 | 0 | 12 | 12 | 2004-12-03
0 | 0 | 12 | 12 | 2004-12-04
0 | 0 | 12 | 12 | 2004-12-05
0 | 0 | 12 | 12 | 2004-12-06
0 | 0 | 12 | 12 | 2004-12-07
0 | 0 | 12 | 12 | 2004-12-08
0 | 0 | 12 | 12 | 2004-12-09
0 | 0 | 12 | 12 | 2004-12-10
0 | 0 | 12 | 12 | 2004-12-11
0 | 0 | 12 | 12 | 2004-12-12
0 | 0 | 12 | 12 | 2004-12-13
0 | 0 | 12 | 12 | 2004-12-14
0 | 0 | 12 | 12 | 2004-12-15
0 | 0 | 12 | 12 | 2004-12-16
0 | 0 | 12 | 12 | 2004-12-17
0 | 0 | 12 | 12 | 2004-12-18
0 | 0 | 12 | 12 | 2004-12-19
0 | 0 | 12 | 12 | 2004-12-20
0 | 0 | 12 | 12 | 2004-12-21
0 | 0 | 12 | 12 | 2004-12-22
0 | 0 | 12 | 12 | 2004-12-23
0 | 0 | 12 | 12 | 2004-12-24
0 | 0 | 12 | 12 | 2004-12-25
0 | 0 | 12 | 12 | 2004-12-26
0 | 0 | 12 | 12 | 2004-12-27
0 | 0 | 12 | 12 | 2004-12-28
0 | 0 | 12 | 12 | 2004-12-29
0 | 0 | 12 | 12 | 2004-12-30
0 | 0 | 12 | 12 | 2004-12-31